| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 212 | [openvibe-windows-installer] bug report | major | always | 2023-03-08 17:59 | 2023-03-08 18:25 |
| Reporter: | arayes2000 | Platform: |  |  |
| Assigned To: |  | OS: | Windows 10 Home Single Language |  |
| Priority: | high | OS Version: | 22H2 |  |
| Status: | new | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Directx won't install due to connection timeout |
| Description: | Everytime I try to re-setup openvibe 64-bit this message appears: "Download Failed: timed out on connecting Check your internet connection and firewall settings. Direct X won't be installed and 3D functionalities won't be available... You can install Direct X later to enable 3D functionalities !" I have good internet connection and have disabled the firewall and the error still appears. I have attached an image of the message. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: | setup error.JPG (45,733) 2023-03-08 17:59 http://openvibe.inria.fr/tracker/file_download.php?file_id=60&type=bug |

Notes ;  .     ;  .        (0001299) ;  .    thomas    ;  .    2023-03-08 18:25    ;  .    ;       Indeed, there is an issue with the installer.    I think it went under our radar because most machines have directX installed.    In order to successfully install OpenViBE, please install DirectX manually first (you can get it from microsoft website).    Let us know how you get on. In the meantime, I create a ticket to fix this in the installer. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 211 | [openvibe-designer] feature request | minor | have not tried | 2023-03-01 15:49 | 2023-03-01 15:49 |
| Reporter: | GhadaOsaimi | Platform: | Linux |  |
| Assigned To: |  | OS: | Ubuntu |  |
| Priority: | normal | OS Version: | 20.04 |  |
| Status: | new | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Python Scripting Box doesn't show up |
| Description: | I just installed the OpenViBE 3.2.0 and I didn't find the python box under the scripting category. I have both Python 3.8.10 and Python 2.7.18 in Ubuntu 20.04. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

There are no notes attached to this issue. ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 210 | [openvibe-designer] bug report | minor | always | 2023-02-22 11:29 | 2023-02-22 11:29 |
| Reporter: | etcxbug | Platform: | win 10 |  |
| Assigned To: |  | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | new | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Temporal filter box in openvibe 3.4 wants with option low pass and with option high pass always 2 cut-off |
| Description: | With the new version Open vibe 3.4.0, the Box Temporal filter (in the Scenario P300 Xdawn) wants always 2 cut off, high and low, also if I select low or high pass band. The box checks also the not useful cut off: if it is numeric and if it is coherent with the only one useful cut off. Example: I indicate High Pass. If I indicate as Low cut off value 2 (and in this case,High pass, the parameter Low cut off is the only one useful), then I have to indicate also the not-useful High cut off and I have also to indicate as parameter for this High cut off a number >= 2. |
| Steps To Reproduce: |  |
| Additional Information: | This problem there was not with Open Vibe version 2.2.0. |
| Attached Files: |  |

There are no notes attached to this issue. ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 208 | [openvibe-plugins] patch submission | minor | always | 2021-07-15 20:16 | 2022-06-05 13:53 |
| Reporter: | baffo32 | Platform: | Linux |  |
| Assigned To: |  | OS: | Ubuntu |  |
| Priority: | normal | OS Version: | 21.04 |  |
| Status: | new | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Third party eigen preprocessor define order error |
| Description: | There's a small preprocessor error that prevents building with eigen uninstalled. |
| Steps To Reproduce: | Remove eigen3 from the system. Do a clean build of openvibe-sdk. |
| Additional Information: | Patch attached |
| Attached Files: | preprocessordefine-order.patch (664) 2021-07-15 20:16 http://openvibe.inria.fr/tracker/file_download.php?file_id=57&type=bug up.php (544) 2022-06-05 13:53 http://openvibe.inria.fr/tracker/file_download.php?file_id=58&type=bug |

There are no notes attached to this issue. ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 206 | [openvibe-acquisition-server] bug report | minor | always | 2021-03-04 19:14 | 2021-03-04 19:14 |
| Reporter: | larsoner | Platform: | x86_64 |  |
| Assigned To: |  | OS: | Linux |  |
| Priority: | normal | OS Version: | Ubuntu |  |
| Status: | new | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | VAmp acquisition limited to 512 Hz in fast mode |
| Description: | BrainVision VAmp can acquire data at 10 or 20 KHz in "fast mode", but even in this mode the only option in OpenViBE acquisition server is 512 Hz data (after properly decimating). Why is this limitation in place? In other words, could I or someone else modify the software to support the native sample rate(s) of the device? |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

There are no notes attached to this issue. ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 197 | [openvibe-applications] bug report | minor | always | 2018-08-13 23:22 | 2020-11-09 16:22 |
| Reporter: | jfrey | Platform: |  |  |
| Assigned To: | thomas | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | assigned | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Use LSL default timestamps to enable proper synchronization |
| Description: | Hello, I have been using LSL quite extensively to gather data from different sources. A problem arises with OpenViBE: it pushes a custom timestamp alongside each sample, which disrupts the built-in synchronization mechanism and prevent time correction across multiple machines / sources. For example if I record multiple streams using LSL LabRecorder, with physiological signals coming from OpenViBE acquisition server on one machine and stimulations / markers coming from Unity on another, then it is next to impossible sync both signals and do a proper epoching when the resulting XDF file is loaded later on for analyses. A simple fix consists in removing the second parameter in every occurrence of push_sample(), e.g. in plugins/server-extensions/lsl-output/ovasCPluginLSLOutput.cpp for the acquisition server and in plugins/processing/network-io/src/box-algorithms/ovpCBoxAlgorithmLSLExport.cpp for the designer, Unless OpenViBE uses the timestamp in some fancy way (if ever it reads its own LSL streams??), then it would make sense to rely on LSL, since in its implementation LSL (supposedly) uses the most precise clock available on the system (time since the machine started, using libboost chrono, see lsl_local_clock() in https://github.com/sccn/labstreaminglayer/blob/master/LSL/liblsl/src/lsl_freefuncs_c.cpp [^] ). Note that a after a look at the source code of the gipsa LSL box, it seems that there the default clock is used, i.e. "m_outlet->push_chunk(mychunk);". The proposed change is trivial, but if it facilitates the workflow I can edit the code and make a pull request on gitlab. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: | openvibe-lsl-timestamps-fix-candidate-20180827.zip (724,644) 2018-08-27 14:39 http://openvibe.inria.fr/tracker/file_download.php?file_id=48&type=bug lsl-output.zip (2,906) 2018-12-19 18:22 http://openvibe.inria.fr/tracker/file_download.php?file_id=55&type=bug |

Notes ;  .     ;  .        (0001263) ;  .    dmedine    ;  .    2018-08-20 10:08    ;  .    ;       One can force LSL to override requests from clients to impose their own timestamps. By creating a configuration file ~/lsl_api/lsl_api.cfg with the lines:  [tuning]  ForceDefaultTimestamps = 1  LSL will force its default timestamps on all outlets. However, the version of liblsl that ships with OpenViBE is an older one that doesn't yet have this feature implemented. OpenViBE should update the version of liblsl that it uses to the latest version: ftp://sccn.ucsd.edu/pub/software/LSL/SDK/liblsl-C-C++-1.12.zip [^] and, if necessary, the redistribution of the LSL source code to the source code therein.    This is a better solution, in my opinion, than changing the source code to OpenViBE. Sometimes people prefer to have the OpenViBE timestamps over the LSL timestamps. ;  .    ;  .     ;  .        (0001264) ;  .    jtlindgr    ;  .    2018-08-20 10:11    ;  .    ;       Thanks for the report!    I agree we have a problem, as currently OpenViBE seems to be misusing the push_sample(). This is because the pushed timestamp should be relative to the local_clock() according to the LSL API -- which it is not as stamped by the current OV code.     However, removing the stamping altogether may also be problematic: For example, in the case of stimulations, these may be received by the LSL Export box in a chunk with a time range [t1,t2] at some time t2+eps. In principle there is no absolute guarantee that t2-t1 is small. Hence, if we removed the timestamping, a stim at t1 would be tagged by LSL with a stamp "now", even though t1 may be quite quite far in the past.     The challenge here is that we don't really have tests for OV/LSL integration, and we do not know what the typical use-cases are. But nevertheless, I'd like the fix to be one that is 'generally correct' and doesn't introduce new problems.     Would it solve your problem if I tried to make the timestamps relative to the local clock?     Any thoughts?    ps. thanks for the heads up David -- I was just writing this when you posted your comment! Updating the LSL lib might be the best way to address this. However, is it possible to send "stim in the past" if we go that route?   ;  .    ;  .     ;  .        (0001265) ;  .    jtlindgr    ;  .    2018-08-23 09:41    ;  .    ;       I've made a branch doing the LSL 1.12 update which I expect can be merged without issues. However, I'd like your opinion if it'd be additionally useful to change the timestamps to be relative to local_clock(); see my previous comment. ;  .    ;  .     ;  .        (0001266) ;  .    dmedine    ;  .    2018-08-23 09:50    ;  .    ;       My opinion for now is that OpenViBE should not change apart from the 'hidden' override timestamp option in LSL be implemented. This actually touches on a side discussion in the LSL universe about timestamping. Some people have suggested (and some apps, i.e. the Eyelink app already do this) that it is appropriate to create an additional timestamp channel as part of the data itself. This has pretty significant ramifications for the handling of data loading in offline analysis because for now the synchronization routines rely on the implicit timestamping.    But, for the time being, I think it is ok to update LSL in OpenViBE and leave it be. For the most part, I think the main use case is when people want to record Emotiv data in LSL via the OpenViBE client, in which case the ramifications that you state aren't relevant anyway.    A larger issue is that OV/LSL integration is not well tested. I'm not quite sure what to do about that. Ideally, some grad student somewhere needs a project to do and this can be it, but that is pretty wishful thinking. To be continued, I guess... ;  .    ;  .     ;  .        (0001267) ;  .    jfrey    ;  .    2018-08-23 22:21     (edited on: 2018-08-23 22:37) ;  .    ;       Hello,    Thanks Jussi for the reactivity, and David for this solution :)    Personally as long as there is a way to get the timestamps I want without touching the code and compiling, I am okay with it. However I am not sure that the default behavior should be the "custom timestamp". A naive user would expect OpenViBE to behave as a "regular" LSL server to integrate it in their pipeline smoothly. At the moment there is no obvious reason why this particular clock is used. I do not know anyone using OpenViBE timestamps, but on the other hand comes immediately in mind three instances where the LSL timestamps are desired, myself, a lab I have been visiting recently where ohter physio/VR XP are running(no emotiv involved), the person who posted a bug report on the LSL repo.    What bothers me slightly with the cfg file solution is that if I understand correctly there is no way to specifically force OpenViBE to use default timestamp while retaining the ability to tune timestamp elsewhere (e.g. python scripts). To me the most flexible solution, if really there are people out there relying on OpenViBE's timestamp, would consist in adding an option of the OpenViBE side (possibly... using one of its config file, where one can already tune some under-the-hood parameters).    On a side note, in some other experiment I have been playing with the meta-data of the LSL outlet in order to embed an Unix epoch time in it and get an "absolute timestamp" across various devices for reference (the client reads the epoch upon init and updates it with the LSL clock afterward, best solution I could find for my specific use-case, could be yet another idea for managing time).    David, what do you have in mind about the lack of OV/LSL integration? "Just" have some sort of unit tests, or did you spot specific issues? In the coming year I might have ressources to dedicate to OV dev, and as a matter of fact having robust LSL communications is among my top priorities.    ;  .    ;  .     ;  .        (0001273) ;  .    dmedine    ;  .    2018-08-24 16:31    ;  .    ;       Jeremy, great to hear that you would like to work on this some. I think that unit tests are a good place to start. I'd be curious to know what Jussi's thoughts about what specifically needs testing.    As for this stimulation marker timestamp issue in LSL (that Jussi mentions above), the marker will be at some some sample n in the [t1,t2] chunk of data. The naive way to handle this is simply mark the time at the start of the chunk (now = lsl::local_clock), then add n*samplingrate to that time and assign the stimulation marker that time. However, this would be negated by the timestamp override option...    The other problem with this method is one of micro-timing. You can read about it here: https://github.com/sccn/labstreaminglayer/blob/master/Apps/BrainProducts/LiveAmp/explanation_of_trigger_marker_types.pdf [^] ;  .    ;  .     ;  .        (0001274) ;  .    jtlindgr    ;  .    2018-08-24 16:42    ;  .    ;       Afaik, we could do a bit better than the naive solution: we have some sample time or stimulation time in OpenViBE which is by default relative to the acquisition starting (0). Its the same both on server and designer side, on start, the time starts at 0. But we can take a stamp of the clock time at the start, and this way get the stamps relative to "now". The stamps can then again be made relative to the lsl's clock. Actually I was thinking of quickly putting this together and asking if either of you could give it a quick spin.     In pseudo, I thought about getting the adjusted stamps as "diffSec = ov_clock_at_0 + stamp_relative_to_0 - ov_clock_now; lslStamp = lsl_local_clock() + diffSec".    I'll take a look at the micro-timing next week. ;  .    ;  .     ;  .        (0001275) ;  .    jfrey    ;  .    2018-08-24 17:28    ;  .    ;       That sounds the best solution :) I am trying to think of reasons why one would be interested in getting the exact "OpenViBE time"... Not sure if it is worth it, but you could still embed this info in stream metadata (i.e. one value with "OpenViBE 0 time" relative the stream "created at").    About micro-timing, very interesting paper, I never thought about the problem associated with de-jittering. Actually if there is one of the two implementations of LSL within OpenViBE designer (the gipsa one) that translates openvibe stimuli to floats and that then embeds them in a signal stream as a supplementary channel, so in a way this is already covered. (random off-topic thought: if there is a way to signal to the de-jittering algorithm that the unsampled stream is tight to another sampled stream, then it could apply the computations made on the latter to the timestamps of the former?). ;  .    ;  .     ;  .        (0001276) ;  .    dmedine    ;  .    2018-08-27 09:38    ;  .    ;       Yes to Jussi's solution, and yes to embedding the OpenViBE 0 time in the metadata. Those are excellent ideas.     As for the de-jittering question, that is an interesting idea, but I can't think of a way to actually implement it that makes much sense. I think the best you could do would be another approximation that would also be slightly wrong. I think the easiest solution is simply to make the marker stream have a sampling rate and be mostly empty. Not very elegant, but simple and reliable. ;  .    ;  .     ;  .        (0001277) ;  .    jtlindgr    ;  .    2018-08-27 10:32     (edited on: 2018-08-27 10:39) ;  .    ;       I read David's paper about the micro timing. In regard to OpenViBE, the challenge is that after very early stages (in the Acquisition Server), the 'true' timing information is no longer available due to how OpenViBE was designed. Basically if we forget about drift correction option (which doesn't do de-jittering in any case), how it goes in openvibe is that the amplifier driver packs samples into chunks, or sends them individually, and the AS does the packing. These chunks are interpreted to have a sequence of timestamps [0,t1][t1,t2][t2,t3]... where the t's are derived *deterministically* from a fixed sampling rate and the number of samples received. To be pedantic, these stamps are not even transferred out from the AS, it simply sends out the sampling rate and the Acquisition Client starts the stamping from 0, according to the sampling rate. The stimulation timestamps are adjusted to be compatible with the chunk timestamps (and can have sub-sample precision in theory). If there was a hickup somewhere or the device is jittering, and the samples actually are not equidistant in time, this knowledge is currently in no way available to either Designer or AS plugins that get the data. Its a "too bad, no can do" situation. Due to this, even as Gipsa LSL output box does attach the stimulations as an EEG channel, there's no way that it could de-jitter them, as when it gets the signal and the stims, all that data has already been pressed into a platonic ideal world. No knowledge of the original sample times remain.    All openvibe boxes handling signal are afaik designed with the assumption that the data is equidistant. The assumption probably is that the source (acquisition server, driver, amp) should mangle the received data as best as it can to make it confirm to the theoretical sampling rate with minimal error. Whether this was a good idea or if its politically feasible to change it after 10 years is another question.    Finally, regarding the question about unit tests, I'm not an LSL expert and aside hacking some of the OV components together, I haven't really used the tech. Its of course possible to derive some tests from common sense grounds and knowing what people are usually concerned about (e.g. marker and signal alignment), but I feel the best would be if these could be made from concrete use cases, so whover writes the tests should first extract some knowledge about what are the most important tasks done with an OV+LSL combo.    ;  .    ;  .     ;  .        (0001278) ;  .    jtlindgr    ;  .    2018-08-27 14:43     (edited on: 2018-08-27 14:44) ;  .    ;       I've attached a fix candidate that tries to make the timestamps relative to the local clock. Jeremy, if you have some lsl/ov related business ongoing, could you give this a try and let us know if it works better than the previous approach?    Of course anybody is welcome to try it.    The corresponding git entry is commit b3b0a9c8dd32bb1e7bc48b4836e70fdab85c3e2a (HEAD -> wip-jlindgre-lsl-timestamps, origin/wip-jlindgre-lsl-timestamps)    Thanks,   Jussi    ;  .    ;  .     ;  .        (0001285) ;  .    toncho11    ;  .    2018-12-19 18:27    ;  .    ;       I have made an implementation of the conversion from OpenVibe time (starting from 0) to local clock time. The source is in lsl-output.zip. I set a reference point and then I calculate the time of the sample for LSL as an offset from this reference point. ;  .    ;  .     ;  .        (0001296) ;  .    thomas    ;  .    2020-11-09 16:22    ;  .    ;       The branch "wip-jlindgre-lsl-timestamps" contains work that needs testing ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 205 | [openvibe-acquisition-server] bug report | minor | always | 2020-11-04 11:55 | 2020-11-04 11:55 |
| Reporter: | Ivan Smal | Platform: | x86_64 |  |
| Assigned To: |  | OS: | Windows |  |
| Priority: | normal | OS Version: | 10 |  |
| Status: | new | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Huge device drift on Generic Oscillator using version 3.0.0 32 bit on 64 bit system |
| Description: | When using version 3.0.0 32 bit of aquisition server on Windows 10 64 bit, Generic Oscillator shows huge device drift. It starts usually with -16000.0ms and after restarting it(pressing "Stop" and "Play" buttons) it always becomes (for example after one restarting it becomes -19000.0ms and so on). |
| Steps To Reproduce: | Install OpenVibe 3.0.0 32bit on Windows 10 64bit system using Windows Installer from official cite. Start aquisition server, choose Generic Oscillator, press "Connect" and "Play". |
| Additional Information: | This bug doesn't happen if using 2.1.0 32bit or 3.0.0 64bit. System info: Intel Core I7-7700HQ CPU 8 GB RAM NVIDEA GeForce GTX 1050 |
| Attached Files: |  |

There are no notes attached to this issue. ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 189 | [openvibe-acquisition-server] patch submission | minor | have not tried | 2017-02-07 14:52 | 2020-10-30 13:14 |
| Reporter: | toncho11 | Platform: | 1.3 |  |
| Assigned To: | thomas | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | assigned | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Added support for changing the order of amplifiers in Gipsa-gtec driver |
| Description: | It is enabled by: m_bReorderAmplifiers(true) The provided code allows one to change the order in which the data is provided to the user. Now it is possible to have the same output order no matter how you switch on the amplifiers. This is an evolution on the recent feature that added support for amplifiers's names. I have added extra code that copies the data in the desired order. |
| Steps To Reproduce: | Currently the order of amplifier is hard-coded. To complete the feature we need to add a checkbox for example: "Reorder amplifiers" and a textbox that will contain the order of amplifiers by serial. They should be comma separated for example. |
| Additional Information: |  |
| Attached Files: | gtec-gusbamp-gipsa_7_02_2017.zip (50,342) 2017-02-07 14:52 http://openvibe.inria.fr/tracker/file_download.php?file_id=44&type=bug |

Notes ;  .     ;  .        (0001271) ;  .    jtlindgr    ;  .    2018-08-24 15:31    ;  .    ;         Hi, thanks for the patch. Do you happen to have developed the corresponding GUI code by now? That'd help the integration. Alternatively, the driver code could sort the devices by their serial numbers. Of course that doesn't guarantee that the devices would be ordered as preferred, for example if two devices are selected from a larger set.  ;  .    ;  .     ;  .        (0001295) ;  .    toncho11    ;  .    2020-10-30 13:14    ;  .    ;       Hi,    There is no GUI currently.   Also the driver was used only once in one of our experiments. So even if works correctly maybe it needs a bit more testing.     I suggest that you leave it at the end of your backlog for now. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 198 | [openvibe-designer] bug report | crash | always | 2018-11-15 19:45 | 2020-10-26 11:28 |
| Reporter: | mbamonte | Platform: | Windows |  |
| Assigned To: | thomas | OS: | Windows 10 Home |  |
| Priority: | high | OS Version: | 1803 |  |
| Status: | confirmed | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | OpenVibe designer crashes when testing p300-speller train scenario with user data, previously recorded in the adquisition scenar |
| Description: | OpenVibe designer crashes when testing "p300-speller-2-train-classifier" scenario with user data, previously recorded in the "p300-speller-1-acquisition" scenario. Using OpenVibe 2.1.0 version, with OpenBCI cyton biosensing board (8 channels; bluetooth conexion). The designer command window gives this message when the OV designer closes unexpectly: (openvibe-designer.exe:11396): Gtk-CRITICAL **: gtk_entry_get_text: assertion `GTK_IS_ENTRY (entry)' failed The startling thing is that the problem appeared after recording several datasets. I could run the "p300-speller-2-train-classifier " scenario a lot of times without problems. But after several the designer always crashes (doing the same procedure). |
| Steps To Reproduce: | 1. Open OpenVibe data adquisition server. Configuration: connection port 24. Sample count per block: 32). Driver properties: Change channel names: 1. O1; 2. O2; 3. Cz. I used only these 3 channels) Preferences: 10 ms drift tolerance. 2. Open OpenVibe designer. 3. Run p300-speller-0-signal-monitoring scenario (in my PC: C:\Users\mbamo\AppData\Roaming\openvibe-2.1.0\scenarios\bci-examples\p300-speller). I can't run the same scenario in C:\Program Files (x86)\openvibe-2.1.0\share\openvibe\scenarios\bci-examples\p300-speller, because gives an error (see Addition info below, ERROR 1). I Modified two boxes: -the channel selector block: Cz;O1;O2 (chann. matching method: smart) -sigmal decimation: changed to "5", because 5 is a multiple of 250 hz (the sampling freq of OPENBCI cyton board) 4. Run p300-speller-1-acquisition scenario 5. Run p300-speller-2-train-classifier Open the "generic stream reader" and select data recorded in C:\Users\mbamo\AppData\Roaming\openvibe-2.1.0\scenarios\bci-examples\p300-speller\signals. For example: p300-train-[2018.11.15-11.21.05].ov (is attached) When the file is selected, the program closes unexpectedly. |
| Additional Information: | OS: Windows 10 home. Version: 1803. Build 17134.345. ////////////////////// error 1 (see step 3, in the "Steps to Reproduce" scroll text window: [ INF ] At time 0.000 sec <Box algorithm::(0x000000ea, 0x000057a1) aka Launch> Lua script terminated [ ERROR ] At time 0.016 sec <Box algorithm::(0x0000356c, 0x00004381) aka Generic stream writer> {Error description} : {Error opening file [C:/Program Files (x86)/openvibe-2.1.0/share/openvibe/scenarios/bci-examples/p300-speller/signals/p300-train-[2018.11.15-15.14.35].ov] for writing}, {Error type} : {OpenViBE::Kernel::ErrorType::BadFileWrite (code 41)}, {Error location} : {C:\ovm\sdk\plugins\processing\file-io\src\box-algorithms\openvibe\ovpCBoxAlgorithmGenericStreamWriter.cpp::84} [ ERROR ] {Error description} : {Box algorithm <Generic stream writer> processInput function failed}, {Error type} : {ErrorType::Internal (code 2)}, {Error location} : {C:\ovm\sdk\kernel\src\kernel\player\ovkCSimulatedBox.cpp::231} [ ERROR ] {Error description} : {Process failed for box with id (0x0000356c, 0x00004381)}, {Error type} : {ErrorType::Internal (code 2)}, {Error location} : {C:\ovm\sdk\kernel\src\kernel\player\ovkCScheduler.cpp::694} [ ERROR ] Scheduler loop failed. |
| Attached Files: | p300-train-[2018.11.15-11.21.05].ov (820,710) 2018-11-15 19:45 http://openvibe.inria.fr/tracker/file_download.php?file_id=49&type=bug p300-speller-0-signal-monitoring.xml (18,167) 2018-11-15 19:53 http://openvibe.inria.fr/tracker/file_download.php?file_id=50&type=bug p300-speller-1-acquisition.xml (33,975) 2018-11-15 19:53 http://openvibe.inria.fr/tracker/file_download.php?file_id=51&type=bug p300-speller-2-train-classifier.xml (34,966) 2018-11-15 19:53 http://openvibe.inria.fr/tracker/file_download.php?file_id=52&type=bug p300-speller.rar (146,230) 2018-11-15 19:54 http://openvibe.inria.fr/tracker/file_download.php?file_id=53&type=bug p300-epoch-average.cfg (139) 2018-11-23 14:31 http://openvibe.inria.fr/tracker/file_download.php?file_id=54&type=bug |

Notes ;  .     ;  .        (0001280) ;  .    jtlindgr    ;  .    2018-11-16 09:01    ;  .    ;       I'll investigate, thanks for the detailed report.    The write error is a known 'no issue', its simply because on Windows applications running on user priviledges (and not admin!) normally do not have access to write under "program files (x86)". The intent is that the scenarios are copied and then run from location that the user has write access to. Putting them under AppData is a way to achieve this.  ;  .    ;  .     ;  .        (0001281) ;  .    jtlindgr    ;  .    2018-11-16 17:20     (edited on: 2018-11-16 17:21) ;  .    ;       Hi, I couldn't initially reproduce the issue, the scenario passes just ok with the file (once I add the missing p300-epoch-average.cfg file; is the file you are using the one bundled with ov or have you modified it?). I tried to run several times but couldn't get it to crash.    If you close Designer, start it again, and start straight away with scenario 2 and your file, do you get it to crash?    If not, one possibility is that something in your earlier usage has messed up with the memory and/or program state. This kind of crash is very hard to track if it cannot be reproduced reliably with fixed steps.    ;  .    ;  .     ;  .        (0001283) ;  .    mbamonte    ;  .    2018-11-23 14:43    ;  .    ;       Thanks for your answer.    When I close Designer, start it again, and start straight away with scenario 2 and my file, I get it to crash...    I've just uploaded the p300-epoch-average.cfg file, the one bundled with OV, used in this scenario. I haven't modified it.     Perhaps this file could help to reproduce the issue. ;  .    ;  .     ;  .        (0001284) ;  .    mbamonte    ;  .    2018-12-06 15:43    ;  .    ;       I think I've found the root of the problem.     OV crashes each time I load -a previously recorded- file with the generic stream reader of p300-speller-2-train-classifier scenario, clicking the button "load" of the generic stream reader box. When a load the same file typing its name manually, the scenario works correctly and I don't get to crash OV.       Steps to get OV to crash:    1. Open p300-speller-2-train-classifier scenario.  2. Click on Generic stream reader box  3. Click on "load" button.  4. Select a previously recorded file (.ov), using p300-speller-1-acquisition scenario. For example: p300-online-[2018.11.27-16.11.45].ov, but the problem remains no matter which file is chosen.   5. OV Crashes    Instead, if the following procedure is run, OV doesn't crash.    1. Open p300-speller-2-train-classifier scenario.  2. Click on Generic stream reader box  3. Write manually the name of a previously recorded file (.ov), using p300-speller-1-acquisition scenario (I tried the same file p300-online-[2018.11.27-16.11.45].ov) used in the first 5 steps above  4. p300-speller-2-train-classifier scenario works correctly. ;  .    ;  .     ;  .        (0001294) ;  .    thomas    ;  .    2020-10-26 11:18    ;  .    ;       Confirmed happening. Using the folder icon (on the right of the path) to select a file is working fine too. But OpenViBE crashes when selecting a filed through the "Load" button on the bottom left of the Settings window. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 199 | [openvibe] bug report | minor | always | 2018-12-12 12:22 | 2020-10-26 10:17 |
| Reporter: | toncho11 | Platform: | OpenVibe 2.2.0 |  |
| Assigned To: | thomas | OS: | Windows |  |
| Priority: | normal | OS Version: | 7 x64 |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Build process fails on Windows |
| Description: | \openvibe-2.2.0-src\build\designer-Release-x86\resource-files\openvibe-plugins-designer-advanced-visualization.rc : fat al error C1083: Cannot open compiler generated file: 'openvibe-plugins-designer-advanced-visualization.i': No such file or directory [38/92] Building CXX object plugins\visualization\ovp-advanced-visualizat...s\openvibe-plugins-designer-advanced-visualization.dir\src\m_main.cpp.obj ninja: build stopped: subcommand failed. An error occured during building process "" Error while building "Release Designer" |
| Steps To Reproduce: | Download: http://openvibe.inria.fr/pub/src/openvibe-2.2.0-src.tar.xz [^] Install dependencies and start the build. |
| Additional Information: | The temporary solution is to remove the following folders from the build: ovp-advanced-visualization tracker |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001286) ;  .    jtlindgr    ;  .    2019-01-27 16:24    ;  .    ;       This looks like an issue of overlength directory paths to me. Try putting the source code to a place with a very short prefix, like "C:\ov\".     A longer term solution in Openvibe might be to try to prune the naming conventions shorter. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 200 | [openvibe] bug report | major | always | 2019-01-27 17:06 | 2020-10-26 10:14 |
| Reporter: | jtlindgr | Platform: | x86_64 |  |
| Assigned To: | thomas | OS: | Linux |  |
| Priority: | normal | OS Version: | Ubuntu |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Unable to compile OV 2.2.0 on Ubuntu 18.04 |
| Description: | The dependency initializer script fails saying 18.04 is an unsupported platform. Here's how to hack around the problem until its properly fixed: 1) Edit sdk/scripts/linux-install_dependencies.pl and add the following to the place after testing for 16.04: } elsif ($lsb_release =~ '18.04') { $distribution = 'Ubuntu 16.04'; } 2) Modify the files ./sdk/scripts/linux-dependencies-ubuntu1604.txt ./designer/scripts/linux-dependencies-ubuntu1604.txt ./extras/scripts/linux-dependencies-ubuntu1604.txt To refer to 1.65 versions of the boost libraries. 3) In the vrpn dependency source code, change "union wait status;" to "int status;" in vrpn_Connection.C (you can run the dep installer once, hack the source under dependencies/arch/, clean the artifacts and try to rerun the dep installer). -> in the long term, fix this in the vrpn dependency archive. 4) In extras/applications/platform/tracker/include/ParallelExecutor.h, add #include <functional> 5) The build should now pass Note that since the (simple) fix requires mods into SDK+Designer, they need to go through the CERT process. |
| Steps To Reproduce: | # ./install_dependencies.sh # ./build.sh |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001293) ;  .    thomas    ;  .    2020-10-26 10:13     (edited on: 2020-10-26 10:14) ;  .    ;       Support for Ubuntu 18.04 added since OpenViBE 3.0.0-beta    ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 190 | [openvibe] bug report | minor | always | 2017-07-31 04:30 | 2020-10-26 10:13 |
| Reporter: | msiracusa | Platform: | x86_64 |  |
| Assigned To: | thomas | OS: | Arch Linux |  |
| Priority: | normal | OS Version: | other |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Bulding fails on Arch Linux due to outdated dependency |
| Description: | The script linux-install_dependencies fails to build the package vrpn: vrpn_Connection.C: En la función ‘int vrpn_start_server(const char*, char*, char*, const char*)’: vrpn_Connection.C:2426:32: error: el agregado ‘vrpn_start_server(const char*, char*, char*, const char*)::wait status’ tiene un tipo incompleto y no se puede definir union wait status; ^~~~~~ make: *** [Makefile:549: pc_linux64/vrpn_Connection.o] Error 1 I googled the error and got the following: https://github.com/opensgct/sgct/issues/13 [^] So I did what the link suggested: I unzipped the vrpn_07_31-ov.zip in dependencies/share/arch and changed the line union wait status to int wait in the file vrpn_Connection.C. After recompressing and running the script the error was gone. |
| Steps To Reproduce: | 1.- download openvibe 1.3.0, either sources or clone git repo 2.- sudo sh linux-install dependencies |
| Additional Information: |  |
| System Description | please specify distro |
| Attached Files: |  |

Notes ;  .     ;  .        (0001287) ;  .    jtlindgr    ;  .    2019-01-27 17:21    ;  .    ;       The suggested fix indeed seems to address the problem also for Ubuntu 18.04, at least for the build part (I didn't test the vrpn connections themselves).     Thanks for the report! ;  .    ;  .     ;  .        (0001292) ;  .    thomas    ;  .    2020-10-26 10:13    ;  .    ;       Resolved when adding support for Ubuntu 18.04 ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 201 | [openvibe] bug report | feature | always | 2019-02-22 18:08 | 2020-10-26 09:58 |
| Reporter: | ana.ldpcosta | Platform: | x86_64 |  |
| Assigned To: | thomas | OS: | Windows |  |
| Priority: | normal | OS Version: | 7 |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Metabox configurations revert to integer |
| Description: | When trying to build a metabox, scenario configurations always revert back to integer if you: add another parameter, refresh the reference, close the configuration window. That makes it impossible to build a metabox with any settings that aren't integers. |
| Steps To Reproduce: | Simply try to build a metabox with, for example, a Stimulation to Epoch From |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001291) ;  .    thomas    ;  .    2020-10-26 09:58    ;  .    ;       Resolved in OpenViBE-3.0.0-beta ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 203 | [openvibe-designer] bug report | feature | always | 2020-03-02 19:50 | 2020-10-26 09:44 |
| Reporter: | cyanindya | Platform: |  |  |
| Assigned To: | thomas | OS: | Windows 10 Home (64-bit) |  |
| Priority: | normal | OS Version: | 10.0.18362 |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Lua stimulator box setting types not saved and/or always reverts to "undefined" |
| Description: | When I tried to add new settings to the Lua stimulator box, the settings name and default values can be saved successfully. However, no matter which type I chose, it -always- reverts back to "undefined". In addition, when attempting to modify pre-existing Lua stimulator box (e.g. the one included in the motor imagery BCI example), the type modifications are not saved. For example, when I set the "Lua script" field type into "String" instead of "Script", it will revert back to "Script" anyway. Similar thing happened when I tried to modify a "Float"-type field into "Integer", it will revert back to "Float". This bug occurs in both 32-bit and 64-bit versions of OpenViBE 2.2.0. However, the bug is not present in OpenViBE 2.1.0. Due to this, I am currently sticking to version 2.1.0. |
| Steps To Reproduce: | In blank scenario: - Add "Lua Stimulator" box - Choose "Modify Settings" > "New" - Create a random setting. For example: -- Name: "Time (seconds)" -- Type: "Integer" -- Default value: "10" - Apply. - Choose "Modify Settings" > (the new setting) > "Configure" - The type should appear as "undefined" instead. Try changing it again to "Integer". |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001290) ;  .    thomas    ;  .    2020-10-26 09:44    ;  .    ;       Solved in OpenVibe-3.0.0-beta ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 180 | [openvibe-designer] bug report | major | always | 2016-06-22 10:59 | 2018-11-23 13:26 |
| Reporter: | toncho11 | Platform: | OpenVibe 1.2 |  |
| Assigned To: | jtlindgr | OS: | Windows 7 |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | OpenVibe fails to load when using UNC network paths |
| Description: | My home folder and everyone's home folders are located on network drives. I have a network drive P: which points to //filesrv4. OpenVibe finds the paths: //filesrv4/home$/antona/.windows/Application Data/openvibe strange and it fails to load in the end: [WARNING] Could not expand ${CustomConfigurationPrefix${OperatingSystem}}${CustomConfigurationSuffix${OperatingSystem}} while expanding ${CustomConfig uration} Caught an exception at the very top... Leaving application! Appuyez sur une touche pour continuer... |
| Steps To Reproduce: | I get an exception in: \openvibe\modules\fs\src\Files.cpp (code modified from the original for debug purposes) bool Files::createParentPath(const char *sPath) { boost::filesystem::path p = boost::filesystem::path(sPath).parent_path(); return boost::filesystem::create_directories(p); } |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001210) ;  .    toncho11    ;  .    2016-06-22 11:07    ;  .    ;       One solution is to uncomment in openvibe.conf:    Path_Root = ..    Path_UserData = ${Path_Root}/openvibe-user    which will apparently use some other local paths.    But this must be fixed somehow! Some users won't know how to hack that. ;  .    ;  .     ;  .        (0001212) ;  .    jtlindgr    ;  .    2016-07-01 13:46    ;  .    ;       I wonder if the problem comes from the $ symbol. The path really has that? For OpenViBE, dollar denotes token expansion. Not sure what else could be the problem. I'll investigate when I have a moment. ;  .    ;  .     ;  .        (0001237) ;  .    toncho11    ;  .    2017-02-02 14:57    ;  .    ;       Please fix this. :) ;  .    ;  .     ;  .        (0001238) ;  .    jtlindgr    ;  .    2017-02-02 19:30    ;  .    ;       Fix candidate pushed to branch 'wip-jlindgre-fix-mantis-180'.    Could you give it a try?  ;  .    ;  .     ;  .        (0001239) ;  .    toncho11    ;  .    2017-02-03 10:14    ;  .    ;       Good work! It seems to be working nicely. ;  .    ;  .     ;  .        (0001282) ;  .    jtlindgr    ;  .    2018-11-23 13:26    ;  .    ;       The final fix appeared in sdk commit 2a572a26a156187bc8d3f60263ce61c69fae1eeb and will be in the next release. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 195 | [openvibe] bug report | major | always | 2018-02-23 18:42 | 2018-08-24 15:33 |
| Reporter: | OGD | Platform: | windows |  |
| Assigned To: | jtlindgr | OS: | 10 |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | won't fix |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | There is no "Power spectrum display" in Visualization |
| Description: | There is no "Power spectrum display" in Visualization/Basic in OpenVibe Designer 2.0.1 anymore. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001262) ;  .    jtlindgr    ;  .    2018-02-26 09:57    ;  .    ;       This is a known 'feature' of the 2.x series. Due to changes in the kernel, the box would have needed to be heavily modified and we did not think it worth the time. The users can try the 'Instant Bars' box as a replacement. If the Instant Bars is not sufficient and there is enough popular demand, we may consider restoring the Power Spectrum Display box.    The whole list of known incompatibilities between 1.x/2.x is here,    http://openvibe.inria.fr/differences-between-1-x-and-2-x-series-of-openvibe/ [^] ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 194 | [openvibe-acquisition-server] bug report | major | always | 2018-01-03 18:02 | 2018-08-24 15:32 |
| Reporter: | midhatn | Platform: | Microsoft Windows |  |
| Assigned To: |  | OS: | Windows 10 Home 64bit |  |
| Priority: | high | OS Version: | 1709 |  |
| Status: | acknowledged | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Can't use Emotiv Research Edition SDK v2.0.0.20 with OpenViBE 2.0 |
| Description: | The Old Acquisition server that was used in OpenVIBE 1.2.2 and transferred to OpenVIBE 1.3 stopped working on OpenVIBE 2.0. The New Acquisition server dose not support Emotiv Research Edition SDK v2.0.0.20 |
| Steps To Reproduce: | as stated for OpenVIBE 1.3 same steps are used for OpenVIBE 2.0, you just copy old Acqusition server from 1.2.2 to folder of OpenVIBE 2.0 you got error message. |
| Additional Information: | http://openvibe.inria.fr/how-to-connect-emotiv-epoc-with-openvibe/ [^] same steps are used for OpenVIBE 2.0 but it won't work. it works fine with 1.3 but the new features of OpenVIBE 2.0 are really nice and it need it in my project. |
| Attached Files: |  |

Notes ;  .     ;  .        (0001261) ;  .    jtlindgr    ;  .    2018-01-04 09:45    ;  .    ;       Unfortunately we currently lack the resources to implement support for several Emotiv API versions simultaneously. There's two options you can try,    1) If you have 1.2.2 and 2.0 installed side by side, could you use the Acquisition Server of 1.2.2 together with Designer of 2.0? Don't copy any files, simply launch the apps from different installation directories.    2) Compile OpenViBE yourself against the old API. The tools are freely available and the process is reasonably documented. ;  .    ;  .     ;  .        (0001272) ;  .    jtlindgr    ;  .    2018-08-24 15:32    ;  .    ;         We acknowledge the issue with newer SDKs exists, but we are not currently actively trying to fix the issue in absence of materials (see above). If the situation changes, we'll update this bug.    ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 193 | [openvibe] bug report | major | always | 2017-08-10 18:39 | 2018-08-24 15:13 |
| Reporter: | brylie | Platform: | KDE Neon |  |
| Assigned To: | jtlindgr | OS: | Ubuntu Linux |  |
| Priority: | normal | OS Version: | 17.04 |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | unable to reproduce |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Temporal Filter does not seem to affect signal |
| Description: | I have a simple scenario where I run a signal through a Temporal Filter (8-12Hz). When visualizing the raw signal and 'filtered' signal side by side (with signal and power spectrum displays), they are exactly the same. What might I be doing wrong, that the Temporal Filter does not filter the signal? |
| Steps To Reproduce: |  |
| Additional Information: | I have attached the Temporal Filter scenario. |
| Attached Files: | GDF-temporalFilter.xml (35,728) 2017-08-10 18:39 http://openvibe.inria.fr/tracker/file_download.php?file_id=45&type=bug Screenshot_20170810_193612.png (58,837) 2017-08-10 18:39 http://openvibe.inria.fr/tracker/file_download.php?file_id=46&type=bug |

Notes ;  .     ;  .        (0001256) ;  .    brylie    ;  .    2017-08-10 18:39    ;  .    ;       I also attached a screenshot of the scenario and visualizations. ;  .    ;  .     ;  .        (0001257) ;  .    brylie    ;  .    2017-08-10 18:47    ;  .    ;       On closer inspection of the screenshot, there does seem to be some difference between the signals. It is just not as pronounced as I was expecting with an 8-12Hz bandpass filter. What can I do to filter the signal so that only 8-12Hz frequencies pass through? ;  .    ;  .     ;  .        (0001260) ;  .    jtlindgr    ;  .    2017-09-06 13:04    ;  .    ;       I suggest increasing the amount of data the FFT gets (use time based epoching with a large enough epoch) in order to see the spectrum in more detail. The 8-12 should be pronounced with relation to the rest. Note also the typical 1/f decay of the eeg fft. High freqs will naturally have little power. ;  .    ;  .     ;  .        (0001270) ;  .    jtlindgr    ;  .    2018-08-24 15:13    ;  .    ;       In my experiments Temporal Filter seems to work as intended. If you encounter this problem while giving the FFT a larger signal epoch for a better estimate, please reopen the bug. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 192 | [openvibe] bug report | major | always | 2017-08-10 17:35 | 2018-08-24 15:09 |
| Reporter: | brylie | Platform: | KDE Neon |  |
| Assigned To: | jtlindgr | OS: | Ubuntu Linux |  |
| Priority: | normal | OS Version: | 17.04 |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | won't fix |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Error when running build.sh with OpenViBE 2.0 BETA |
| Description: | I am trying to build OpenViBE 2.0 beta. When I run the build.sh command, I get the following error: brylie@kde-neon-silver:~/BCI/openvibe-2.0.0-beta$ sudo ./build.sh ./build.sh: line 6: /home/brylie/BCI/openvibe-2.0.0-beta/dist: No such file or directory Building sdk ERROR: Unknown parameter ./build.sh: line 50: [: -neq: binary operator expected Building designer ERROR: Unknown parameter --release ./build.sh: line 58: [: -neq: binary operator expected Building extras ERROR: Unknown parameter ./build.sh: line 66: [: -neq: binary operator expected |
| Steps To Reproduce: | 1. download OpenViBE 2.0 BETA 2. cd into directory 3. run the build.sh script |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001269) ;  .    jtlindgr    ;  .    2018-08-24 15:09    ;  .    ;       By now OpenViBE 2.0 BETA is rather old, and we don't support KDE Neon in the first place. If this is still an issue with OV 2.1.0, please resubmit. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 196 | [openvibe] bug report | minor | always | 2018-04-25 15:12 | 2018-08-24 15:07 |
| Reporter: | xskola | Platform: |  |  |
| Assigned To: | jtlindgr | OS: | Windows & Linux |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Outlier removal box does not work |
| Description: | (OV 2.1.0) Instead of removing the outliers, OV is super-slowed-down and the log window is polluted with these messages: [ ERROR ] {Error description} : {Input chunk index = [0] is out of range (max index = [4294967295])}, {Error type} : {ErrorType::OutOfBound (code 13)}, {Error location} : {C:\ovm\sdk\kernel\src\kernel\player\ovkCSimulatedBox.cpp::397} [ ERROR ] {Error description} : {Input chunk index = [0] is out of range (max index = [4294967295])}, {Error type} : {ErrorType::OutOfBound (code 13)}, {Error location} : {C:\ovm\sdk\kernel\src\kernel\player\ovkCSimulatedBox.cpp::417} I found this issue when trying to run a scenario made using OV 1.3.0, however, even setting up a new simple scenario that only reads the feature vectors from a file and sends them into the outlier removal box fails the same way. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001268) ;  .    jtlindgr    ;  .    2018-08-24 15:06    ;  .    ;       Wrong indexing fixed in git ddf398cd649ff677958aaf02893be03f15dfbbb7    Thanks for the report!  ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 191 | [openvibe] feature request | minor | have not tried | 2017-08-03 08:56 | 2017-09-06 11:28 |
| Reporter: | brylie | Platform: |  |  |
| Assigned To: |  | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | new | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | [Meta] Align with BigEEG workflow standards |
| Description: | The BigEEG project is developing standards and methods for large-scale EEG analysis. http://www.bigeeg.org/ [^] This issue is intended to serve as a basis of discussion and planning around the idea of supporting BigEEG standards in OpenViBE. What are some considerations and related OpenViBE components that are relevant to the BigEEG project? |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: | Big EEG Detailed - Detailed-small2.png (67,983) 2017-09-06 10:37 http://openvibe.inria.fr/tracker/file_download.php?file_id=47&type=bug |

Notes ;  .     ;  .        (0001258) ;  .    jtlindgr    ;  .    2017-09-06 10:36    ;  .    ;       By a glance at the image on the web page (took liberty to attach it), it looks like there's at least two points where connections could be made,    1) Make OpenViBE read and/or write XDF files  2) Make OpenViBE work with data having HED tags     The first would allow OpenViBE to work on and to produce data compatible with the framework ('recording setup' stage; although if BigEEG already reads other file formats, it could be that data exportation from OV already works.    The utility of the second option is not that clear to me without reading the proposal, i.e. what would OV signal processing get in addition to the usual eeg markers (what does data curation stage do)?    Basically its also a question of use cases: what would be wished of OpenViBE? Perhaps this is also your question. One thing that OV can do in a sense is to provide alternative to the 'single study' option (on the right in the schematic figure on the bigeeg page); we can run OV classification pipelines on such data and see what kind of BCI accuracies would be reached.    The users more knowledgeable with BigEEG could propose other roles OV could do. Perhaps the forum would be a better place to propose/discuss/understand these. ;  .    ;  .     ;  .        (0001259) ;  .    brylie    ;  .    2017-09-06 11:28    ;  .    ;       > if BigEEG already reads other file formats, it could be that data exportation from OV already works.    It is worth mentioning that some of the principle stakeholders behind BigEEG are also contributors to LabStreamingLayer:    https://github.com/sccn/labstreaminglayer [^] ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 188 | [openvibe] feature request | major | have not tried | 2017-02-04 21:57 | 2017-02-17 09:26 |
| Reporter: | brylie | Platform: |  |  |
| Assigned To: |  | OS: | Linux |  |
| Priority: | normal | OS Version: |  |  |
| Status: | new | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Please provide packages for Linux users |
| Description: | As a Linux user, I would greatly appreciate if OpenViBE offered pre-compiled package(s) for my platform. The Open Build Service is offered for project maintainers can easily build packages for multiple Linux distributions: http://openbuildservice.org/ [^] Please treat Linux users as first class community members by providing pre-built OpenViBE binaries for easy installation. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001241) ;  .    jtlindgr    ;  .    2017-02-06 10:23     (edited on: 2017-02-06 10:24) ;  .    ;       Inria has currently no resources to provide linux packages. If anybody wants to sign up as a package maintainer for some distribution, he or she is of course more than welcome to do so. :) Folder "debian/" in the source tree includes (old) materials to build a debian or Ubuntu package. These have not been tested for a while but likely presents a viable starting point for hacking.    ;  .    ;  .     ;  .        (0001247) ;  .    brylie    ;  .    2017-02-06 17:40    ;  .    ;       Alright. For reference, Linux users have been having difficulty building OpenViBE for nearly ten years:    http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=9678 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=9387 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=9404 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=9389 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=9375 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=9224 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=9283 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=5051 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=5021 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=429 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=4917 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=728 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=694 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=625 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=596 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=539 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=501 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=491 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=488 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=451 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=437 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=415 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=379 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=290 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=248 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=147 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=142 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=67 [^]  http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=48 [^] ;  .    ;  .     ;  .        (0001251) ;  .    brylie    ;  .    2017-02-15 18:38     (edited on: 2017-02-15 18:42) ;  .    ;       OpenSUSE offers a free build service for automating packaging for several popular Linux distributions:    https://build.opensuse.org/ [^]    There is already an OpenViBE build configured on the OpenSUSE build service. It just needs a bit of attention from an experienced OpenViBE community member:    https://build.opensuse.org/package/show/science/openvibe [^]    ;  .    ;  .     ;  .        (0001252) ;  .    brylie    ;  .    2017-02-15 18:40    ;  .    ;       Each time the CI server builds OpenViBE for Ubuntu, a package could be generated from the output. OpenViBE is very close to solving this long standing issue, if only a bit of more effort could be spent to improve the CI/build process.    http://openvibe.inria.fr/tracker/view.php?id=187 [^] ;  .    ;  .     ;  .        (0001253) ;  .    brylie    ;  .    2017-02-15 18:51    ;  .    ;       I added the change you mention to CMake.txt, and got really close! For some reason, it is still trying to build the 'mind shooter' demo:    [ 95%] Linking CXX executable openvibe-ssvep-mind-shooter  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFSetTagExtender@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFGetTagListCount@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFTileRowSize@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFReadDirectory@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFFieldTag@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFGetFieldDefaulted@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFSwabArrayOfLong@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFCurrentDirectory@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFLastDirectory@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFIsTiled@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFIsByteSwapped@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFFieldPassCount@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFFieldDataType@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFStripSize@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFSetSubDirectory@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFDefaultStripSize@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFReadRGBAImage@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `_TIFFDataSize@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFComputeStrip@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFReadEncodedStrip@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFReadTile@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFMergeFieldInfo@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFSetField@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFWriteScanline@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFDataWidth@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFGetField@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFScanlineSize@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFFieldWithTag@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFWriteDirectory@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFTileSize@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFFieldName@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFSetDirectory@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFFieldReadCount@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFReadEXIFDirectory@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFGetTagListEntry@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFClose@LIBTIFF_4.0'  //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFClientOpen@LIBTIFF_4.0'  collect2: error: ld returned 1 exit status  applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/build.make:758: recipe for target 'applications/demos/ssvep-mind-shooter/openvibe-ssvep-mind-shooter' failed  make[2]: *** [applications/demos/ssvep-mind-shooter/openvibe-ssvep-mind-shooter] Error 1  CMakeFiles/Makefile2:3401: recipe for target 'applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/all' failed  make[1]: *** [applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/all] Error 2 ;  .    ;  .     ;  .        (0001255) ;  .    jtlindgr    ;  .    2017-02-17 09:26    ;  .    ;       For the time being, you should be able to skip the building of mind shooter by setting     SET(SKIP_APPLICATIONS_DEMOS "1")    in the root level 'CMakeLists.txt'.    Regarding the libtiff issue, afaik either libfreeimage or whatever package pulls it in, should also take care of pulling in the correct version of libtiff. As this problem doesn't happen on the normal Ubuntu, I suppose the issue is that the dependencies between these third-party packages (i.e. they're outside openvibe) are somehow jinxed on Neon? ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 186 | [openvibe] bug report | major | always | 2017-02-04 19:07 | 2017-02-17 09:20 |
| Reporter: | brylie | Platform: | KDE Neon (Ubuntu) |  |
| Assigned To: |  | OS: | Linux |  |
| Priority: | normal | OS Version: | 16.04 |  |
| Status: | acknowledged | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Cannot build on KDE Neon 16.04 |
| Description: | I have tried repeatedly, for the past two weeks, to install OpenViBE on Ubuntu 16.04. Following the build instructions, I get the following results: $ ./linux-install_dependencies Setting target folder to [/home/brylie/BCI/openvibe-1.3.0-src/scripts/../dependencies]... Creating target tree structure... Checking native dependencies... Checking software script dependencies... Using as sh : [/bin/sh]... Using as subversion : [/usr/bin/svn]... Using as wget : [/usr/bin/wget]... Using as tar : [/bin/tar]... Using as gzip : [/bin/gzip]... Using as bzip2 : [/bin/bzip2]... Using as unnzip : [/usr/bin/unzip]... Using as make : [/usr/bin/make]... Using as gcc : [/usr/bin/gcc]... Using as g++ : [/usr/bin/g++]... Using as g77/gfortran : [/usr/bin/gfortran]... Using as sed : [/bin/sed]... Using as find : [/usr/bin/find]... Using as uname : [/bin/uname]... Using as true : [/bin/true]... Using as false : [/bin/false]... Using as tail : [/usr/bin/tail]... Using as automake : [/usr/bin/automake]... Using as autoconf : [/usr/bin/autoconf]... Building packages that may not be available natively... Package [itpp_external] is already built, skipped... Package [itpp] is already built, skipped... Package [liblsl] is already built, skipped... Package [vrpn] is already built, skipped... Install linux dependencies done $ ./linux-build _______________________________________________________________________________ ~/BCI/openvibe-1.3.0-src/local-tmp/linux-Release ~/BCI/openvibe-1.3.0-src/scripts Creating makefiles... -- Appending compilation flags... -- Compilation flags used at source root: -- COMPILE_DEFINITIONS = 'OV_PROJECT_NAME="OpenViBE";OV_VERSION_MAJOR="1";OV_VERSION_MINOR="3";OV_VERSION_PATCH="0";TARGET_OS_Linux_Debian' -- CMAKE_CXX_FLAGS = ' -fopenmp -Wall -msse2' -- CMAKE_CXX_FLAGS_RELEASE = '-O3 -DNDEBUG' -- CMAKE_CXX_FLAGS_DEBUG = '-g' -- Note: Disabling Matlab plugin compilation by default -- Found boost includes... -- Found openvibe-common... -- Found dl... -- Found pthread... -- Found OpenViBE... -- Found OpenViBE module FS... -- Found OpenViBE module System... -- Found OpenViBE module XML... -- FAILED to find GTK+ or its components... -- FAILED to find Ogre3D/OIS... -- Found boost thread... -- [ OK ] lib /usr/lib/x86_64-linux-gnu/libboost_thread.so -- Found pthread... -- Found rt... -- Found X11... -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libX11.so -- Found dl... -- Found pthread... -- Found expat... -- [ OK ] lib /usr/lib/x86_64-linux-gnu/libboost_system.so -- Found boost FileSystem... -- [ OK ] lib /usr/lib/x86_64-linux-gnu/libboost_filesystem.so -- Found boost chrono includes... -- [ OK ] lib /usr/lib/x86_64-linux-gnu/libboost_chrono.so -- Found rt... -- Found OpenViBE module EBML... -- Found openvibe-toolkit... -- Found OpenViBE module TCPTagging... -- Found OpenViBE module Socket... -- Found VRPN... -- [ OK ] lib /home/brylie/BCI/openvibe-1.3.0-src/dependencies/lib/libvrpnserver.a -- [ OK ] lib /home/brylie/BCI/openvibe-1.3.0-src/dependencies/lib/libquat.a -- Note: /home/brylie/BCI/openvibe-1.3.0-src/plugins/processing/matlab has been skipped by setting SKIP_PLUGINS_PROCESSING_MATLAB -- Found Boost regex... -- [ OK ] lib /usr/lib/x86_64-linux-gnu/libboost_regex.so -- FAILED to find eigen3... -- Found fftw3 includes... -- [ OK ] Third party lib /home/brylie/BCI/openvibe-1.3.0-src/dependencies/lib/libfftw3.so -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libm.so -- Found it++... -- [ OK ] Third party lib /home/brylie/BCI/openvibe-1.3.0-src/dependencies/lib/libitpp.so CMake Error at /usr/share/cmake-3.5/Modules/FindPackageHandleStandardArgs.cmake:148 (message): Could NOT find Lua51 (missing: LUA_LIBRARIES LUA_INCLUDE_DIR) Call Stack (most recent call first): /usr/share/cmake-3.5/Modules/FindPackageHandleStandardArgs.cmake:388 (_FPHSA_FAILURE_MESSAGE) /usr/share/cmake-3.5/Modules/FindLua51.cmake:94 (FIND_PACKAGE_HANDLE_STANDARD_ARGS) cmake-modules/FindThirdPartyLua.cmake:15 (FIND_PACKAGE) plugins/processing/stimulation/CMakeLists.txt:21 (INCLUDE) -- Configuring incomplete, errors occurred! See also "/home/brylie/BCI/openvibe-1.3.0-src/local-tmp/linux-Release/CMakeFiles/CMakeOutput.log". |
| Steps To Reproduce: | On Ubuntu 14.04 1. download and extract openvibe-1.3.0-src 2. cd into the scripts directory 3. run $ ./linux-install_dependencies 4. run $ ../linux-build |
| Additional Information: | I have attached the CMakeOutput.log |
| System Description |  |
| Attached Files: | OpenViBE-CMakeOutput.log (46,474) 2017-02-04 19:07 http://openvibe.inria.fr/tracker/file_download.php?file_id=43&type=bug |

Notes ;  .     ;  .        (0001242) ;  .    jtlindgr    ;  .    2017-02-06 10:29     (edited on: 2017-02-06 10:30) ;  .    ;       The build has worked for me on 3 different Ubuntu 16.04 machines: one of them a virtual slave, one an AMD desktop computer, and one an Intel laptop (all 64bit I think). These were all the normal vanilla 'ubuntu desktop' distro. I cannot currently reproduce your problem. Based on what I see from the script output you provide, it looks like the install dependencies script doesn't recognize your system as Ubuntu 16.04. It should print    "Ubuntu >= v16.04 detected, guessing specific set of packages..."    Subsequently, the build seems to fail as some packages are not present. You can either try to figure out why the script fails to identify your machine correctly, or install the packages by hand. Their names are rather easily seen in the install script.    If there's a problem in the detection script that can be identified we should of course fix that.    ;  .    ;  .     ;  .        (0001243) ;  .    brylie    ;  .    2017-02-06 17:09    ;  .    ;       I am running KDE Neon, so 'cat /etc/lsb-release' gives the following output:    Code:  DISTRIB_ID=neon  DISTRIB_RELEASE=16.04  DISTRIB_CODENAME=xenial  DISTRIB_DESCRIPTION="KDE neon User Edition 5.9" ;  .    ;  .     ;  .        (0001244) ;  .    brylie    ;  .    2017-02-06 17:16    ;  .    ;       I set the DISTRIB_ID=Ubuntu, and was able to install dependencies:     sudo ./linux-install_dependencies Setting target folder to [/home/brylie/BCI/openvibe-1.3.0-src/scripts/../dependencies]... Creating target tree structure... Checking native dependencies... You are currently running a Debian/Ubuntu based distribution Found distro version 16.04 ... Ubuntu >= v16.04 detected, guessing specific set of packages... Root access is required to install needed packages. Installing native packages on background... Installing native packages on background... done. Checking software script dependencies... Using as sh : [/bin/sh]... Using as subversion : [/usr/bin/svn]... Using as wget : [/usr/bin/wget]... Using as tar : [/bin/tar]... Using as gzip : [/bin/gzip]... Using as bzip2 : [/bin/bzip2]... Using as unnzip : [/usr/bin/unzip]... Using as make : [/usr/bin/make]... Using as gcc : [/usr/bin/gcc]... Using as g++ : [/usr/bin/g++]... Using as g77/gfortran : [/usr/bin/gfortran]... Using as sed : [/bin/sed]... Using as find : [/usr/bin/find]... Using as uname : [/bin/uname]... Using as true : [/bin/true]... Using as false : [/bin/false]... Using as tail : [/usr/bin/tail]... Using as automake : [/usr/bin/automake]... Using as autoconf : [/usr/bin/autoconf]... Building packages that may not be available natively... Package [itpp_external] is already built, skipped... Package [itpp] is already built, skipped... Trying to install package [liblsl]... Downloading [http://openvibe.inria.fr/dependencies/linux-x86/liblsl-1.04.ov1-src.tar.bz2 [^]] as [liblsl-1.04.ov1-src.tar.bz2]... Downloading [http://openvibe.inria.fr/dependencies/linux-x86/liblsl-1.04.ov1-src.tar.bz2 [^]] succeeded... Uncompressing [/home/brylie/BCI/openvibe-1.3.0-src/scripts/../dependencies/arch/liblsl-1.04.ov1-src.tar.bz2]... Uncompressing [/home/brylie/BCI/openvibe-1.3.0-src/scripts/../dependencies/arch/liblsl-1.04.ov1-src.tar.bz2] succeeded... Configuring [liblsl]... Configuring [liblsl] succeeded... Building [liblsl]... Building [liblsl] succeeded... Installing [liblsl]... Installing [liblsl] succeeded... Trying to install package [vrpn]... Downloading [http://openvibe.inria.fr/dependencies/linux-x86/vrpn_07_31-ov.zip [^]] as [vrpn_07_31-ov.zip]... Downloading [http://openvibe.inria.fr/dependencies/linux-x86/vrpn_07_31-ov.zip [^]] succeeded... Uncompressing [/home/brylie/BCI/openvibe-1.3.0-src/scripts/../dependencies/arch/vrpn_07_31-ov.zip]... Uncompressing [/home/brylie/BCI/openvibe-1.3.0-src/scripts/../dependencies/arch/vrpn_07_31-ov.zip] succeeded... Configuring [vrpn]... Configuring [vrpn] succeeded... Building [vrpn]... Building [vrpn] succeeded... Installing [vrpn]... Installing [vrpn] succeeded... Install linux dependencies done  ;  .    ;  .     ;  .        (0001245) ;  .    brylie    ;  .    2017-02-06 17:23    ;  .    ;       The build process gets very far, but fails when building the demos:     $ ./linux-build _______________________________________________________________________________ ~/BCI/openvibe-1.3.0-src/local-tmp/linux-Release ~/BCI/openvibe-1.3.0-src/scripts Creating makefiles... -- The C compiler identification is GNU 5.4.0 -- The CXX compiler identification is GNU 5.4.0 -- Check for working C compiler: /usr/bin/cc -- Check for working C compiler: /usr/bin/cc -- works -- Detecting C compiler ABI info -- Detecting C compiler ABI info - done -- Detecting C compile features -- Detecting C compile features - done -- Check for working CXX compiler: /usr/bin/c++ -- Check for working CXX compiler: /usr/bin/c++ -- works -- Detecting CXX compiler ABI info -- Detecting CXX compiler ABI info - done -- Detecting CXX compile features -- Detecting CXX compile features - done -- Appending compilation flags... -- Performing Test COMPILER_SUPPORTS_CXX11 -- Performing Test COMPILER_SUPPORTS_CXX11 - Success -- Performing Test COMPILER_SUPPORTS_CXX0X -- Performing Test COMPILER_SUPPORTS_CXX0X - Success -- Try OpenMP C flag = [-fopenmp] -- Performing Test OpenMP_FLAG_DETECTED -- Performing Test OpenMP_FLAG_DETECTED - Success -- Try OpenMP CXX flag = [-fopenmp] -- Performing Test OpenMP_FLAG_DETECTED -- Performing Test OpenMP_FLAG_DETECTED - Success -- Found OpenMP: -fopenmp -- Compilation flags used at source root: -- COMPILE_DEFINITIONS = 'OV_PROJECT_NAME="OpenViBE";OV_VERSION_MAJOR="1";OV_VERSION_MINOR="3";OV_VERSION_PATCH="0";TARGET_OS_Linux_Debian' -- CMAKE_CXX_FLAGS = ' -fopenmp -Wall -msse2' -- CMAKE_CXX_FLAGS_RELEASE = '-O3 -DNDEBUG' -- CMAKE_CXX_FLAGS_DEBUG = '-g' -- Note: Disabling Matlab plugin compilation by default -- Found boost includes... -- Found openvibe-common... -- Found dl... -- Found pthread... -- Found OpenViBE... -- Found OpenViBE module FS... -- Found OpenViBE module System... -- Found OpenViBE module XML... -- Found GTK+... -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libgtk-x11-2.0.so -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libgdk-x11-2.0.so -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libpangocairo-1.0.so -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libatk-1.0.so -- [ OK ] Third party lib /home/brylie/anaconda3/lib/libcairo.so -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libgdk_pixbuf-2.0.so -- [ OK ] Third party lib /home/brylie/anaconda3/lib/libgio-2.0.so -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libpangoft2-1.0.so -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libpango-1.0.so -- [ OK ] Third party lib /home/brylie/anaconda3/lib/libgobject-2.0.so -- [ OK ] Third party lib /home/brylie/anaconda3/lib/libfontconfig.so -- [ OK ] Third party lib /home/brylie/anaconda3/lib/libfreetype.so -- [ OK ] Third party lib /home/brylie/anaconda3/lib/libgthread-2.0.so -- [ OK ] Third party lib /home/brylie/anaconda3/lib/libglib-2.0.so -- [ OK ] Third party lib /home/brylie/anaconda3/lib/libz.so -- Found Ogre3D/OIS... -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libOgreOverlay.so -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libOIS.so -- Found boost thread... -- [ OK ] lib /usr/lib/x86_64-linux-gnu/libboost_thread.so -- Found pthread... -- Found rt... -- Found X11... -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libX11.so -- Found dl... -- Found pthread... -- Found expat... -- [ OK ] lib /usr/lib/x86_64-linux-gnu/libboost_system.so -- Found boost FileSystem... -- [ OK ] lib /usr/lib/x86_64-linux-gnu/libboost_filesystem.so -- Found boost chrono includes... -- [ OK ] lib /usr/lib/x86_64-linux-gnu/libboost_chrono.so -- Found rt... -- Found OpenViBE module EBML... -- Found openvibe-toolkit... -- Found OpenViBE module TCPTagging... -- Found OpenViBE module Socket... -- Found VRPN... -- [ OK ] lib /home/brylie/BCI/openvibe-1.3.0-src/dependencies/lib/libvrpnserver.a -- [ OK ] lib /home/brylie/BCI/openvibe-1.3.0-src/dependencies/lib/libquat.a -- Note: /home/brylie/BCI/openvibe-1.3.0-src/plugins/processing/matlab has been skipped by setting SKIP_PLUGINS_PROCESSING_MATLAB -- Found Boost regex... -- [ OK ] lib /usr/lib/x86_64-linux-gnu/libboost_regex.so -- Found eigen3... -- Found fftw3 includes... -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libfftw3.so -- Found it++... -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libitpp.so -- Found Lua51: /usr/lib/x86_64-linux-gnu/liblua5.1.so;/usr/lib/x86_64-linux-gnu/libm.so (found version "5.1.5") -- Found Lua... in '/usr/include/lua5.1' -- [ OK ] lib /usr/lib/x86_64-linux-gnu/liblua5.1.so/usr/lib/x86_64-linux-gnu/libm.so -- Found ALUT... -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libalut.so -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libopenal.so -- Found VORBIS... -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libvorbisfile.so -- Found liblsl... -- [ OK ] Third party lib /home/brylie/BCI/openvibe-1.3.0-src/dependencies/lib/liblsl.so -- [ OK ] Third party lib /home/brylie/BCI/openvibe-1.3.0-src/dependencies/lib/liblsl.so -- Found openvibe-contributions... -- FAILED to find Emotiv API (optional) -- FAILED to find MindMedia NeXus device dll (optional) -- FAILED to find MCS device SDK (optional) -- FAILED to find Mensia Acquisition driver (optional) -- FAILED to find Micromed device dlls (optional) -- Skipped Enobio3G, its work in progress. -- Skipped ThinkGear API for Neurosky MindSet, only available on windows. -- FAILED to find TMSi device dll (optional) -- FAILED to find GMobiLabPlusAPI... (optional) -- : If it should be found, see that 'gmobilabapi.so' link exists on the fs, with no numeric suffixes in the filename. -- : e.g. do 'cd /usr/lib/ ln -s libgmobilabplusapi.so.1.12 libgmobilabplusapi.so' -- FAILED to find GUSBAmpAPI Linux... (optional) -- : If it should be found, see that 'libgusbampapi.so.1.14' link exists on the fs, with no further nemeric suffixes in the filename. -- : e.g. do 'cd /usr/lib/ ln -s libgusbampapi.so.1.14'. See gtec-bcilab/README for details. -- FAILED to find Mitsar device dll (optional) -- Found pthread... -- Found PkgConfig: /usr/bin/pkg-config (found version "0.29.1") -- Found CEGUI/OgreCEGUIRenderer... -- [ OK ] Third party lib /usr/lib/libCEGUIBase-0.so -- [ OK ] Third party lib /usr/lib/libCEGUIOgreRenderer-0.so -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libOgreMain.so -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libpthread.so -- [ OK ] Third party lib /usr/lib/libCEGUIBase-0.so -- Found pthread... -- Found Ogre3DTerrain/OIS... -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libOgreTerrain.so -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libOgrePaging.so -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libOgreMain.so -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libpthread.so -- [ OK ] Third party lib /usr/lib/x86_64-linux-gnu/libOIS.so -- Found pthread... -- Found pthread... -- Found PythonLibs: /usr/lib/x86_64-linux-gnu/libpython2.7.so (found version "2.7.12") -- Found Python... -- Configuring done -- Generating done -- Build files have been written to: /home/brylie/BCI/openvibe-1.3.0-src/local-tmp/linux-Release CMake has been called successfully ! Building ... Scanning dependencies of target openvibe-common Scanning dependencies of target openvibe-stimulation-generator Scanning dependencies of target test_accuracy Scanning dependencies of target test_evaluation [ 0%] Building CXX object common/CMakeFiles/openvibe-common.dir/src/main.cpp.o [ 0%] Building CXX object build-tool/stimulation-generator/CMakeFiles/openvibe-stimulation-generator.dir/src/ovbt_sg_cpp_code_generator.cpp.o [ 0%] Building CXX object plugins/processing/evaluation/test/CMakeFiles/test_evaluation.dir/test_kappa.cpp.o [ 0%] Building CXX object plugins/processing/classification/test/CMakeFiles/test_accuracy.dir/test_accuracy.cpp.o [ 0%] Linking CXX executable openvibe-common [ 0%] Built target openvibe-common Scanning dependencies of target openvibe-external-stimulation-connection-example [ 0%] Building CXX object applications/examples/external-stimulation-connection/CMakeFiles/openvibe-external-stimulation-connection-example.dir/src/ovesce_main.cpp.o [ 0%] Building CXX object build-tool/stimulation-generator/CMakeFiles/openvibe-stimulation-generator.dir/src/ovbt_sg_main.cpp.o [ 1%] Linking CXX executable test_accuracy [ 1%] Linking CXX executable test_evaluation [ 1%] Built target test_accuracy Scanning dependencies of target openvibe-examples-vrpn-to-openvibe [ 2%] Building CXX object applications/examples/vrpn-to-openvibe/CMakeFiles/openvibe-examples-vrpn-to-openvibe.dir/src/linux-vrpn_main.cpp.o [ 2%] Built target test_evaluation Scanning dependencies of target openvibe-examples-openvibe-to-vrpn [ 2%] Building CXX object applications/examples/openvibe-to-vrpn/CMakeFiles/openvibe-examples-openvibe-to-vrpn.dir/src/vrpn-receiver.cpp.o [ 2%] Linking CXX executable openvibe-examples-openvibe-to-vrpn [ 2%] Building CXX object applications/examples/vrpn-to-openvibe/CMakeFiles/openvibe-examples-vrpn-to-openvibe.dir/src/win32-vrpn_main.cpp.o [ 2%] Building CXX object applications/examples/vrpn-to-openvibe/CMakeFiles/openvibe-examples-vrpn-to-openvibe.dir/src/GenericVRPNServer.cpp.o [ 2%] Built target openvibe-examples-openvibe-to-vrpn Scanning dependencies of target openvibe-examples-openvibe-to-tcpip [ 2%] Building CXX object applications/examples/openvibe-to-tcpip/CMakeFiles/openvibe-examples-openvibe-to-tcpip.dir/src/tcpip-client.cpp.o [ 2%] Building CXX object build-tool/stimulation-generator/CMakeFiles/openvibe-stimulation-generator.dir/src/ovbt_sg_cpp_define_generator.cpp.o [ 3%] Building CXX object build-tool/stimulation-generator/CMakeFiles/openvibe-stimulation-generator.dir/src/ovbt_sg_matlab_generator.cpp.o [ 3%] Linking CXX executable openvibe-stimulation-generator [ 3%] Linking CXX executable openvibe-external-stimulation-connection-example [ 3%] Built target openvibe-stimulation-generator Scanning dependencies of target openvibe-id-generator [ 4%] Building CXX object applications/developer-tools/id-generator/CMakeFiles/openvibe-id-generator.dir/src/ovig_main.cpp.o [ 4%] Built target openvibe-external-stimulation-connection-example Scanning dependencies of target openvibe [ 4%] Building CXX object openvibe/CMakeFiles/openvibe.dir/src/ov_main.cpp.o [ 4%] Linking CXX executable openvibe-id-generator [ 4%] Linking CXX executable openvibe-examples-vrpn-to-openvibe [ 4%] Building CXX object openvibe/CMakeFiles/openvibe.dir/src/ovCKernelLoader.cpp.o [ 4%] Built target openvibe-id-generator Scanning dependencies of target openvibe-module-xml [ 4%] Building CXX object modules/xml/CMakeFiles/openvibe-module-xml.dir/src/IXMLNode.cpp.o [ 4%] Built target openvibe-examples-vrpn-to-openvibe Scanning dependencies of target openvibe-module-fs [ 4%] Building CXX object modules/fs/CMakeFiles/openvibe-module-fs.dir/src/IEntryEnumerator.cpp.o [ 4%] Building CXX object openvibe/CMakeFiles/openvibe.dir/src/ovCIdentifier.cpp.o [ 4%] Building CXX object openvibe/CMakeFiles/openvibe.dir/src/ovCNameValuePairList.cpp.o [ 4%] Building CXX object modules/fs/CMakeFiles/openvibe-module-fs.dir/src/Files.cpp.o [ 4%] Building CXX object openvibe/CMakeFiles/openvibe.dir/src/ovCObservable.cpp.o [ 4%] Building CXX object modules/xml/CMakeFiles/openvibe-module-xml.dir/src/IReader.cpp.o [ 5%] Building CXX object openvibe/CMakeFiles/openvibe.dir/src/ovCStimulationSet.cpp.o [ 6%] Building CXX object modules/xml/CMakeFiles/openvibe-module-xml.dir/src/IWriter.cpp.o [ 6%] Linking CXX shared library libopenvibe-module-fs.so [ 6%] Built target openvibe-module-fs Scanning dependencies of target openvibe-module-system [ 6%] Building CXX object modules/system/CMakeFiles/openvibe-module-system.dir/src/ovCTime.cpp.o [ 6%] Building CXX object openvibe/CMakeFiles/openvibe.dir/src/ovCMemoryBuffer.cpp.o [ 6%] Building CXX object openvibe/CMakeFiles/openvibe.dir/src/ovCMatrix.cpp.o [ 6%] Building CXX object modules/xml/CMakeFiles/openvibe-module-xml.dir/src/IXMLHandler.cpp.o [ 6%] Linking CXX shared library libopenvibe-module-xml.so [ 6%] Built target openvibe-module-xml Scanning dependencies of target openvibe-module-tcptagging [ 6%] Building CXX object modules/tcptagging/CMakeFiles/openvibe-module-tcptagging.dir/src/CStimulusSender.cpp.o [ 6%] Building CXX object openvibe/CMakeFiles/openvibe.dir/src/ovCString.cpp.o [ 6%] Linking CXX shared library libopenvibe.so [ 6%] Linking CXX executable openvibe-examples-openvibe-to-tcpip [ 6%] Built target openvibe [ 6%] Built target openvibe-examples-openvibe-to-tcpip Scanning dependencies of target test_fs Scanning dependencies of target openvibe-module-ebml [ 6%] Building CXX object modules/fs/test/CMakeFiles/test_fs.dir/test_fs.cpp.o [ 6%] Building CXX object modules/ebml/CMakeFiles/openvibe-module-ebml.dir/src/IReaderHelper.cpp.o [ 7%] Linking CXX executable test_fs [ 7%] Building CXX object modules/ebml/CMakeFiles/openvibe-module-ebml.dir/src/CWriterHelper.cpp.o [ 7%] Built target test_fs [ 7%] Building CXX object modules/ebml/CMakeFiles/openvibe-module-ebml.dir/src/CReader.cpp.o [ 8%] Building CXX object modules/ebml/CMakeFiles/openvibe-module-ebml.dir/src/IWriterHelper.cpp.o [ 8%] Building CXX object modules/ebml/CMakeFiles/openvibe-module-ebml.dir/src/IReader.cpp.o [ 8%] Building CXX object modules/ebml/CMakeFiles/openvibe-module-ebml.dir/src/IWriter.cpp.o [ 8%] Building CXX object modules/ebml/CMakeFiles/openvibe-module-ebml.dir/src/CIdentifier.cpp.o [ 8%] Building CXX object modules/ebml/CMakeFiles/openvibe-module-ebml.dir/src/CWriter.cpp.o [ 8%] Building CXX object modules/ebml/CMakeFiles/openvibe-module-ebml.dir/src/CReaderHelper.cpp.o [ 8%] Building CXX object modules/system/CMakeFiles/openvibe-module-system.dir/src/ovCChrono.cpp.o [ 8%] Building CXX object modules/system/CMakeFiles/openvibe-module-system.dir/src/ovCMath.cpp.o [ 9%] Linking CXX shared library libopenvibe-module-ebml.so [ 9%] Building CXX object modules/system/CMakeFiles/openvibe-module-system.dir/src/ovCMemory.cpp.o [ 9%] Built target openvibe-module-ebml Scanning dependencies of target openvibe-module-socket [ 9%] Building CXX object modules/socket/CMakeFiles/openvibe-module-socket.dir/src/IConnectionServer.cpp.o [ 9%] Building CXX object modules/socket/CMakeFiles/openvibe-module-socket.dir/src/IConnectionClient.cpp.o [ 10%] Building CXX object modules/socket/CMakeFiles/openvibe-module-socket.dir/src/IConnection.cpp.o Scanning dependencies of target generate_stimulations_file [ 10%] Generating stimulation sources... [ 10%] Built target generate_stimulations_file [ 10%] Building CXX object modules/tcptagging/CMakeFiles/openvibe-module-tcptagging.dir/src/IStimulusSender.cpp.o [ 10%] Linking CXX shared library libopenvibe-module-socket.so [ 10%] Built target openvibe-module-socket Scanning dependencies of target test_thresholdDataComparison [ 11%] Building CXX object plugins/processing/signal-processing/test/CMakeFiles/test_thresholdDataComparison.dir/test_thresholdDataComparison.cpp.o [ 12%] Linking CXX shared library libopenvibe-module-system.so [ 12%] Built target openvibe-module-system Scanning dependencies of target test_tagstream [ 12%] Building CXX object applications/platform/acquisition-server/test/CMakeFiles/test_tagstream.dir/test_tagstream.cpp.o [ 12%] Linking CXX executable test_thresholdDataComparison [ 12%] Built target test_thresholdDataComparison [ 12%] Building CXX object applications/platform/acquisition-server/test/CMakeFiles/test_tagstream.dir/__/ovasCTagStream.cpp.o Scanning dependencies of target openvibe-vrpn-simulator [ 12%] Building CXX object applications/developer-tools/vrpn-simulator/CMakeFiles/openvibe-vrpn-simulator.dir/src/ova_main.cpp.o [ 12%] Linking CXX shared library libopenvibe-module-tcptagging.so [ 12%] Built target openvibe-module-tcptagging Scanning dependencies of target openvibe-vr-demo [ 12%] Building CXX object applications/demos/vr-demo/CMakeFiles/openvibe-vr-demo.dir/src/ovaCAbstractVrpnPeripheral.cpp.o [ 12%] Linking CXX executable openvibe-vrpn-simulator [ 12%] Built target openvibe-vrpn-simulator [ 12%] Building CXX object applications/demos/vr-demo/CMakeFiles/openvibe-vr-demo.dir/src/ovavrdCOgreVRApplication.cpp.o [ 12%] Building CXX object applications/demos/vr-demo/CMakeFiles/openvibe-vr-demo.dir/src/ovavrd_main.cpp.o [ 13%] Building CXX object applications/demos/vr-demo/CMakeFiles/openvibe-vr-demo.dir/src/SpaceshipBCI/ovavrdCSpaceshipBCI.cpp.o [ 13%] Linking CXX executable test_tagstream [ 13%] Built target test_tagstream Scanning dependencies of target test_timearithmetic [ 13%] Building CXX object openvibe/test/CMakeFiles/test_timearithmetic.dir/test_timearithmetic.cpp.o [ 14%] Linking CXX executable test_timearithmetic [ 14%] Built target test_timearithmetic Scanning dependencies of target openvibe-kernel [ 14%] Building CXX object applications/demos/vr-demo/CMakeFiles/openvibe-vr-demo.dir/src/HandballBCI/ovavrdCHandballBCI.cpp.o [ 14%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCMessageWithData.cpp.o [ 14%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCOgreFrameListener.cpp.o [ 14%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCVertexData.cpp.o [ 14%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCOgreObject.cpp.o [ 15%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCVertexBufferAnimator.cpp.o [ 15%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCBoxAlgorithmContext.cpp.o [ 15%] Linking CXX executable openvibe-vr-demo [ 15%] Built target openvibe-vr-demo [ 15%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCOgreScene.cpp.o [ 15%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCBuffer.cpp.o [ 15%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCPlayer.cpp.o [ 15%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCOgreAnimator.cpp.o [ 16%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCOgreResourceGroup.cpp.o Scanning dependencies of target test_time [ 16%] Building CXX object modules/system/test/CMakeFiles/test_time.dir/test_time.cpp.o [ 16%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCScheduler.cpp.o [ 16%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCSimulatedBox.cpp.o [ 16%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCBoxSettingModifierVisitor.cpp.o [ 16%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCOgreWindow.cpp.o [ 16%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCTransformAnimator.cpp.o [ 16%] Building CXX object modules/system/test/CMakeFiles/test_time.dir/ntpclient.cpp.o [ 17%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCPlayerContext.cpp.o [ 17%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCColorAnimator.cpp.o [ 17%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCMaterial.cpp.o [ 17%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkMaterialAction.cpp.o [ 17%] Linking CXX executable test_time [ 17%] Built target test_time Scanning dependencies of target test_ebml_read [ 17%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCOgreVisualisation.cpp.o [ 17%] Building CXX object modules/ebml/test/CMakeFiles/test_ebml_read.dir/test_ebml_read.cpp.o [ 17%] Linking CXX executable test_ebml_read [ 17%] Built target test_ebml_read Scanning dependencies of target test_ebml_write [ 17%] Building CXX object modules/ebml/test/CMakeFiles/test_ebml_write.dir/test_ebml_write.cpp.o [ 18%] Linking CXX executable test_ebml_write [ 18%] Built target test_ebml_write Scanning dependencies of target test_ebml_tree [ 18%] Building CXX object modules/ebml/test/CMakeFiles/test_ebml_tree.dir/test_ebml_tree.cpp.o [ 18%] Linking CXX executable test_ebml_tree [ 18%] Built target test_ebml_tree Scanning dependencies of target openvibe-toolkit [ 18%] Building CXX object toolkit/CMakeFiles/openvibe-toolkit.dir/src/ovtk_main.cpp.o [ 18%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/player/ovkCPlayerManager.cpp.o [ 19%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/ovkGtkOVCustom.cpp.o [ 19%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/plugins/ovkCPluginModule.cpp.o [ 19%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/plugins/ovkCPluginManager.cpp.o [ 19%] Building CXX object toolkit/CMakeFiles/openvibe-toolkit.dir/src/algorithms/scenario-io/ovtkCAlgorithmScenarioImporter.cpp.o [ 19%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/ovkCKernelObjectFactory.cpp.o [ 19%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/algorithm/ovkCAlgorithmContext.cpp.o [ 19%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/algorithm/ovkCAlgorithmProto.cpp.o [ 19%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/algorithm/ovkCAlgorithm.cpp.o [ 20%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/algorithm/ovkCAlgorithmProxy.cpp.o [ 20%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/algorithm/ovkCAlgorithmManager.cpp.o [ 20%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/ovkCObjectVisitorContext.cpp.o [ 20%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/configuration/ovkCConfigurationManager.cpp.o [ 20%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/ovkCTypeManager.cpp.o [ 20%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/visualisation/ovkCVisualisationManager.cpp.o [ 20%] Building CXX object toolkit/CMakeFiles/openvibe-toolkit.dir/src/algorithms/scenario-io/ovtkCAlgorithmScenarioExporter.cpp.o [ 21%] Building CXX object toolkit/CMakeFiles/openvibe-toolkit.dir/src/algorithms/classification/ovtkCAlgorithmPairingStrategy.cpp.o [ 22%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/visualisation/ovkCVisualisationTree.cpp.o [ 22%] Building CXX object toolkit/CMakeFiles/openvibe-toolkit.dir/src/algorithms/classification/ovtkCFeatureVectorSet.cpp.o [ 22%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/visualisation/ovkCVisualisationContext.cpp.o [ 22%] Building CXX object toolkit/CMakeFiles/openvibe-toolkit.dir/src/algorithms/classification/ovtkCAlgorithmClassifier.cpp.o [ 22%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/visualisation/ovkCVisualisationWidget.cpp.o [ 22%] Building CXX object toolkit/CMakeFiles/openvibe-toolkit.dir/src/tools/ovtkStimulationSet.cpp.o [ 22%] Building CXX object toolkit/CMakeFiles/openvibe-toolkit.dir/src/tools/ovtkColorGradient.cpp.o [ 22%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/scenario/ovkCBox.cpp.o [ 22%] Building CXX object toolkit/CMakeFiles/openvibe-toolkit.dir/src/tools/ovtkMatrix.cpp.o [ 22%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/scenario/ovkCMessageLink.cpp.o [ 22%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/scenario/ovkCLink.cpp.o [ 23%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/scenario/ovkCScenarioImporterContext.cpp.o [ 23%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/scenario/ovkCBoxProto.cpp.o [ 23%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/scenario/ovkCScenario.cpp.o [ 23%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/scenario/ovkCScenarioExporterContext.cpp.o [ 24%] Building CXX object toolkit/CMakeFiles/openvibe-toolkit.dir/src/tools/ovtkString.cpp.o [ 24%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/scenario/ovkCComment.cpp.o [ 24%] Building CXX object toolkit/CMakeFiles/openvibe-toolkit.dir/src/ovtk_stimulations.cpp.o [ 24%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/scenario/ovkCProcessingUnit.cpp.o [ 24%] Linking CXX shared library libopenvibe-toolkit.so [ 25%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/scenario/ovkCScenarioManager.cpp.o [ 25%] Built target openvibe-toolkit [ 25%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/log/ovkCLogListenerNull.cpp.o Scanning dependencies of target test_eigen [ 25%] Building CXX object plugins/processing/signal-processing/test/CMakeFiles/test_eigen.dir/test_eigen.cpp.o [ 25%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/log/ovkCLogListenerFile.cpp.o [ 25%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/log/ovkCLogManager.cpp.o [ 25%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/log/ovkCLogListenerConsole.cpp.o [ 25%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/kernel/ovkCKernelContext.cpp.o [ 26%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/tools/ovkCScopeTester.cpp.o [ 26%] Building CXX object kernel/CMakeFiles/openvibe-kernel.dir/src/ovk_main.cpp.o [ 26%] Linking CXX executable test_eigen Scanning dependencies of target openvibe-plugins-evaluation [ 26%] Built target test_eigen Scanning dependencies of target openvibe-plugins-tools Scanning dependencies of target openvibe-plugins-tests [ 26%] Building CXX object plugins/processing/tests/CMakeFiles/openvibe-plugins-tests.dir/src/box-algorithms/ovpCCrashingBox.cpp.o [ 26%] Linking CXX shared library libopenvibe-kernel.so [ 26%] Building CXX object plugins/processing/tools/CMakeFiles/openvibe-plugins-tools.dir/src/box-algorithms/ovpCBoxAlgorithmStimulationListener.cpp.o [ 26%] Building CXX object plugins/processing/evaluation/CMakeFiles/openvibe-plugins-evaluation.dir/src/box-algorithms/ovpCBoxAlgorithmClassifierAccuracyMeasure.cpp.o [ 26%] Building CXX object plugins/processing/tests/CMakeFiles/openvibe-plugins-tests.dir/src/box-algorithms/ovpCBoxAlgorithmAdditionTest.cpp.o [ 26%] Built target openvibe-kernel Scanning dependencies of target openvibe-plugins-stimulation [ 26%] Building CXX object plugins/processing/stimulation/CMakeFiles/openvibe-plugins-stimulation.dir/src/box-algorithms/ovpCBoxAlgorithmRunCommand.cpp.o [ 26%] Building CXX object plugins/processing/tools/CMakeFiles/openvibe-plugins-tools.dir/src/box-algorithms/ovpCBoxAlgorithmMessageSpy.cpp.o [ 27%] Building CXX object plugins/processing/tests/CMakeFiles/openvibe-plugins-tests.dir/src/box-algorithms/ovpCTestCodecToolkit.cpp.o [ 27%] Building CXX object plugins/processing/stimulation/CMakeFiles/openvibe-plugins-stimulation.dir/src/box-algorithms/ovpCBoxAlgorithmLuaStimulator.cpp.o [ 28%] Building CXX object plugins/processing/tools/CMakeFiles/openvibe-plugins-tools.dir/src/box-algorithms/ovpCBoxAlgorithmMouseTracking.cpp.o [ 28%] Building CXX object plugins/processing/evaluation/CMakeFiles/openvibe-plugins-evaluation.dir/src/box-algorithms/ovpCBoxAlgorithmKappaCoefficient.cpp.o [ 28%] Building CXX object plugins/processing/tools/CMakeFiles/openvibe-plugins-tools.dir/src/box-algorithms/ovpCBoxAlgorithmLatencyEvaluation.cpp.o [ 28%] Building CXX object plugins/processing/tools/CMakeFiles/openvibe-plugins-tools.dir/src/box-algorithms/ovpCBoxAlgorithmEBMLStreamSpy.cpp.o [ 28%] Building CXX object plugins/processing/tests/CMakeFiles/openvibe-plugins-tests.dir/src/algorithms/ovpCAlgorithmAddition.cpp.o [ 28%] Building CXX object plugins/processing/evaluation/CMakeFiles/openvibe-plugins-evaluation.dir/src/box-algorithms/ovpCROCCurveDraw.cpp.o [ 28%] Building CXX object plugins/processing/tests/CMakeFiles/openvibe-plugins-tests.dir/src/ovp_main.cpp.o [ 29%] Building CXX object plugins/processing/evaluation/CMakeFiles/openvibe-plugins-evaluation.dir/src/box-algorithms/ovpCBoxAlgorithmConfusionMatrix.cpp.o [ 29%] Building CXX object plugins/processing/tools/CMakeFiles/openvibe-plugins-tools.dir/src/box-algorithms/ovpCBoxAlgorithmMatrixValidityChecker.cpp.o [ 29%] Linking CXX shared library libopenvibe-plugins-tests.so [ 29%] Built target openvibe-plugins-tests [ 29%] Building CXX object plugins/processing/tools/CMakeFiles/openvibe-plugins-tools.dir/src/ovp_main.cpp.o [ 29%] Building CXX object plugins/processing/stimulation/CMakeFiles/openvibe-plugins-stimulation.dir/src/box-algorithms/ovpCBoxAlgorithmP300IdentifierStimulator.cpp.o [ 29%] Building CXX object plugins/processing/evaluation/CMakeFiles/openvibe-plugins-evaluation.dir/src/box-algorithms/ovpCBoxAlgorithmROCCurve.cpp.o [ 29%] Building CXX object plugins/processing/stimulation/CMakeFiles/openvibe-plugins-stimulation.dir/src/box-algorithms/ovpCBoxAlgorithmTimeout.cpp.o [ 29%] Building CXX object plugins/processing/stimulation/CMakeFiles/openvibe-plugins-stimulation.dir/src/box-algorithms/ovpCBoxAlgorithmPlayerController.cpp.o [ 29%] Linking CXX shared library libopenvibe-plugins-tools.so [ 30%] Building CXX object plugins/processing/stimulation/CMakeFiles/openvibe-plugins-stimulation.dir/src/box-algorithms/ovpCBoxAlgorithmStimulationVoter.cpp.o [ 30%] Building CXX object plugins/processing/stimulation/CMakeFiles/openvibe-plugins-stimulation.dir/src/box-algorithms/ovpCBoxAlgorithmP300SpellerStimulator.cpp.o [ 30%] Built target openvibe-plugins-tools Scanning dependencies of target openvibe-plugins-network-io [ 30%] Building CXX object plugins/processing/network-io/CMakeFiles/openvibe-plugins-network-io.dir/src/box-algorithms/ovpCBoxAlgorithmTCPWriter.cpp.o [ 30%] Building CXX object plugins/processing/evaluation/CMakeFiles/openvibe-plugins-evaluation.dir/src/box-algorithms/ovpCBoxAlgorithmStatisticGenerator.cpp.o [ 30%] Building CXX object plugins/processing/stimulation/CMakeFiles/openvibe-plugins-stimulation.dir/src/box-algorithms/ovpCBoxAlgorithmClockStimulator.cpp.o [ 30%] Building CXX object plugins/processing/stimulation/CMakeFiles/openvibe-plugins-stimulation.dir/src/box-algorithms/ovpCBoxAlgorithmOpenALSoundPlayer.cpp.o [ 30%] Building CXX object plugins/processing/stimulation/CMakeFiles/openvibe-plugins-stimulation.dir/src/box-algorithms/ovpCKeyboardStimulator.cpp.o [ 30%] Building CXX object plugins/processing/evaluation/CMakeFiles/openvibe-plugins-evaluation.dir/src/algorithms/ovpCAlgorithmConfusionMatrix.cpp.o [ 30%] Building CXX object plugins/processing/stimulation/CMakeFiles/openvibe-plugins-stimulation.dir/src/box-algorithms/ovpCSignChangeDetector.cpp.o [ 31%] Building CXX object plugins/processing/stimulation/CMakeFiles/openvibe-plugins-stimulation.dir/src/box-algorithms/ovpCBoxAlgorithmStimulationMultiplexer.cpp.o [ 31%] Building CXX object plugins/processing/stimulation/CMakeFiles/openvibe-plugins-stimulation.dir/src/box-algorithms/adaptation/ovpCBoxAlgorithmStimulationFilter.cpp.o [ 31%] Building CXX object plugins/processing/evaluation/CMakeFiles/openvibe-plugins-evaluation.dir/src/ovp_main.cpp.o [ 31%] Building CXX object plugins/processing/stimulation/CMakeFiles/openvibe-plugins-stimulation.dir/src/ovp_main.cpp.o Scanning dependencies of target openvibe-plugins-classification [ 31%] Building CXX object plugins/processing/classification/CMakeFiles/openvibe-plugins-classification.dir/src/box-algorithms/ovpCBoxAlgorithmOutlierRemoval.cpp.o [ 31%] Building CXX object plugins/processing/network-io/CMakeFiles/openvibe-plugins-network-io.dir/src/box-algorithms/ovpCBoxAlgorithmSharedMemoryWriter.cpp.o [ 31%] Building CXX object plugins/processing/classification/CMakeFiles/openvibe-plugins-classification.dir/src/box-algorithms/ovpCBoxAlgorithmClassifierProcessor.cpp.o [ 31%] Linking CXX shared library libopenvibe-plugins-evaluation.so [ 31%] Built target openvibe-plugins-evaluation Scanning dependencies of target openvibe-plugins-streaming [ 31%] Building CXX object plugins/processing/streaming/CMakeFiles/openvibe-plugins-streaming.dir/src/box-algorithms/ovpCBoxAlgorithmSignalMerger.cpp.o [ 32%] Building CXX object plugins/processing/streaming/CMakeFiles/openvibe-plugins-streaming.dir/src/box-algorithms/ovpCBoxAlgorithmStreamedMatrixMultiplexer.cpp.o [ 32%] Building CXX object plugins/processing/streaming/CMakeFiles/openvibe-plugins-streaming.dir/src/box-algorithms/ovpCBoxAlgorithmStreamedMatrixSwitch.cpp.o [ 32%] Building CXX object plugins/processing/classification/CMakeFiles/openvibe-plugins-classification.dir/src/box-algorithms/ovpCBoxAlgorithmClassifierTrainer.cpp.o [ 32%] Linking CXX shared library libopenvibe-plugins-stimulation.so [ 32%] Built target openvibe-plugins-stimulation [ 32%] Building CXX object plugins/processing/streaming/CMakeFiles/openvibe-plugins-streaming.dir/src/ovp_main.cpp.o [ 32%] Building CXX object plugins/processing/network-io/CMakeFiles/openvibe-plugins-network-io.dir/src/box-algorithms/ovpCBoxAlgorithmLSLExport.cpp.o [ 33%] Building CXX object plugins/processing/network-io/CMakeFiles/openvibe-plugins-network-io.dir/src/ovp_main.cpp.o [ 33%] Building CXX object plugins/processing/classification/CMakeFiles/openvibe-plugins-classification.dir/src/box-algorithms/ovpCBoxAlgorithmVotingClassifier.cpp.o [ 33%] Linking CXX shared library libopenvibe-plugins-streaming.so [ 33%] Built target openvibe-plugins-streaming [ 33%] Building CXX object plugins/processing/classification/CMakeFiles/openvibe-plugins-classification.dir/src/algorithms/ovpCAlgorithmClassifierMLP.cpp.o [ 34%] Building CXX object plugins/processing/classification/CMakeFiles/openvibe-plugins-classification.dir/src/algorithms/ovpCAlgorithmClassifierNULL.cpp.o [ 34%] Building CXX object plugins/processing/classification/CMakeFiles/openvibe-plugins-classification.dir/src/algorithms/ovpCAlgorithmClassifierOneVsOne.cpp.o [ 34%] Building CXX object plugins/processing/classification/CMakeFiles/openvibe-plugins-classification.dir/src/algorithms/ovpCAlgorithmPairwiseDecision.cpp.o [ 34%] Building CXX object plugins/processing/classification/CMakeFiles/openvibe-plugins-classification.dir/src/algorithms/ovpCAlgorithmClassifierSVM.cpp.o [ 34%] Linking CXX shared library libopenvibe-plugins-network-io.so [ 34%] Built target openvibe-plugins-network-io Scanning dependencies of target openvibe-designer [ 34%] Building CXX object plugins/processing/classification/CMakeFiles/openvibe-plugins-classification.dir/src/algorithms/ovpCAlgorithmClassifierOneVsAll.cpp.o [ 34%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/ovdCAboutPluginDialog.cpp.o [ 35%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/ovdCCommentEditorDialog.cpp.o [ 35%] Building CXX object plugins/processing/classification/CMakeFiles/openvibe-plugins-classification.dir/src/algorithms/ovpCAlgorithmPairwiseDecisionVoting.cpp.o [ 35%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/ovdCApplication.cpp.o [ 36%] Building CXX object plugins/processing/classification/CMakeFiles/openvibe-plugins-classification.dir/src/algorithms/ovpCAlgorithmPairwiseDecisionHT.cpp.o [ 36%] Building CXX object plugins/processing/classification/CMakeFiles/openvibe-plugins-classification.dir/src/algorithms/ovpCAlgorithmClassifierLDA.cpp.o [ 36%] Building CXX object plugins/processing/classification/CMakeFiles/openvibe-plugins-classification.dir/src/algorithms/ovpCAlgorithmPairwiseStrategyPKPD.cpp.o [ 36%] Building CXX object plugins/processing/classification/CMakeFiles/openvibe-plugins-classification.dir/src/algorithms/ovpCAlgorithmConditionedCovariance.cpp.o [ 36%] Building CXX object plugins/processing/classification/CMakeFiles/openvibe-plugins-classification.dir/src/algorithms/ovpCAlgorithmLDADiscriminantFunction.cpp.o [ 36%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/ovdCConnectorEditor.cpp.o [ 36%] Building CXX object plugins/processing/classification/CMakeFiles/openvibe-plugins-classification.dir/src/ovp_main.cpp.o [ 36%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/ovdCLogListenerDesigner.cpp.o [ 36%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/ovdCScenarioStateStack.cpp.o [ 36%] Building CXX object plugins/processing/classification/CMakeFiles/openvibe-plugins-classification.dir/__/__/__/contrib/packages/libSVM/svm.cpp.o [ 36%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/ovdCPlayerVisualisation.cpp.o [ 37%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/ovdCLinkProxy.cpp.o [ 37%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/ovdCCommentProxy.cpp.o [ 37%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/ovdTAttributeHandler.cpp.o [ 37%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/ovdCInterfacedScenario.cpp.o [ 37%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/ovd_main.cpp.o [ 37%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/ovdCBoxConfigurationDialog.cpp.o [ 38%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/ovdCAboutScenarioDialog.cpp.o [ 38%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/ovdCDesignerVisualisation.cpp.o [ 38%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/settings/ovdCAbstractSettingView.cpp.o [ 38%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/settings/ovdCIntegerSettingView.cpp.o [ 38%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/settings/ovdCScriptSettingView.cpp.o [ 38%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/settings/ovdCColorGradientSettingView.cpp.o [ 39%] Linking CXX shared library libopenvibe-plugins-classification.so [ 40%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/settings/ovdCEnumerationSettingView.cpp.o [ 40%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/settings/ovdCBooleanSettingView.cpp.o [ 40%] Built target openvibe-plugins-classification Scanning dependencies of target openvibe-acquisition-server [ 40%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/settings/ovdCBitMaskSettingView.cpp.o [ 40%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/settings/ovdCColorSettingView.cpp.o [ 40%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/settings/ovdCFloatSettingView.cpp.o [ 40%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/settings/ovdCSettingViewFactory.cpp.o [ 41%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/settings/ovdCFilenameSettingView.cpp.o [ 41%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/ovasCAcquisitionServer.cpp.o [ 41%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/settings/ovdCStringSettingView.cpp.o [ 42%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/biosemi-activetwo/ovasCDriverBioSemiActiveTwo.cpp.o Scanning dependencies of target openvibe-skeleton-generator [ 42%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/biosemi-activetwo/mCBridgeBioSemiActiveTwo.cpp.o Scanning dependencies of target openvibe-plugin-inspector [ 42%] Building CXX object applications/developer-tools/skeleton-generator/CMakeFiles/openvibe-skeleton-generator.dir/src/ovsgCSkeletonGenerator.cpp.o [ 42%] Building CXX object applications/developer-tools/plugin-inspector/CMakeFiles/openvibe-plugin-inspector.dir/src/ovpiCPluginObjectDescEnumBoxAlgorithmSnapshotGenerator.cpp.o [ 42%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/ovdCBoxProxy.cpp.o [ 42%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/ovdCRenameDialog.cpp.o [ 42%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/ovdCInterfacedObject.cpp.o [ 42%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/ovdCInputDialog.cpp.o [ 43%] Building CXX object applications/platform/designer/CMakeFiles/openvibe-designer.dir/src/ovdCSettingEditorDialog.cpp.o [ 43%] Linking CXX executable openvibe-designer [ 43%] Building CXX object applications/developer-tools/skeleton-generator/CMakeFiles/openvibe-skeleton-generator.dir/src/ovsgCBoxAlgorithmSkeletonGenerator.cpp.o [ 43%] Built target openvibe-designer Scanning dependencies of target openvibe-ssvep-demo [ 44%] Building CXX object applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/src/ovassvepCCommandStimulatorControl.cpp.o [ 44%] Building CXX object applications/developer-tools/plugin-inspector/CMakeFiles/openvibe-plugin-inspector.dir/src/ovpiCPluginObjectDescEnumBoxAlgorithmDumper.cpp.o [ 44%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/biosemi-activetwo/ovasCConfigurationBioSemiActiveTwo.cpp.o [ 44%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/tmsi-refa32b/ovasCConfigurationTMSIRefa32B.cpp.o [ 44%] Building CXX object applications/developer-tools/plugin-inspector/CMakeFiles/openvibe-plugin-inspector.dir/src/ovpi_main.cpp.o [ 44%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/tmsi-refa32b/ovasCDriverTMSiRefa32B.cpp.o [ 44%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/generic-raw-reader/ovasCDriverGenericRawFileReader.cpp.o [ 45%] Building CXX object applications/developer-tools/plugin-inspector/CMakeFiles/openvibe-plugin-inspector.dir/src/ovpiCPluginObjectDescEnumAlgorithmSnapshotGenerator.cpp.o [ 46%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/generic-raw-reader/ovasCConfigurationGenericRawReader.cpp.o [ 46%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/generic-raw-reader/ovasCDriverGenericRawTelnetReader.cpp.o [ 46%] Building CXX object applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/src/ovassvepCPainter.cpp.o [ 46%] Building CXX object applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/src/ovassvep_main.cpp.o [ 46%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/generic-raw-reader/ovasCDriverGenericRawReader.cpp.o [ 46%] Building CXX object applications/developer-tools/plugin-inspector/CMakeFiles/openvibe-plugin-inspector.dir/src/ovpiCPluginObjectDescEnum.cpp.o [ 46%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/brainproducts-actichamp/ovasCDriverBrainProductsActiCHamp.cpp.o [ 46%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/brainproducts-actichamp/ovasCConfigurationBrainProductsActiCHamp.cpp.o [ 46%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/mcs-nvx/ovasCConfigurationMCSNVXDriver.cpp.o [ 47%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/mcs-nvx/ovasCDriverMCSNVXDriver.cpp.o [ 47%] Building CXX object applications/developer-tools/plugin-inspector/CMakeFiles/openvibe-plugin-inspector.dir/src/ovpiCPluginObjectDescEnumAlgorithmGlobalDefinesGenerator.cpp.o [ 47%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/mindmedia-nexus32b/ovasCDriverMindMediaNeXus32B.cpp.o [ 47%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/neuroservo/HidDeviceApi/HidDeviceNotifierRef.cpp.o [ 47%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/neuroservo/HidDeviceApi/HidDevice.cpp.o [ 47%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/neuroservo/HidDeviceApi/HidDeviceNotifier.cpp.o [ 47%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/neuroservo/ovasCDriverNeuroServoHid.cpp.o [ 48%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/neuroservo/ovasCConfigurationNeuroServoHid.cpp.o [ 48%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/emotiv-epoc/ovasCDriverEmotivEPOC.cpp.o [ 48%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/emotiv-epoc/ovasCConfigurationEmotivEPOC.cpp.o [ 48%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/tmsi/ovasCDriverTMSi.cpp.o [ 48%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/tmsi/ovasCTMSiAccess.cpp.o [ 48%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/tmsi/ovasCConfigurationTMSi.cpp.o [ 48%] Linking CXX executable openvibe-plugin-inspector [ 48%] Building CXX object applications/developer-tools/skeleton-generator/CMakeFiles/openvibe-skeleton-generator.dir/src/ovsgCDriverSkeletonGenerator.cpp.o [ 48%] Building CXX object applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/src/ovassvepCBasicPainter.cpp.o [ 48%] Built target openvibe-plugin-inspector [ 49%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/brainproducts-brainampseries/ovasCHeaderAdapterBrainProductsBrainampSeries.cpp.o Scanning dependencies of target openvibe-ssvep-mind-shooter [ 49%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/brainproducts-brainampseries/ovasCConfigurationBrainProductsBrainampSeries.cpp.o [ 49%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/ovamsCCommandStartStop.cpp.o [ 49%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/brainproducts-brainampseries/ovasCDriverBrainProductsBrainampSeries.cpp.o [ 49%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/neurosky-mindset/ovasCConfigurationNeuroskyMindset.cpp.o [ 49%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/neurosky-mindset/ovasCDriverNeuroskyMindset.cpp.o [ 49%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/micromed-systemplusevolution/ovasCDriverMicromedSystemPlusEvolution.cpp.o [ 50%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/neuroelectrics-enobio3g/ovasCDriverEnobio3G.cpp.o [ 50%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/neuroelectrics-enobio3g/ovasCConfigurationEnobio3G.cpp.o [ 50%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/labstreaminglayer/ovasCConfigurationLabStreamingLayer.cpp.o [ 50%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/labstreaminglayer/ovasCDriverLabStreamingLayer.cpp.o [ 50%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/generic-sawtooth/ovasCDriverGenericSawTooth.cpp.o [ 50%] Building CXX object applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/src/ovassvepCApplication.cpp.o [ 50%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/ovamsCApplication.cpp.o [ 50%] Building CXX object applications/developer-tools/skeleton-generator/CMakeFiles/openvibe-skeleton-generator.dir/src/ovsg_main.cpp.o [ 50%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/brainproducts-vamp/ovasCDriverBrainProductsVAmp.cpp.o [ 51%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/brainproducts-vamp/ovasCHeaderBrainProductsVAmp.cpp.o [ 51%] Linking CXX executable openvibe-skeleton-generator [ 51%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/brainproducts-vamp/ovasCConfigurationBrainProductsVAmp.cpp.o [ 51%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/generic-oscillator/ovasCDriverGenericOscillator.cpp.o [ 51%] Built target openvibe-skeleton-generator Scanning dependencies of target openvibe-plugins-contrib-file-io [ 51%] Building CXX object contrib/plugins/processing/file-io/CMakeFiles/openvibe-plugins-contrib-file-io.dir/src/box-algorithms/ovpCBoxAlgorithmEDFFileWriter.cpp.o [ 51%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/generic-oscillator/ovasCConfigurationDriverGenericOscillator.cpp.o [ 51%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/mensia-acquisition/ovasCDriverMensiaAcquisition.cpp.o [ 51%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/mensia-acquisition/ovasCConfigurationDriverMensiaAcquisition.cpp.o [ 51%] Building CXX object contrib/plugins/processing/file-io/CMakeFiles/openvibe-plugins-contrib-file-io.dir/src/box-algorithms/ovpCBoxAlgorithmBrainampFileWriter.cpp.o [ 52%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/egi-ampserver/ovasCDriverEGIAmpServer.cpp.o [ 52%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/drivers/egi-ampserver/ovasCConfigurationEGIAmpServer.cpp.o [ 52%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/ovasCSettingsHelper.cpp.o [ 52%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/ovasCAcquisitionServerGUI.cpp.o [ 52%] Building CXX object applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/src/ovassvepICommandVRPNButton.cpp.o [ 52%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/ovamsCStimulator.cpp.o [ 52%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/ovamsICommandOIS.cpp.o [ 52%] Building CXX object contrib/plugins/processing/file-io/CMakeFiles/openvibe-plugins-contrib-file-io.dir/src/ovp_main.cpp.o [ 53%] Building CXX object applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/src/ovassvepICommandOIS.cpp.o [ 53%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/ovamsCSSVEPFlickeringObject.cpp.o [ 53%] Building C object contrib/plugins/processing/file-io/CMakeFiles/openvibe-plugins-contrib-file-io.dir/src/box-algorithms/edf/edflib.c.o [ 53%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/ovasCConfigurationBuilder.cpp.o [ 53%] Linking CXX shared library libopenvibe-plugins-contrib-file-io.so [ 53%] Built target openvibe-plugins-contrib-file-io Scanning dependencies of target openvibe-plugins-contrib-signal-processing [ 53%] Building CXX object contrib/plugins/processing/signal-processing/CMakeFiles/openvibe-plugins-contrib-signal-processing.dir/src/box-algorithms/ovpCOutputChannel.cpp.o [ 54%] Building CXX object contrib/plugins/processing/signal-processing/CMakeFiles/openvibe-plugins-contrib-signal-processing.dir/src/box-algorithms/ovpCWindowingFunctions.cpp.o [ 55%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/ovamsICommandVRPNButton.cpp.o [ 55%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/ovasCDriftCorrection.cpp.o [ 55%] Building CXX object applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/src/ovassvepCVRPNServer.cpp.o [ 55%] Building CXX object contrib/plugins/processing/signal-processing/CMakeFiles/openvibe-plugins-contrib-signal-processing.dir/src/box-algorithms/ovpCDetectingMinMaxBoxAlgorithm.cpp.o [ 56%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/ovas_main.cpp.o [ 56%] Building CXX object contrib/plugins/processing/signal-processing/CMakeFiles/openvibe-plugins-contrib-signal-processing.dir/src/box-algorithms/ovpCTemporalFilterBoxAlgorithm.cpp.o [ 56%] Building CXX object contrib/plugins/processing/signal-processing/CMakeFiles/openvibe-plugins-contrib-signal-processing.dir/src/box-algorithms/ovpCModTemporalFilterBoxAlgorithm.cpp.o [ 56%] Building CXX object contrib/plugins/processing/signal-processing/CMakeFiles/openvibe-plugins-contrib-signal-processing.dir/src/box-algorithms/ovpCBoxAlgorithmCSPSpatialFilterTrainer.cpp.o [ 56%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/GenericStimulator/ovamsCGenericStimulatorFlickeringObject.cpp.o [ 56%] Building CXX object applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/src/Shooter/ovassvepCCommandShipControl.cpp.o [ 56%] Building CXX object contrib/plugins/processing/signal-processing/CMakeFiles/openvibe-plugins-contrib-signal-processing.dir/src/box-algorithms/ovpCInputChannel.cpp.o [ 57%] Building CXX object contrib/plugins/processing/signal-processing/CMakeFiles/openvibe-plugins-contrib-signal-processing.dir/src/box-algorithms/ovpCDownsamplingBoxAlgorithm.cpp.o [ 57%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/ovasCConfigurationNetworkBuilder.cpp.o [ 57%] Building CXX object contrib/plugins/processing/signal-processing/CMakeFiles/openvibe-plugins-contrib-signal-processing.dir/src/box-algorithms/ovpCBoxAlgorithmUnivariateStatistics.cpp.o [ 57%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/src/ovasCHeader.cpp.o [ 57%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/GenericStimulator/ovamsCGenericStimulatorApplication.cpp.o [ 57%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-extensions/external-stimulations/ovasCPluginExternalStimulations.cpp.o [ 57%] Building CXX object contrib/plugins/processing/signal-processing/CMakeFiles/openvibe-plugins-contrib-signal-processing.dir/src/box-algorithms/ovpCBoxAlgorithmSynchro.cpp.o [ 57%] Building CXX object applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/src/Shooter/ovassvepCCommandTargetControl.cpp.o [ 57%] Building CXX object contrib/plugins/processing/signal-processing/CMakeFiles/openvibe-plugins-contrib-signal-processing.dir/src/box-algorithms/ovpCSpectralAnalysis.cpp.o [ 57%] Building CXX object contrib/plugins/processing/signal-processing/CMakeFiles/openvibe-plugins-contrib-signal-processing.dir/src/box-algorithms/ovpCFastICA.cpp.o [ 57%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/ovamsCVRPNServer.cpp.o [ 57%] Building CXX object contrib/plugins/processing/signal-processing/CMakeFiles/openvibe-plugins-contrib-signal-processing.dir/src/algorithms/ovpCDetectingMinMax.cpp.o [ 57%] Building CXX object applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/src/Shooter/ovassvepCShooterTarget.cpp.o [ 58%] Building CXX object contrib/plugins/processing/signal-processing/CMakeFiles/openvibe-plugins-contrib-signal-processing.dir/src/algorithms/ovpCAlgorithmUnivariateStatistics.cpp.o [ 58%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-extensions/tcp-tagging/ovasCTagStream.cpp.o [ 58%] Building CXX object contrib/plugins/processing/signal-processing/CMakeFiles/openvibe-plugins-contrib-signal-processing.dir/src/algorithms/ovpCApplyTemporalFilter.cpp.o [ 58%] Building CXX object contrib/plugins/processing/signal-processing/CMakeFiles/openvibe-plugins-contrib-signal-processing.dir/src/algorithms/ovpCDownsampling.cpp.o [ 58%] Building CXX object applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/src/Shooter/ovassvepCStarShip.cpp.o [ 58%] Building CXX object contrib/plugins/processing/signal-processing/CMakeFiles/openvibe-plugins-contrib-signal-processing.dir/src/algorithms/ovpCComputeTemporalFilterCoefficients.cpp.o [ 58%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/ovamsCCommandStimulatorControl.cpp.o [ 58%] Building CXX object contrib/plugins/processing/signal-processing/CMakeFiles/openvibe-plugins-contrib-signal-processing.dir/src/ovp_main.cpp.o [ 58%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-extensions/tcp-tagging/ovasCPluginTCPTagging.cpp.o [ 58%] Linking CXX shared library libopenvibe-plugins-contrib-signal-processing.so [ 58%] Building CXX object applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/src/Shooter/ovassvepCShooterApplication.cpp.o [ 58%] Built target openvibe-plugins-contrib-signal-processing Scanning dependencies of target openvibe-plugins-contrib-python [ 58%] Building CXX object contrib/plugins/processing/python/CMakeFiles/openvibe-plugins-contrib-python.dir/src/box-algorithms/ovpCBoxAlgorithmPython.cpp.o [ 58%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/ovamsICommandVRPNAnalog.cpp.o [ 59%] Building CXX object applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/src/ovassvepCSSVEPFlickeringObject.cpp.o [ 59%] Building CXX object contrib/plugins/processing/python/CMakeFiles/openvibe-plugins-contrib-python.dir/src/ovp_main.cpp.o [ 60%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/brainmaster-discovery/src/ovasCDriverBrainmasterDiscovery.cpp.o [ 60%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/brainmaster-discovery/src/ovasCConfigurationBrainmasterDiscovery.cpp.o [ 60%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/brainproducts-brainvisionrecorder/src/ovasCDriverBrainProductsBrainVisionRecorder.cpp.o [ 60%] Linking CXX shared library libopenvibe-plugins-contrib-python.so [ 60%] Built target openvibe-plugins-contrib-python [ 60%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/cognionics/src/ovasCConfigurationCognionics.cpp.o [ 60%] Building CXX object applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/src/ovassvepCCommandStartStop.cpp.o [ 61%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/Impact/ovamsCImpactShip.cpp.o [ 61%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/cognionics/src/ovasCDriverCognionics.cpp.o [ 61%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/ctfvsm-meg/src/ovasCDriverCtfVsmMeg.cpp.o [ 61%] Building CXX object applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/src/Trainer/ovassvepCTrainerFlickeringObject.cpp.o [ 62%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/field-trip-protocol/src/ovasCConfigurationFieldtrip.cpp.o [ 62%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/field-trip-protocol/src/ovasCDriverFieldtrip.cpp.o [ 62%] Building CXX object applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/src/Trainer/ovassvepCTrainerApplication.cpp.o [ 62%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/gtec-gipsa/src/ovasCDriverGTecGUSBamp.cpp.o [ 62%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/gtec-gipsa/src/ovasCConfigurationGTecGUSBamp.cpp.o [ 62%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/gtec-bcilab/src/ovasCDriverGTecGUSBampLinux.cpp.o [ 62%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/gtec-bcilab/src/ovasCConfigurationGTecGUSBampLinux.cpp.o [ 63%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/gtec-gmobilabplus/src/ovasCDriverGTecGMobiLabPlus.cpp.o [ 63%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/Impact/ovamsCImpactApplication.cpp.o [ 63%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/gtec-gmobilabplus/src/ovasCConfigurationGTecGMobiLabPlus.cpp.o [ 63%] Building CXX object applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/src/Trainer/ovassvepCCommandReceiveTarget.cpp.o [ 63%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/gtec-gusbamp/src/ovasCConfigurationGTecGUSBampLegacy.cpp.o [ 63%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/gtec-gusbamp/src/ovasCDriverGTecGUSBampLegacy.cpp.o [ 63%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/gtec-gnautilus/src/ovasCDrivergNautilusInterface.cpp.o [ 63%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/gtec-gnautilus/src/ovasCConfigurationgNautilusInterface.cpp.o [ 64%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/mbt-smarting/src/ovasCConfigurationMBTSmarting.cpp.o [ 64%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/mbt-smarting/src/ovasCDriverMBTSmarting.cpp.o [ 64%] Building CXX object applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/src/ovassvepCStimulator.cpp.o [ 64%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/Impact/ovamsCImpactEnemyShip.cpp.o [ 65%] Linking CXX executable openvibe-ssvep-demo //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFSetTagExtender@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFGetTagListCount@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFTileRowSize@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFReadDirectory@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFFieldTag@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFGetFieldDefaulted@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFSwabArrayOfLong@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFCurrentDirectory@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFLastDirectory@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFIsTiled@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFIsByteSwapped@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFFieldPassCount@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFFieldDataType@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFStripSize@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFSetSubDirectory@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFDefaultStripSize@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFReadRGBAImage@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `_TIFFDataSize@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFComputeStrip@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFReadEncodedStrip@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFReadTile@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFMergeFieldInfo@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFSetField@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFWriteScanline@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFDataWidth@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFGetField@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFScanlineSize@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFFieldWithTag@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFWriteDirectory@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFTileSize@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFFieldName@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFSetDirectory@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFFieldReadCount@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFReadEXIFDirectory@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFGetTagListEntry@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFClose@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFClientOpen@LIBTIFF_4.0' collect2: error: ld returned 1 exit status applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/build.make:595: recipe for target 'applications/demos/ssvep-demo/openvibe-ssvep-demo' failed make[2]: *** [applications/demos/ssvep-demo/openvibe-ssvep-demo] Error 1 CMakeFiles/Makefile2:3339: recipe for target 'applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/all' failed make[1]: *** [applications/demos/ssvep-demo/CMakeFiles/openvibe-ssvep-demo.dir/all] Error 2 make[1]: *** Waiting for unfinished jobs.... [ 65%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/Impact/dotscene/DotSceneLoader.cpp.o [ 65%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/Impact/ovamsCCommandImpactCustomTargetControl.cpp.o [ 65%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/mbt-smarting/src/ovasCSmartingAmp.cpp.o [ 65%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/Impact/ovamsCCommandControlDiscrete.cpp.o [ 66%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/Impact/ovamsCCommandImpactTargetControl.cpp.o [ 66%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/Impact/ovamsCCommandControlAnalog.cpp.o [ 66%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/Impact/ovamsCCommandControlDiscreteOIS.cpp.o [ 66%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/log/ovkCLogListenerFileBuffered.cpp.o [ 66%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/mitsarEEG202A/src/ovasCDriverMitsarEEG202A.cpp.o [ 66%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/mitsarEEG202A/src/ovasCConfigurationMitsarEEG202A.cpp.o [ 66%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/openal-mono16bit-audiocapture/src/ovasCDriverOpenALAudioCapture.cpp.o [ 66%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/ovamsCCommandCamera.cpp.o [ 66%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/ovamsCCommandReceiveTarget.cpp.o [ 66%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/openal-mono16bit-audiocapture/src/ovasCConfigurationOpenALAudioCapture.cpp.o [ 67%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/openeeg-modulareeg/src/ovasCConfigurationOpenEEGModularEEG.cpp.o [ 67%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/openeeg-modulareeg/src/ovasCDriverOpenEEGModularEEG.cpp.o [ 68%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/ovams_main.cpp.o [ 68%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/openbci/src/ovasCDriverOpenBCI.cpp.o [ 68%] Building CXX object applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/src/ovamsCBasicPainter.cpp.o [ 68%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/openbci/src/ovasCConfigurationOpenBCI.cpp.o [ 68%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/eemagine-eego/src/ovasCConfigurationEEGO.cpp.o [ 68%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/eemagine-eego/src/ovasCHeaderEEGO.cpp.o [ 69%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/contrib/plugins/server-drivers/eemagine-eego/src/ovasCDriverEEGO.cpp.o [ 69%] Building CXX object applications/platform/acquisition-server/CMakeFiles/openvibe-acquisition-server.dir/__/__/__/plugins/server-extensions/lsl-output/ovasCPluginLSLOutput.cpp.o [ 69%] Linking CXX executable openvibe-acquisition-server [ 69%] Built target openvibe-acquisition-server [ 69%] Linking CXX executable openvibe-ssvep-mind-shooter //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFSetTagExtender@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFGetTagListCount@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFTileRowSize@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFReadDirectory@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFFieldTag@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFGetFieldDefaulted@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFSwabArrayOfLong@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFCurrentDirectory@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFLastDirectory@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFIsTiled@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFIsByteSwapped@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFFieldPassCount@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFFieldDataType@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFStripSize@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFSetSubDirectory@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFDefaultStripSize@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFReadRGBAImage@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `_TIFFDataSize@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFComputeStrip@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFReadEncodedStrip@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFReadTile@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFMergeFieldInfo@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFSetField@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFWriteScanline@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFDataWidth@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFGetField@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFScanlineSize@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFFieldWithTag@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFWriteDirectory@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFTileSize@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFFieldName@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFSetDirectory@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFFieldReadCount@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFReadEXIFDirectory@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFGetTagListEntry@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFClose@LIBTIFF_4.0' //usr/lib/x86_64-linux-gnu/libfreeimage.so.3: undefined reference to `TIFFClientOpen@LIBTIFF_4.0' collect2: error: ld returned 1 exit status applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/build.make:758: recipe for target 'applications/demos/ssvep-mind-shooter/openvibe-ssvep-mind-shooter' failed make[2]: *** [applications/demos/ssvep-mind-shooter/openvibe-ssvep-mind-shooter] Error 1 CMakeFiles/Makefile2:3401: recipe for target 'applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/all' failed make[1]: *** [applications/demos/ssvep-mind-shooter/CMakeFiles/openvibe-ssvep-mind-shooter.dir/all] Error 2 Makefile:127: recipe for target 'all' failed make: *** [all] Error 2  ;  .    ;  .     ;  .        (0001246) ;  .    brylie    ;  .    2017-02-06 17:26    ;  .    ;       Is there a way to build without the demos?    Also, this problem might be made much easier, if there were pre-built binaries for various Linux distros. ;  .    ;  .     ;  .        (0001248) ;  .    jtlindgr    ;  .    2017-02-07 11:24     (edited on: 2017-02-07 11:25) ;  .    ;       The problem seems to be that libfreeimage doesn't get its libtiff dependency  satisfied on you system. We are currently not linking to either library  explicitly. In normal Ubuntu, these libs are apparently pulled in automatically  by linking something else, likely Ogre or cegui. Since I don't know what   different packages depend on in different systems, I'd be hesitant to demand   explicit linking of libtiff to openvibe on system X version Y, for example.   We definitely do not have resources to support every linux variant out   there, but community contributions are of course welcome.    Demos can be disabled by setting    SET(SKIP_APPLICATIONS_DEMOS "1")    in the main cmakelists.    ;  .    ;  .     ;  .        (0001249) ;  .    brylie    ;  .    2017-02-07 16:46     (edited on: 2017-02-07 16:48) ;  .    ;       Where can I add `set(SKIP_APPLICATIONS_DEMOS, "1")`, linux-build?      I have the following version of libtiff installed:    libtiff-doc/xenial,xenial,now 4.0.6-1 all [installed]    TIFF manipulation and conversion documentation    libtiff-opengl/xenial,now 4.0.6-1 amd64 [installed]    TIFF manipulation and conversion tools    libtiff-tools/xenial,now 4.0.6-1 amd64 [installed]    TIFF manipulation and conversion tools    libtiff5/xenial,now 4.0.6-1 amd64 [installed]    Tag Image File Format (TIFF) library    libtiff5-dev/xenial,now 4.0.6-1 amd64 [installed]    Tag Image File Format library (TIFF), development files    libtiffxx5/xenial,now 4.0.6-1 amd64 [installed,automatic]    Tag Image File Format (TIFF) library -- C++ interface    ;  .    ;  .     ;  .        (0001250) ;  .    jtlindgr    ;  .    2017-02-08 09:57    ;  .    ;       CMakeLists.txt, in source tree root folder. ;  .    ;  .     ;  .        (0001254) ;  .    jtlindgr    ;  .    2017-02-17 09:20    ;  .    ;         The only Linux systems we are actively supporting are the vanilla Ubuntu stable releases. KDE Neon is not supported. Community can contribute a fix suggestion for Neon which we can apply, but the openvibe dev at Inria does not currently have the resources to pursue the matter.    ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 187 | [openvibe] feature request | minor | have not tried | 2017-02-04 21:50 | 2017-02-06 10:19 |
| Reporter: | brylie | Platform: | x86 |  |
| Assigned To: | jtlindgr | OS: | Linux |  |
| Priority: | high | OS Version: | Ubuntu |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | won't fix |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Add build tests for Ubuntu 14.04 and 16.04 LTS in continuous integration server |
| Description: | The OpenViBE continuous integration server is testing builds against Ubuntu 12.04: http://cdash.inria.fr/CDash/index.php?project=OpenViBe [^] However, there have been two other LTS releases since 12.04: 14.04 and 16.04 https://wiki.ubuntu.com/LTS [^] Please include automated build tests for all currently supported Ubuntu LTS releases, so that developers and end-users can have confidence that OpenViBE works well on Linux. |
| Steps To Reproduce: |  |
| Additional Information: | Ubuntu 12.04 reaches end-of-life in October 2017. |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001240) ;  .    jtlindgr    ;  .    2017-02-06 10:19    ;  .    ;       As can be seen from the webpage referred by the URL, looking at the 'Build' column, the CI is already building Ubuntu versions 12.04, 14.04 and 16.04. Normally all these builds are green (i.e. they pass).     Note that the site name (first column) does not unfortunately reflect the OS that is actually run on the virtual machine, as cloudstack prevents us from changing these names meaningfully. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 70 | [openvibe] feature request | feature | always | 2011-04-22 08:35 | 2016-12-28 13:40 |
| Reporter: | jporcher | Platform: |  |  |
| Assigned To: |  | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | new | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Be able to run OpenViBE from a single process |
| Description: | Today, to run a BCI experiment with OpenViBE, you must start both the acquisition server and the Designer. Having those two processes makes it possible to: - Run each on a different machine - Guarantee that slow signal processing in the Designer does not impact the acquisition system process This is really great and is a perfect architecture for BCI. But, this out-of-process architecture could be optional. Once your BCI scenario is tested and validated, once you know it does not overload the system. If you know acquisition could work in the same process without being slow down (few channels, low frequency....). It would be really nice if you could have a way to run a BCI experiment using one and only one process, one and only one GUI. I'm thinking of situations where OpenViBE would be used in a medical environment. Then, OpenViBE could be used by people not familar with computers: having to run two programs, having to configure them separetly, and then starting each one (in the right order), is source of errors and most likely those end users will fail in starting the experiment correctly. Would it make sens to consider having a "Acquisition Server" box in the Designer? It would have the same outputs as the "Acquisition Client" box. Configuring this Box would be like configuring the acquisition server (same dialog, but no Start/Stop button). When Scenario is started, this box is started like any other and this actually starts a server acquisition thread. It's just a matter of reusing the acquisition server code to make it be a standard box able to send data (as a file reader boxe does) |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

There are no notes attached to this issue. ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 108 | [openvibe-plugins] bug report | minor | always | 2012-06-08 01:45 | 2016-12-28 13:39 |
| Reporter: | lageorge | Platform: | x86_64 |  |
| Assigned To: |  | OS: | Linux |  |
| Priority: | low | OS Version: | other |  |
| Status: | new | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | signal average and univariate statistics (mean) does not provide the exact same values |
| Description: | Both box should produce exactly the same output, but it seems that the average is not exactly the same.. error of : -4.44089e-16 .. .. so seems to be "erreur d'arrondi" .. the two method should maybee benefits of an unifomisation. by the way the signal display box seems to be unable to display really small signal value in the ruler .. wich give a strange behavior (see scenario joined) |
| Steps To Reproduce: | (see the join scenario) |
| Additional Information: |  |
| System Description | please specify distro |
| Attached Files: | test_univariate.xml (25,033) 2012-06-08 01:45 http://openvibe.inria.fr/tracker/file_download.php?file_id=11&type=bug |

There are no notes attached to this issue. ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 185 | [openvibe-plugins] bug report | major | have not tried | 2016-12-28 13:31 | 2016-12-28 13:39 |
| Reporter: | jtlindgr | Platform: | x86 |  |
| Assigned To: |  | OS: | Windows |  |
| Priority: | normal | OS Version: | 7 |  |
| Status: | new | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Stimulations are sometimes delayed by LSL Export (Gipsa) box |
| Description: | When running experiments where we sent data by LSL Export (Gipsa) box to LSL receiver thread running in Python (outside openvibe), we noticed that sometimes the stimulations could be delayed by several seconds. |
| Steps To Reproduce: | No time to do this, see 'additional information'. If I remember correctly, the problem could be exhibited simply by connecting keyboard stimulator to the lsl export (Gipsa) box and pressing keys and seeing that every now and then it took a very long time for the python side to print the key. |
| Additional Information: | The other LSL Export box did not have this problem. We solved the issue by using the other box. |
| System Description |  |
| Attached Files: |  |

There are no notes attached to this issue. ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 184 | [openvibe-plugins] patch submission | minor | have not tried | 2016-11-28 17:39 | 2016-12-08 14:26 |
| Reporter: | toncho11 | Platform: | OpenVibe 1.2 |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Update to GTEC driver. |
| Description: | 1) Code refactoring. Now there is a new class/struct "GDevice" and a collection "GDevices". This helped reduce the code. 2) Added a new functionality: a new checkbox in the config "Show device name". When checked this adds the ID (the serial) of the amplifier to the name of the channel. This is quite useful when using several amplifiers because the order of acquisition is not guaranteed currently. And there is no interface to set it. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: | new-gtec-driver.zip (19,300) 2016-11-28 17:39 http://openvibe.inria.fr/tracker/file_download.php?file_id=40&type=bug new-gtec-driver_version2.zip (115,065) 2016-12-02 13:38 http://openvibe.inria.fr/tracker/file_download.php?file_id=41&type=bug new-gtec-driver_version3.zip (21,254) 2016-12-05 10:54 http://openvibe.inria.fr/tracker/file_download.php?file_id=42&type=bug |

Notes ;  .     ;  .        (0001227) ;  .    toncho11    ;  .    2016-12-05 10:55    ;  .    ;       Version 3 adds small refinements. ;  .    ;  .     ;  .        (0001231) ;  .    jtlindgr    ;  .    2016-12-07 12:51    ;  .    ;       v3 with some mods integrated, latest related commit     git 740168c3890e568ef2995424ac0be90e0afcf881    Thanks for the patch! ;  .    ;  .     ;  .        (0001232) ;  .    toncho11    ;  .    2016-12-07 18:18    ;  .    ;       Hi,    I think there is a bug. I can get the data only from 1 out of 3 amplifiers + 3 trigger channels. All amplifiers are detected but only 1 is transmitted to the Designer. I think the channel count is wrong. It should be 48 + 3, but it is 16 + 3. ;  .    ;  .     ;  .        (0001233) ;  .    toncho11    ;  .    2016-12-08 11:04    ;  .    ;       Yes, it works. Good job!    I got confused ... so maybe another user might forget to increase the number of channels. Maybe it should be NumApplis * 17 by default when you install OV or this should not be changed at all.     Actually reducing the channels has not much sense because we are never sure from which amplifier we are going to remove channels. This is because we still do not have manual order. If we say 16 we do not know which amplifier. ;  .    ;  .     ;  .        (0001234) ;  .    jtlindgr    ;  .    2016-12-08 11:23    ;  .    ;       Are you sure the amps are not ordered based on the way they are chained by the sync cables? That would make sense, since the chain seems linear. In any case, how about I solve this by adding a warning if less than max number of channels have been selected in a multiamp case? One reason to not make the max number of channels mandatory is that it will make the impedance check slower for those users who only need fewer channels. ;  .    ;  .     ;  .        (0001235) ;  .    toncho11    ;  .    2016-12-08 13:37     (edited on: 2016-12-08 13:38) ;  .    ;       I do not use the impedance. We check the signal a little bit: blinking ... alpha ...    Both are OK for me (warning/48 by default).    ;  .    ;  .     ;  .        (0001236) ;  .    jtlindgr    ;  .    2016-12-08 14:26    ;  .    ;       I pushed a mod with a new warning. I also lowered some log levels from warning to info, as they imo do not seem to be causes for alarm. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 183 | [openvibe-plugins] patch submission | minor | have not tried | 2016-11-28 10:42 | 2016-12-07 12:49 |
| Reporter: | toncho11 | Platform: | Open Vibe 1.2 |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Fix to Brainamp FileWriter |
| Description: | A bug has been detected. Sometimes the bignning of the .vmrk file is not written, only the list of the stimulations. |
| Steps To Reproduce: |  |
| Additional Information: | Code attached. |
| Attached Files: | ovpCBoxAlgorithmBrainampFileWriter.zip (6,134) 2016-11-28 10:42 http://openvibe.inria.fr/tracker/file_download.php?file_id=39&type=bug |

Notes ;  .     ;  .        (0001225) ;  .    jtlindgr    ;  .    2016-11-28 10:54    ;  .    ;         Thanks! I'll take a look.    ;  .    ;  .     ;  .        (0001226) ;  .    toncho11    ;  .    2016-11-28 11:57    ;  .    ;       The attached code is a patch that fixes the problem. ;  .    ;  .     ;  .        (0001228) ;  .    jtlindgr    ;  .    2016-12-05 11:35    ;  .    ;       Hi, the 'bug' is a result of some upstream box not generating a stimulation stream header. This should be fixed by changing the upstream boxes to always generate a stimulation stream header. Streams should always have a header sent first.     Note that currently the marker file does not seem to be generated if stimulation stream is not connected. Is this acceptable for the format in question?    Nevertheless, I accepted the patch as it appears to make the box more robust.     git commit 3027682c122b834791cdad54fbf50580811b4ba1    Thanks for the contrib. ;  .    ;  .     ;  .        (0001229) ;  .    toncho11    ;  .    2016-12-05 12:21    ;  .    ;       I agree with your conclusions (but I could not make the upper box output a header).     Currently the .vmrk file is always created. So, it is better to execute :    if (!m_bIsVmrkHeaderFileWritten)             ...    outside the loop, otherwise the file will be empty when there are no stimulations. ;  .    ;  .     ;  .        (0001230) ;  .    jtlindgr    ;  .    2016-12-07 12:49    ;  .    ;       git dbbc627be9a7b1d16039dcb4ae85eb9ed0389589 ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 182 | [openvibe] patch submission | trivial | always | 2016-09-11 14:28 | 2016-10-04 16:54 |
| Reporter: | floesche | Platform: | x86_64 |  |
| Assigned To: | jtlindgr | OS: | Linux |  |
| Priority: | low | OS Version: | other |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | compile "Error 2" on Arch Linux |
| Description: | Compiling showed an "Error 2" on ovtkMatrix.cpp. The trivial fix is to add isnan and isinf for TARGET_OS_Linux |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description | please specify distro |
| Attached Files: | 0001-fix-compile-Error-2-on-Linux.patch (858) 2016-09-11 14:28 http://openvibe.inria.fr/tracker/file_download.php?file_id=37&type=bug |

Notes ;  .     ;  .        (0001224) ;  .    jtlindgr    ;  .    2016-10-04 16:54    ;  .    ;       Fix pushed to git master 5adb1801264d8dd49768ab7325778c9b0eaf0e5e    Thanks for the report & the fix suggestion! ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 181 | [openvibe-plugins] bug report | major | always | 2016-09-07 16:43 | 2016-10-04 10:34 |
| Reporter: | stephan | Platform: | x86_64 |  |
| Assigned To: | jtlindgr | OS: | Windows |  |
| Priority: | normal | OS Version: | 7 |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Wrong scale used in OpenBCI driver for acquisition server |
| Description: | The signals are too small for further processing. It seems like there is used a wrong scale in the OpenBCI driver for acquisition server. It generates MegaVolts instead of MicroVolts at one point. |
| Steps To Reproduce: |  |
| Additional Information: | file: openvibe\contrib\plugins\server-drivers\openbci\src\ovasCDriverOpenBCI.cpp line: 200 (+ 204) suggested solution: Formula by OpenBCI generates Volts, use ( * 1000000) instead of ( / 1000000) in code to generate MicroVolts OpenBCI doc for interpreting data: http://docs.openbci.com/software/02-OpenBCI_Streaming_Data_Format#openbci-v3-data-format-interpreting-the-eeg-data [^] |
| System Description |  |
| Attached Files: | openbci-units.patch (894) 2016-09-14 17:19 http://openvibe.inria.fr/tracker/file_download.php?file_id=38&type=bug |

Notes ;  .     ;  .        (0001219) ;  .    yrenard    ;  .    2016-09-14 17:06    ;  .    ;       stephan, thank you for the feedback, will look at this problem asap ;  .    ;  .     ;  .        (0001220) ;  .    yrenard    ;  .    2016-09-14 17:14    ;  .    ;       Confirmed issue, line 200 should turn to :    m_f32UnitsToMicroVolts = (float32) (float32) ((ADS1299_VREF * 1000000) / ((pow(2.,23)-1) * ADS1299_GAIN)); ;  .    ;  .     ;  .        (0001221) ;  .    yrenard    ;  .    2016-09-14 17:19    ;  .    ;       openbci-units.patch should fix the problem ;  .    ;  .     ;  .        (0001222) ;  .    yrenard    ;  .    2016-09-14 17:39    ;  .    ;       Patch was submitted to Jussi T Lindgren ;  .    ;  .     ;  .        (0001223) ;  .    jtlindgr    ;  .    2016-10-04 10:34    ;  .    ;       Merged the patch from Yann Renard. In git commit c472c7ce8b796b8ede2e16183f56915f6bcae4e3    Thanks for the fix! ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 179 | [openvibe] bug report | major | always | 2016-06-21 00:13 | 2016-07-19 09:18 |
| Reporter: | jfrey | Platform: | x86_64 |  |
| Assigned To: | jtlindgr | OS: | Ubuntu |  |
| Priority: | normal | OS Version: | 16.04 |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Compilation fails on ubuntu 16.04 |
| Description: | One cannot compile OpenViBE with the last LTS version of Ubuntu. Dependencies: ogre 1.9 replaced 1.8, libboost 0.58 replaced 0.54. Should dependencies (and code) be updated to those new versions, still have to switch the system back to gcc 4.9, from gcc 5.3 that is now the default, otherwise errors arise during compilation. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001209) ;  .    jtlindgr    ;  .    2016-06-21 09:42    ;  .    ;       We'll investigate this after point release 16.04.1 is out.     Thanks for the report.  ;  .    ;  .     ;  .        (0001211) ;  .    jtlindgr    ;  .    2016-07-01 11:35    ;  .    ;       Fixed in advance! Try git commit 1773ab6c82e917ab13b9c7c752a6a49ab0f3bc07 (git branch wip-jlindgre-fix-ubuntu1604 or via git master). ;  .    ;  .     ;  .        (0001214) ;  .    jfrey    ;  .    2016-07-07 16:42    ;  .    ;       Hello,    The commit fixes the "linux-install_dependencies" script, but the compilation still fails, e.g. demos raise some ogre errors, and part as "ovsgCBoxAlgorithmSkeletonGenerator.cpp" that have troubles related to boost library.    I did not test that on a fresh install, though, maybe I did something wrong... ;  .    ;  .     ;  .        (0001215) ;  .    jtlindgr    ;  .    2016-07-08 16:09    ;  .    ;       When I implemented the commit, I tested it on a 16.04 running on a VM and it worked just fine. To do any further work on the problem, I need the conditions to reproduce. Btw, one thing I noted on 16.04 is that the boost/ogre/cegui versions need to be very specific ones. These are hard-coded to the installer. ;  .    ;  .     ;  .        (0001216) ;  .    jtlindgr    ;  .    2016-07-18 09:43     (edited on: 2016-07-18 09:44) ;  .    ;       I tested with another clean Ubuntu 16.04, it was x86_64 on an AMD processor. After install_dependencies.sh, the build completed successfully on the default 5.x gcc. Please check that you have only the versions of the packages that are meant to be in 16.04 installed, as indicated by install dependencies Ubuntu section, and that there are no conflicting files from other versions of boost, ogre or cegui still around. If there's no feedback in a while, I'm going to mark this as closed.    ;  .    ;  .     ;  .        (0001217) ;  .    jfrey    ;  .    2016-07-18 18:37    ;  .    ;       Hi, my bad, I forgot to switch back to gcc 5 when I tried your patch, the compilation is now going well, so far OpenViBE is working. Thanks for the fix! :) ;  .    ;  .     ;  .        (0001218) ;  .    jtlindgr    ;  .    2016-07-19 09:18    ;  .    ;       Remarking as fixed. Thanks for the feedback! ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 167 | [openvibe-designer] bug report | crash | always | 2015-01-24 10:42 | 2016-07-01 13:59 |
| Reporter: | harag | Platform: | x86_64 |  |
| Assigned To: | gserrier | OS: | Ubuntu |  |
| Priority: | normal | OS Version: | 14.10 |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Designer crashes - symbol lookup error on pressing play - when a temporal filter is part of the design |
| Description: | Pressing the play button when a temporal filter is part of the design causes a crash with the follow error showing in the terminal. /dist/bin/openvibe-designer: symbol lookup error: /dist/lib/x86_64-linux-gnu/libopenvibe-plugins-contrib-signal-processing.so: undefined symbol: _ZN4itpp5zerosEi |
| Steps To Reproduce: | 1. Add a generic stream reader to the designer, select a file that was created by the generic stream writer (file attached). 2. Add a temporal filter. 3. Link the reader and filter. 4. Press play. |
| Additional Information: | <OpenViBE-Scenario> <Boxes> <Box> <Identifier>(0x0e7ed427, 0x626f1952)</Identifier> <Name>Temporal filter</Name> <AlgorithmClassIdentifier>(0xb4f9d042, 0x9d79f2e5)</AlgorithmClassIdentifier> <Inputs> <Input> <TypeIdentifier>(0x5ba36127, 0x195feae1)</TypeIdentifier> <Name>Input signal</Name> </Input> </Inputs> <Outputs> <Output> <TypeIdentifier>(0x5ba36127, 0x195feae1)</TypeIdentifier> <Name>Filtered signal</Name> </Output> </Outputs> <Settings> <Setting> <TypeIdentifier>(0x2f2c606c, 0x8512ed68)</TypeIdentifier> <Name>Filter method</Name> <DefaultValue>Butterworth</DefaultValue> <Value>Butterworth</Value> <Modifiability>false</Modifiability> </Setting> <Setting> <TypeIdentifier>(0xfa20178e, 0x4cba62e9)</TypeIdentifier> <Name>Filter type</Name> <DefaultValue>Band pass</DefaultValue> <Value>Band pass</Value> <Modifiability>false</Modifiability> </Setting> <Setting> <TypeIdentifier>(0x007deef9, 0x2f3e95c6)</TypeIdentifier> <Name>Filter order</Name> <DefaultValue>4</DefaultValue> <Value>4</Value> <Modifiability>false</Modifiability> </Setting> <Setting> <TypeIdentifier>(0x512a166f, 0x5c3ef83f)</TypeIdentifier> <Name>Low cut frequency (Hz)</Name> <DefaultValue>29</DefaultValue> <Value>29</Value> <Modifiability>false</Modifiability> </Setting> <Setting> <TypeIdentifier>(0x512a166f, 0x5c3ef83f)</TypeIdentifier> <Name>High cut frequency (Hz)</Name> <DefaultValue>40</DefaultValue> <Value>40</Value> <Modifiability>false</Modifiability> </Setting> <Setting> <TypeIdentifier>(0x512a166f, 0x5c3ef83f)</TypeIdentifier> <Name>Pass band ripple (dB)</Name> <DefaultValue>0.5</DefaultValue> <Value>0.5</Value> <Modifiability>false</Modifiability> </Setting> </Settings> <Attributes> <Attribute> <Identifier>(0x1fa7a38f, 0x54edbe0b)</Identifier> <Value>160.000000</Value> </Attribute> <Attribute> <Identifier>(0x1fa963f5, 0x1a638cd4)</Identifier> <Value>27</Value> </Attribute> <Attribute> <Identifier>(0x207c9054, 0x3c841b63)</Identifier> <Value>192.000000</Value> </Attribute> <Attribute> <Identifier>(0x4e7b798a, 0x183beafb)</Identifier> <Value>(0x27a4ceec, 0x876d6384)</Value> </Attribute> <Attribute> <Identifier>(0xad100179, 0xa3c984ab)</Identifier> <Value>118</Value> </Attribute> <Attribute> <Identifier>(0xc73e83ec, 0xf855c5bc)</Identifier> <Value>false</Value> </Attribute> <Attribute> <Identifier>(0xc80ce8af, 0xf699f813)</Identifier> <Value>1</Value> </Attribute> <Attribute> <Identifier>(0xce18836a, 0x9c0eb403)</Identifier> <Value>6</Value> </Attribute> <Attribute> <Identifier>(0xcfad85b0, 0x7c6d841c)</Identifier> <Value>1</Value> </Attribute> </Attributes> </Box> <Box> <Identifier>(0x3e13b1a7, 0x6ddb53c7)</Identifier> <Name>Generic stream reader</Name> <AlgorithmClassIdentifier>(0x6468099f, 0x0370095a)</AlgorithmClassIdentifier> <Outputs> <Output> <TypeIdentifier>(0x5ba36127, 0x195feae1)</TypeIdentifier> <Name>Output stream 1</Name> </Output> </Outputs> <Settings> <Setting> <TypeIdentifier>(0x330306dd, 0x74a95f98)</TypeIdentifier> <Name>Filename</Name> <DefaultValue></DefaultValue> <Value>/home/phil/Documents/personal/Openvibe/record-[2015.01.19-10.55.15].ov</Value> <Modifiability>false</Modifiability> </Setting> </Settings> <Attributes> <Attribute> <Identifier>(0x17ee7c08, 0x94c14893)</Identifier> <Value></Value> </Attribute> <Attribute> <Identifier>(0x1fa7a38f, 0x54edbe0b)</Identifier> <Value>80.000000</Value> </Attribute> <Attribute> <Identifier>(0x1fa963f5, 0x1a638cd4)</Identifier> <Value>42</Value> </Attribute> <Attribute> <Identifier>(0x207c9054, 0x3c841b63)</Identifier> <Value>192.000000</Value> </Attribute> <Attribute> <Identifier>(0x30a4e5c9, 0x83502953)</Identifier> <Value></Value> </Attribute> <Attribute> <Identifier>(0x4e7b798a, 0x183beafb)</Identifier> <Value>(0xf37b8e7a, 0x1bc33e4e)</Value> </Attribute> <Attribute> <Identifier>(0xad100179, 0xa3c984ab)</Identifier> <Value>169</Value> </Attribute> <Attribute> <Identifier>(0xc46b3d00, 0x3e0454e1)</Identifier> <Value>(0x00000000, 0x004b09fa)</Value> </Attribute> <Attribute> <Identifier>(0xc73e83ec, 0xf855c5bc)</Identifier> <Value>false</Value> </Attribute> <Attribute> <Identifier>(0xc80ce8af, 0xf699f813)</Identifier> <Value>1</Value> </Attribute> <Attribute> <Identifier>(0xce18836a, 0x9c0eb403)</Identifier> <Value>1</Value> </Attribute> </Attributes> </Box> <Box> <Identifier>(0x5340e1c3, 0x789a411b)</Identifier> <Name>Signal display</Name> <AlgorithmClassIdentifier>(0x0055be5f, 0x087bdd12)</AlgorithmClassIdentifier> <Inputs> <Input> <TypeIdentifier>(0x544a003e, 0x6dcba5f6)</TypeIdentifier> <Name>Signal</Name> </Input> <Input> <TypeIdentifier>(0x6f752dd0, 0x082a321e)</TypeIdentifier> <Name>Stimulations</Name> </Input> </Inputs> <Settings> <Setting> <TypeIdentifier>(0x512a166f, 0x5c3ef83f)</TypeIdentifier> <Name>Time Scale</Name> <DefaultValue>10</DefaultValue> <Value>10</Value> <Modifiability>false</Modifiability> </Setting> <Setting> <TypeIdentifier>(0x5de046a6, 0x086340aa)</TypeIdentifier> <Name>Display Mode</Name> <DefaultValue>Scan</DefaultValue> <Value>Scan</Value> <Modifiability>false</Modifiability> </Setting> <Setting> <TypeIdentifier>(0x2cdb2f0b, 0x12f231ea)</TypeIdentifier> <Name>EEG display</Name> <DefaultValue>false</DefaultValue> <Value>false</Value> <Modifiability>false</Modifiability> </Setting> <Setting> <TypeIdentifier>(0x2cdb2f0b, 0x12f231ea)</TypeIdentifier> <Name>Manual Vertical Scale</Name> <DefaultValue>false</DefaultValue> <Value>false</Value> <Modifiability>false</Modifiability> </Setting> <Setting> <TypeIdentifier>(0x512a166f, 0x5c3ef83f)</TypeIdentifier> <Name>Vertical Scale</Name> <DefaultValue>100</DefaultValue> <Value>100</Value> <Modifiability>false</Modifiability> </Setting> </Settings> <Attributes> <Attribute> <Identifier>(0x1fa7a38f, 0x54edbe0b)</Identifier> <Value>224.000000</Value> </Attribute> <Attribute> <Identifier>(0x1fa963f5, 0x1a638cd4)</Identifier> <Value>27</Value> </Attribute> <Attribute> <Identifier>(0x207c9054, 0x3c841b63)</Identifier> <Value>192.000000</Value> </Attribute> <Attribute> <Identifier>(0x4e7b798a, 0x183beafb)</Identifier> <Value>(0x8420627f, 0x258204fa)</Value> </Attribute> <Attribute> <Identifier>(0xad100179, 0xa3c984ab)</Identifier> <Value>108</Value> </Attribute> <Attribute> <Identifier>(0xc67a01dc, 0x28ce06c1)</Identifier> <Value></Value> </Attribute> <Attribute> <Identifier>(0xc73e83ec, 0xf855c5bc)</Identifier> <Value>false</Value> </Attribute> <Attribute> <Identifier>(0xce18836a, 0x9c0eb403)</Identifier> <Value>5</Value> </Attribute> <Attribute> <Identifier>(0xcfad85b0, 0x7c6d841c)</Identifier> <Value>2</Value> </Attribute> </Attributes> </Box> </Boxes> <Links> <Link> <Identifier>(0x468fba0a, 0x2fc50c03)</Identifier> <Source> <BoxIdentifier>(0x0e7ed427, 0x626f1952)</BoxIdentifier> <BoxOutputIndex>0</BoxOutputIndex> </Source> <Target> <BoxIdentifier>(0x5340e1c3, 0x789a411b)</BoxIdentifier> <BoxInputIndex>0</BoxInputIndex> </Target> <Attributes> <Attribute> <Identifier>(0x1b32c44c, 0x1905e0e9)</Identifier> <Value>180</Value> </Attribute> <Attribute> <Identifier>(0x358ae8b5, 0x0f8bacd1)</Identifier> <Value>192</Value> </Attribute> <Attribute> <Identifier>(0x3f0a3b27, 0x570913d2)</Identifier> <Value>206</Value> </Attribute> <Attribute> <Identifier>(0x6267b5c5, 0x676e3e42)</Identifier> <Value>184</Value> </Attribute> </Attributes> </Link> <Link> <Identifier>(0x5a4d3772, 0x02998b46)</Identifier> <Source> <BoxIdentifier>(0x3e13b1a7, 0x6ddb53c7)</BoxIdentifier> <BoxOutputIndex>0</BoxOutputIndex> </Source> <Target> <BoxIdentifier>(0x0e7ed427, 0x626f1952)</BoxIdentifier> <BoxInputIndex>0</BoxInputIndex> </Target> <Attributes> <Attribute> <Identifier>(0x1b32c44c, 0x1905e0e9)</Identifier> <Value>107</Value> </Attribute> <Attribute> <Identifier>(0x358ae8b5, 0x0f8bacd1)</Identifier> <Value>192</Value> </Attribute> <Attribute> <Identifier>(0x3f0a3b27, 0x570913d2)</Identifier> <Value>142</Value> </Attribute> <Attribute> <Identifier>(0x6267b5c5, 0x676e3e42)</Identifier> <Value>192</Value> </Attribute> </Attributes> </Link> </Links> <MessageLinks></MessageLinks> <Comments></Comments> <VisualisationTree> <VisualisationWidget> <Identifier>(0x0d90a12c, 0x0a08169b)</Identifier> <Type>3</Type> <ParentIdentifier>(0xffffffff, 0xffffffff)</ParentIdentifier> <BoxIdentifier>(0x5340e1c3, 0x789a411b)</BoxIdentifier> <NumChildren>0</NumChildren> </VisualisationWidget> <VisualisationWidget> <Identifier>(0x51fefa4b, 0x768325ef)</Identifier> <Name>Default window</Name> <Type>1</Type> <ParentIdentifier>(0xffffffff, 0xffffffff)</ParentIdentifier> <BoxIdentifier>(0xffffffff, 0xffffffff)</BoxIdentifier> <NumChildren>1</NumChildren> <Attributes> <Attribute> <Identifier>(0x4c90d4ad, 0x7a2554ec)</Identifier> <Value>320</Value> </Attribute> <Attribute> <Identifier>(0x7b814cca, 0x271df6dd)</Identifier> <Value>480</Value> </Attribute> </Attributes> </VisualisationWidget> <VisualisationWidget> <Identifier>(0x57574b04, 0x771566ef)</Identifier> <Name>Default tab</Name> <Type>2</Type> <ParentIdentifier>(0x51fefa4b, 0x768325ef)</ParentIdentifier> <Index>0</Index> <BoxIdentifier>(0xffffffff, 0xffffffff)</BoxIdentifier> <NumChildren>1</NumChildren> </VisualisationWidget> <VisualisationWidget> <Identifier>(0x60e4e6d1, 0x1ea747a4)</Identifier> <Name>Empty</Name> <Type>0</Type> <ParentIdentifier>(0x57574b04, 0x771566ef)</ParentIdentifier> <Index>0</Index> <BoxIdentifier>(0xffffffff, 0xffffffff)</BoxIdentifier> <NumChildren>0</NumChildren> </VisualisationWidget> </VisualisationTree> </OpenViBE-Scenario> |
| System Description |  |
| Attached Files: | record-[2015.01.19-10.55.29].ov (75,555) 2015-01-24 10:42 http://openvibe.inria.fr/tracker/file_download.php?file_id=31&type=bug read-generic-stream-temporal-crash.xml (10,901) 2015-01-24 10:58 http://openvibe.inria.fr/tracker/file_download.php?file_id=32&type=bug build-pre-cmake-hack.log (110,076) 2015-02-04 12:52 http://openvibe.inria.fr/tracker/file_download.php?file_id=33&type=bug build.log (109,439) 2015-02-04 12:52 http://openvibe.inria.fr/tracker/file_download.php?file_id=34&type=bug |

Notes ;  .     ;  .        (0001172) ;  .    harag    ;  .    2015-01-24 10:57    ;  .    ;       Debug info    [ INF ] Importing scenario...  [ INF ] Adding configuration file(s) /openvibe/dist/share/openvibe/kernel/openvibe-delayed.conf]  [ INF ] Adding configuration file(s) [/.config/openvibe/openvibe-delayedrc]  [ INF ] Adding configuration file(s) [/Openvibe/Scenarios/scenario.conf]  /openvibe/dist/bin/openvibe-designer: symbol lookup error: /openvibe/dist/lib/x86_64-linux-gnu/libopenvibe-plugins-contrib-signal-processing.so: undefined symbol: _ZN4itpp5zerosEi  [Thread 0x7fffd0ff9700 (LWP 24708) exited]  [Thread 0x7fffab77a700 (LWP 24709) exited]  [Thread 0x7fffd17fa700 (LWP 24707) exited]  [Thread 0x7fffd1ffb700 (LWP 24706) exited]  [Thread 0x7fffd27fc700 (LWP 24705) exited]  [Thread 0x7fffd2ffd700 (LWP 24704) exited]  [Thread 0x7fffd37fe700 (LWP 24703) exited]  [Thread 0x7fffd3fff700 (LWP 24702) exited]  [Thread 0x7fffd88d2700 (LWP 24701) exited]  [Thread 0x7fffe2996700 (LWP 24700) exited]  [Thread 0x7fffe3197700 (LWP 24699) exited]  [Thread 0x7ffff7fc19c0 (LWP 24695) exited]  [Inferior 1 (process 24695) exited with code 0177]  (gdb) bt  No stack.  (gdb) ;  .    ;  .     ;  .        (0001173) ;  .    harag    ;  .    2015-02-04 12:51    ;  .    ;       Changing     FIND_LIBRARY(ITPP_LIB1 NAMES ${ITPP_LIB} PATHS ${ITPP_LIBRARY_DIRS} ${ITPP_LIBDIR} NO_DEFAULT_PATH)  to   FIND_LIBRARY(ITPP_LIB1 NAMES ${ITPP_LIB} PATHS ${ITPP_LIBRARY_DIRS} ${ITPP_LIBDIR} )    in FindThirdPartyITPP.cmake fixes the problem.    I will attach a log of my build in the bug report, so that you guys can scan if for more of these types of issues. ;  .    ;  .     ;  .        (0001174) ;  .    gserrier    ;  .    2015-02-04 16:04    ;  .    ;       Hi,    You found a solution at the moment I found the problem :). The issue is provoked by the ubuntu package system. The maintainer of the package choose to move it from one directory to an other but apparently he forgot to update some informations that we use to find the library during the compilation/execution.     I report the bug to the maintainer and I'm currently waiting for it to be fix.    Even if your solution is working great, we cannot integrate it because let the system search for any file that looks like the library we look for can lead to security issues. However, if you know what is on your computer, you can use this solution until the package update. ;  .    ;  .     ;  .        (0001175) ;  .    harag    ;  .    2015-02-04 17:16    ;  .    ;       Do you see any other candidates with the same type of issue in my build.log, I suspect that fftw3 could be one, I manually had to install it but it is still not found in the build. ;  .    ;  .     ;  .        (0001176) ;  .    gserrier    ;  .    2015-02-04 17:36    ;  .    ;       Thanks for the fast answer. In my fresh installation fftw3 is working. It should not provoke the same issues as the guard is not bypass during the compilation. You will just have no access to the part of the code that use the lib.    Can you perform the following commands and give me what is print    pkg-config --variable=libdir fftw3    ls /usr/lib/x86_64-linux-gnu/ | grep libfftw3.so    ls /usr/lib/ | grep libfftw3.so ;  .    ;  .     ;  .        (0001177) ;  .    harag    ;  .    2015-02-04 18:20    ;  .    ;       ~$ pkg-config --variable=libdir fftw3  /usr/lib/x86_64-linux-gnu    ~$ ls /usr/lib/x86_64-linux-gnu/ | grep libfftw3.so  libfftw3.so  libfftw3.so.3  libfftw3.so.3.4.4    ~$ ls /usr/lib/ | grep libfftw3.so   ~$ ;  .    ;  .     ;  .        (0001178) ;  .    gserrier    ;  .    2015-02-09 17:08    ;  .    ;       Configuration looks fine to me. Try delete the local-tmp directory and execute again install dependencies and build. ;  .    ;  .     ;  .        (0001213) ;  .    jtlindgr    ;  .    2016-07-01 13:59     (edited on: 2016-07-01 14:00) ;  .    ;       Guillaume informed the package maintainer, so the fix should eventually be there. As we only support LTS versions of Ubuntu, we're not overly concerned about building on 14.10. If this bug reappears on Ubuntu 16.04 and openvibe git master of 01.jul.2016 or later, please reopen the bug.    ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 178 | [openvibe-plugins] bug report | trivial | always | 2016-06-13 13:39 | 2016-06-14 15:54 |
| Reporter: | lpaulin | Platform: | x86 |  |
| Assigned To: | jtlindgr | OS: | Windows |  |
| Priority: | normal | OS Version: | 7 |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Missing number stimulations in lua-stimulator-stim-codes.lua |
| Description: | I tried to use a Lua stimulator using OVTK_StimulationId_Number_XX stimulations and I had the following error: "attempt to perform arithmetic on global 'myStim' (a nil value)" after checking why, I saw that the OVTK_StimulationId_Number_XX codes are not defined in lua-stimulator-stim-codes.lua |
| Steps To Reproduce: | Try to get the stimulation value using "_G[stimName]" |
| Additional Information: |  |
| System Description |  |
| Attached Files: | lua-stimulator-stim-codes.lua (11,828) 2016-06-13 13:39 http://openvibe.inria.fr/tracker/file_download.php?file_id=36&type=bug |

Notes ;  .     ;  .        (0001208) ;  .    jtlindgr    ;  .    2016-06-14 15:54    ;  .    ;       Fixed in git fea6a94996243dd4e3d91377dd148447409dd0fe    Thanks for the report and providing a good description of the problem! ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 154 | [openvibe-kernel] feature request | minor | have not tried | 2014-04-30 18:34 | 2016-05-11 14:55 |
| Reporter: | toncho11 | Platform: |  |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Small improvement in xDawn |
| Description: | Replace The following will make the code more clear to read: uint32 l_ui32ERPStartIndex=(uint32)(((l_ui64ERPStartTime-l_ui64SignalStartTime)*(l_ui32SampleCountPerChunk*l_ui32ChunkCount))/(l_ui64SignalEndTime-l_ui64SignalStartTime)); with uint64 l_ui32ERPStartIndex = ITimeArithmetics::timeToSampleCount(128, l_ui64ERPStartTime); with the correct sampling frequency (128 is an example) |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001207) ;  .    jtlindgr    ;  .    2016-05-11 14:55    ;  .    ;       Fixed in commit b1e4dce2e92f74593eb7323a7ef1190b946f32da    Thanks for the report. :) ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 177 | [openvibe] bug report | major | always | 2016-03-29 20:57 | 2016-05-11 13:51 |
| Reporter: | elliotj | Platform: | x86_64 |  |
| Assigned To: | jtlindgr | OS: | Linux |  |
| Priority: | normal | OS Version: | Ubuntu |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | won't fix |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Build fails on make of signal processing plugins |
| Description: | After running dependencies and build scripts, all seems well, however when running designer the Temporal Filter box is not available. Review of build log shows failure. Designer is useful without Temporal Filter, hence 'major' bug. |
| Steps To Reproduce: | On Ubuntu release 15.04 "Vivid" 64-bit build, download openvibe 1.1.0 source, run linux-install_dependencies script, then linux-build script. During build process around 1052 lines into build report, script reports: "plugins/processing/signal-processing/CMakeFiles/openvibe-plugins-signal-processing.dir/build.make:790: recipe for target 'plugins/processing/signal-processing/CMakeFiles/openvibe-plugins-signal-processing.dir/src/box-algorithms/filters/ovpCBoxAlgorithmCommonAverageReference.cpp.o' failed" |
| Additional Information: | This appears to be a re-manifestation of bug 162. Workaround: Create symbolic link, /usr/lib/libitpp.so which points to usr/lib/x86_64-linux-gnu/libitpp.so.8.2.1 |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001204) ;  .    elliotj    ;  .    2016-03-29 21:05    ;  .    ;       I see that this is a known issue, sorry for re-reporting it. ;  .    ;  .     ;  .        (0001206) ;  .    jtlindgr    ;  .    2016-05-11 13:51    ;  .    ;       As far as I understand, this seems to be a problem with the Debian upstream rather than OpenViBE itself? The symbolic link solution should work.     The bug is discussed here: https://bugs.debian.org/cgi-bin/bugreport.cgi?bug=779282 [^] ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 165 | [openvibe] bug report | major | always | 2014-12-19 09:27 | 2016-05-11 13:45 |
| Reporter: | jtlindgr | Platform: | x86 |  |
| Assigned To: | jtlindgr | OS: | Linux |  |
| Priority: | normal | OS Version: | Ubuntu |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Compilation fails on Ubuntu 14.10 |
| Description: | CoAdapt P300 speller evidence accumulator doesn't find some include files. http://openvibe.inria.fr/forum/viewtopic.php?f=4&t=9387&p=13947#p13947 [^] |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001167) ;  .    ozan.caglayan    ;  .    2014-12-29 18:47    ;  .    ;       Same thing on Fedora 20:    [ 82%] Built target openvibe-coadapt-p300-stimulator  Linking CXX executable test_sharedmemory  /usr/bin/ld: CMakeFiles/test_sharedmemory.dir/__/__/src/tagging/ovexCSoftTagger.cpp.o: undefined reference to symbol 'shm_unlink@@GLIBC_2.2.5'  /usr/bin/ld: note: 'shm_unlink@@GLIBC_2.2.5' is defined in DSO /lib64/librt.so.1 so try adding it to the linker command line  /lib64/librt.so.1: could not read symbols: Invalid operation  collect2: error: ld returned 1 exit status  make[2]: *** [contrib/applications/platform/P300Stimulator/test/test_sharedmemory/test_sharedmemory] Error 1  make[1]: *** [contrib/applications/platform/P300Stimulator/test/test_sharedmemory/CMakeFiles/test_sharedmemory.dir/all] Error 2  make: *** [all] Error 2 ;  .    ;  .     ;  .        (0001205) ;  .    jtlindgr    ;  .    2016-05-11 13:45    ;  .    ;       The stimulator in question is no longer compiled and hence should not cause this problem. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 176 | [openvibe-designer] feature request | minor | have not tried | 2016-03-07 15:15 | 2016-03-07 15:15 |
| Reporter: | toncho11 | Platform: |  |  |
| Assigned To: |  | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | new | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Add the ability to change the color map in 2D topographic map box |
| Description: | The default colors are 13 and they are in the code (compiled): \plugins\processing\simple-visualisation\src\box-algorithms\ovpCTopographicMap2DDisplay\ovpCTopographicMap2DView.cpp I request the functionality to be able to set these colors from a file. It could be as simple as a file with 13 lines with 3 numbers for R G B. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

There are no notes attached to this issue. ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 174 | [openvibe] bug report | minor | always | 2015-07-09 08:51 | 2015-09-17 10:32 |
| Reporter: | zstas_mks | Platform: | x86_64 |  |
| Assigned To: | jtlindgr | OS: | Windows |  |
| Priority: | normal | OS Version: | 7 |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | won't fix |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | coadapt-p300-stimulator doesn't work on OpenViBE v1.0.1 |
| Description: | coadapt-p300-stimulator doesn't work on OpenViBE v1.0.1, but at v0.18 it did. 1. When trying to run p300-coadapt-online-with(without)-monitoring scenario, OV designer throws a WARNING message that configuration file p300-classifier.cfg has a wrong version (indeed, <OpenViBE-Classifier-Box XMLVersion="2"> and <Algorithm-Identifier class-id="(0xa7a8fb40, 0xd85b90b8)">Probabilistic Linear Discrimimant Analysis (PLDA)</Algorithm-Identifier>) and OV Designer crashes. 2. Also, why Classifiet trainer box has the same version (about box...) as the one in the old OV build(v0.18), but the new one doesn't support PLDA? 3. If replace p300-classifier.cfg with the correct file, it is not possible to train the new classifier (p300-coadapt-train-classifier) using recorded *.ov file, because Acquisition client receives External Stimulations that doesn't correcpond to expected ones by "Stimulation based epoching" box at train scenarios (OVTK_GDF_100_Watt???). |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001203) ;  .    jtlindgr    ;  .    2015-09-17 10:32    ;  .    ;       The contributor of the CoAdapt P300 Speller is currently working on another version of the P300 speller and does not have the resources to fix the CoAdapt P300 for the 1.x.x series. Hence the contribution remains usable only on the 0.18.x version of OpenViBE, and even there it might be only working perfectly in some limited circumstances. I'll hide it in the 1.x for the time being.    Apologies for that. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 171 | [openvibe-designer] bug report | minor | always | 2015-03-20 17:00 | 2015-09-10 14:28 |
| Reporter: | toncho11 | Platform: | OpenVibe 0.18 |  |
| Assigned To: | jtlindgr | OS: | Windows |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Stream Switch does not work for stimulations |
| Description: | I have one input stimulation stream and two output in my Stream Switch. |
| Steps To Reproduce: | Use such a box and the Designer will crash. |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001196) ;  .    toncho11    ;  .    2015-03-23 16:08    ;  .    ;       I think it was never designed for redirecting stimulations.     You can just close this issue. We are using lua script now. ;  .    ;  .     ;  .        (0001197) ;  .    jtlindgr    ;  .    2015-03-24 09:11    ;  .    ;       Nevertheless, the situation should IMO be handled gracefully, for example not allowing selecting of a stimulation stream if it doesn't work. ;  .    ;  .     ;  .        (0001198) ;  .    toncho11    ;  .    2015-03-24 11:48    ;  .    ;       There should be a clear way to switch stream stimulations. Currently I use a lua script. ;  .    ;  .     ;  .        (0001202) ;  .    jtlindgr    ;  .    2015-09-10 14:28    ;  .    ;       Just pushed a fix to git which removes the useless restriction on the stream types when attempting to change them. Once all streams are typed correctly as stimulation, it seems to work. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 170 | [openvibe-designer] bug report | minor | have not tried | 2015-02-25 10:57 | 2015-09-10 14:26 |
| Reporter: | toncho11 | Platform: | OpenVibe 0.18 |  |
| Assigned To: | jtlindgr | OS: | Windows 7 |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | unable to reproduce |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Zlib1.dll dependency? |
| Description: | I made a fresh install of OpenVibe 0.18 and I could not start it. It requested zlib1.dll. |
| Steps To Reproduce: |  |
| Additional Information: | I downloaded the zlib from sourceforge and it worked. |
| Attached Files: |  |

Notes ;  .     ;  .        (0001192) ;  .    jtlindgr    ;  .    2015-02-25 12:57    ;  .    ;       Unfortunately, can't reproduce. The dll file is installed to    openvibe/dependencies/gtk/bin/zlib1.dll    and the launcher scripts should set the path there using bin/openvibe-set-env.cmd. I can only assume that something specific to your system interferes with the install mechanism so that either the zlib1.dll file is not there, or the set-env command does not set the path. Which one is it, or neither?    ;  .    ;  .     ;  .        (0001201) ;  .    jtlindgr    ;  .    2015-09-10 14:26    ;  .    ;       Closing as unable to reproduce. One possible cause for problems like this can be if there is e.g. another version of gtk in %PATH% before the openvibe version, requesting zlib1 from a place where it is not. One way to test this possibility is to add     SET PATH=    at the beginning of the .cmd launch script. Also, dependency walker may be useful to see what exactly is requesting a library. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 173 | [openvibe-acquisition-server] bug report | minor | always | 2015-06-02 05:42 | 2015-06-02 09:41 |
| Reporter: | tom8989 | Platform: | x86 |  |
| Assigned To: | jtlindgr | OS: | Linux |  |
| Priority: | normal | OS Version: | Ubuntu |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Compilation of v1.0.0 fails after not being able to find lsl.h |
| Description: | Compilation of v1.0.0 fails after not being able to find lsl.h in applications/platform/acquisition-server/src/drivers/ovasCDriverLabStreamingLayer.h |
| Steps To Reproduce: | Compile v1.0.0 without having installed the lab streaming layer header files |
| Additional Information: | Just need to add #if defined(TARGET_HAS_ThirdPartyLSL) checks in the ovasCDriverLabStreamingLayer.h and ovasCConfigurationLabStreamingLayer.h in the same way as the .cpp files |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001200) ;  .    jtlindgr    ;  .    2015-06-02 09:41    ;  .    ;       Fixed, git #106af65e3107604771eabbeacbd98eb8c45599a3    Thanks for the report! ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 172 | [openvibe-designer] feature request | minor | have not tried | 2015-03-24 11:52 | 2015-04-15 15:07 |
| Reporter: | toncho11 | Platform: |  |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Lua tutorial needs update |
| Description: | http://openvibe.inria.fr/documentation/0.18.0/Doc_BoxAlgorithm_LuaStimulator.html [^] "while true do" in the main loop should be replaced by "while (box:keep_processing()) do" |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001199) ;  .    jtlindgr    ;  .    2015-04-15 15:07     (edited on: 2015-04-15 15:07) ;  .    ;       git 0b140c055cfeefb74e60c862ebc9ea0c8089c3fd    Note that since the documentation is generated, this change  will be visible in the web doc only after an ov update is published,  and only be fixed for the new doc. Previous docs are not supported.    ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 169 | [openvibe-acquisition-server] feature request | minor | always | 2015-02-20 12:38 | 2015-04-13 10:46 |
| Reporter: | jfrey | Platform: | x86_64 |  |
| Assigned To: |  | OS: | Linux |  |
| Priority: | normal | OS Version: | Ubuntu |  |
| Status: | acknowledged | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Acquisition server freezes with telnet reader while waiting for samples |
| Description: | With the telnet reader when nothing comes from the network then the window of the acquisition server freezes and does not respond. Users could erroneously believe that the application crashed whereas the problem originates from the TCP server streaming EEG data. Solution: have to wait for the data to arrive, the TCP server to stop (trigger disconnection)... or kill the whole acquisition server. Since there is no threading, nothing istransmitted to the designer (no drift correction). Should at least show a message informing the user (eg "waiting for sample...") Program is trapped inside the "for(uint32 j=0; j<m_ui32SampleCountPerSentBlock; j++)" loop of "ovasCDriverGenericRawReader.cpp", because of the blocking "m_pConnection->receiveBufferBlocking(m_pDataFrame, m_ui32DataFrameSize);" in "ovasCDriverGenericRawTelnetReader.cpp" |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001190) ;  .    jfrey    ;  .    2015-02-20 12:39    ;  .    ;       On a second thought, because of the complete freeze, this should be a bug. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 162 | [openvibe] bug report | major | always | 2014-10-16 14:59 | 2015-02-27 14:41 |
| Reporter: | zstas_mks | Platform: | x86_64 |  |
| Assigned To: | jtlindgr | OS: | Windows |  |
| Priority: | normal | OS Version: | 7 |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | "Signal display" box works incorrect with data from MCS NVX amplifier driver |
| Description: | We tested OpenViBE acquisition server v0.17.1 with MCS NVX amplifier driver and OpenViBE Designer worked correct, but using the same driver with OpenViBE v0.18 showed the next issues: 1) We tested Acquisition server v0.18 with MCS NVX amplifier driver with 36-channel amplifier. An external signal generator was connected to the first channel and all other channels was not connected at all. Everything seemed ok (figure 1). But when we disconnect the generator from the first channel and connect to any another (for example to the second), we don't see any signal in "Signal display" box and OpenViBE Designer console throws message: "(openvibe-designer.exe:3316): Gdk-WARNING **: gdkdrawable-win32.c:1352: Polyline failed ..." (figure 2). 2) If some channel is not connected to the amplifier, the driver sends INT_MAX sample value. We changed it to the NaN value. Then, if run the test scenario with all the channels disconnected, everything seemed to be ok (figure 3). But if connect some channel, acquisition server starts to send OVTK_GDF_Incorrect and OVTK_GDF_Correct events (figure 4). If disconnect, it stops. Changing the "NaN value replacement" parameter has no effect. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: | Screenshots.zip (583,623) 2014-10-16 14:59 http://openvibe.inria.fr/tracker/file_download.php?file_id=27&type=bug |

Notes ;  .     ;  .        (0001195) ;  .    jtlindgr    ;  .    2015-02-27 14:41     (edited on: 2015-02-27 14:41) ;  .    ;       1) OpenViBE doesn't support runtime removal of channels. The correct way to address this is for the server driver provided by MCS to send e.g. a zero signal on the channels that it has declared but that have vanished runtime. If this is not the case, we are happy to accept a patch.  2) This should be fixed now. The server was unintentionally sending too many stimulations. In its correct behaviour, it sends OVTK_GDF_Incorrect when a NaN segment starts, and OVTK_GDF_Correct when the NaN segment has ended.    Thank you for the bug report!    ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 52 | [openvibe-designer] feature request | feature | always | 2010-06-11 09:53 | 2015-02-25 14:35 |
| Reporter: | jporcher | Platform: |  |  |
| Assigned To: |  | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | new | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Should find a way to pass browse filter to OV_TypeId_Filename |
| Description: | When we add OV_TypeId_Filename settings to a box, there should ideally be a way to pass a file extension filter. If the box expects a .xml, or .txt, or .log file to be passed, there should be a way for the box designer to specify filters that should be used in the browse dialog that will be open to select the file. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

There are no notes attached to this issue. ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 161 | [openvibe-designer] bug report | minor | always | 2014-09-15 15:21 | 2015-02-25 14:34 |
| Reporter: | toncho11 | Platform: | OpenVibe 0.18 |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | "Center button" in Display box does not work |
| Description: | "Center button" in Display box does not work. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001194) ;  .    jtlindgr    ;  .    2015-02-25 14:34    ;  .    ;       Signal Display has gone through major changes since 0.18. This should no longer be a problem (see integration-1.0 branch). ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 48 | [openvibe-designer] feature request | feature | always | 2010-06-10 17:08 | 2015-02-25 14:32 |
| Reporter: | jporcher | Platform: |  |  |
| Assigned To: | lmahe | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Drag and drop not supported |
| Description: | From Windows, drag a scenario file and drop it in OpenViBE. Nothing happens. This should load the scenario. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001193) ;  .    jtlindgr    ;  .    2015-02-25 14:32    ;  .    ;       git 3ed882dca158abd0daf4a35d4aa43216beae9280    It'll be in the next release. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 168 | [openvibe-acquisition-server] feature request | tweak | N/A | 2015-02-18 11:06 | 2015-02-25 12:52 |
| Reporter: | jfrey | Platform: |  |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | high | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Choose any sampling frequency in the telnet reader |
| Description: | I'm developing a soft to send data from OpenBCI board to OpenViBE through the telnet driver. It works, but the sample rate is 250Hz, which is not available by default. It could be forced through configuration files, eg: "AcquisitionServer_Driver_GenericRawTelnetReader_Header = ExperimentID 0 SubjectAge 19 SubjectGender 9 SamplingFrequency 250 Channels 8 Names C3;Cz;C4;P3;Pz;P4;O1;O2;" or by modifying "dist/share/openvibe/applications/acquisition-server/interface-Generic-RawTelnetReader.ui". You'll easily understand that it's not practical for everyday users. Although there may be some issue afterwards with "weird" sample rates because of chunk size or else -- e.g. the downsampling box crashes the designer, expect new bug reports afterwards ;) -- since there doesn't seem to be a reason for selecting only powers of 2 in the telnet reader, why don't you make the sampling rate selection an editable field that accepts integers, instead of a drop-down list? Could also apply to file reader, and it'll help a lot test new hardware :) |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: | ov_wip-jfrey-rawreader-sampling-rate_master.diff (9,783) 2015-02-18 16:22 http://openvibe.inria.fr/tracker/file_download.php?file_id=35&type=bug |

Notes ;  .     ;  .        (0001186) ;  .    jfrey    ;  .    2015-02-18 16:30     (edited on: 2015-02-18 16:31) ;  .    ;       I've uploaded a patch against current master (e9d554bcae4eeb702b1e723b83933370466cb07d). Basically it changes the UI files associated to telnet and file readers, changing a combobox widget into a spin button. Then ovasCConfigurationBuilder.cpp is modified accordingly so it detects if it deals with one or the other kind of widget.    It's verbose and not optimal, as there should be a generic interface between each kind of possible widget and values readings, instead of an ugly and dedicated if/else switch.    It's more of a proof of concept, at least it does the job for me. I'm ready to improve my work if there's hope that such kind of modification could be integrated for the 1.0 version. I would not want to miss the ONE release!    ;  .    ;  .     ;  .        (0001191) ;  .    jtlindgr    ;  .    2015-02-25 12:52    ;  .    ;       Merged in 0e0b6e0d38e529368ec1437743b3a7e2963a3a20    Thank you for the contribution! ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 166 | [openvibe] patch submission | feature | always | 2014-12-29 18:44 | 2015-02-20 09:29 |
| Reporter: | ozan.caglayan | Platform: | x86 |  |
| Assigned To: | jtlindgr | OS: | Linux |  |
| Priority: | normal | OS Version: | other |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Automatically set number of parallel make jobs on linux |
| Description: | Attached is a trivial patch to set the # of parallel build jobs on linux. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description | Please specify distro |
| Attached Files: | 0001-linux-build-Set-number-of-parallel-jobs-automaticall.patch (709) 2014-12-29 18:44 http://openvibe.inria.fr/tracker/file_download.php?file_id=29&type=bug |

Notes ;  .     ;  .        (0001169) ;  .    jtlindgr    ;  .    2015-01-05 10:42    ;  .    ;       Thanks for the patch! However, the man page on Ubuntu 12.04 says that if '-j' switch is used without any number, the number of simultaneous jobs is not limited. Perhaps we should use that instead, it'd look more clean.    What do you think? ;  .    ;  .     ;  .        (0001170) ;  .    jtlindgr    ;  .    2015-01-05 10:54    ;  .    ;       Ok, I tested: -j without a parameter can really launch tens of cc's which doesn't make much sense IMO. I'll consider your patch.   ;  .    ;  .     ;  .        (0001189) ;  .    jtlindgr    ;  .    2015-02-20 09:29    ;  .    ;       Accepted the patch, git 67efc7ce554e01c965ea003d28e9482336ce3a84    Thank you for the contribution :) ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 159 | [openvibe-designer] feature request | tweak | always | 2014-08-05 19:49 | 2015-02-19 09:10 |
| Reporter: | jfrey | Platform: | x86_64 |  |
| Assigned To: | acellard | OS: | Ubuntu |  |
| Priority: | normal | OS Version: | 13.10 |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Signal display does not "autoscale" as well with 0.18 |
| Description: | The center and best fit values doesn't seem to be computed over a sliding window anymore -- handy against EEG artifacts, not much in my situation. |
| Steps To Reproduce: | I have a signal which starts at 0 and settles around 2000 with variation of +/- 300. With openvibe 0.17 the signal display quickly finds the best fit (let's say 600) and centers around 2000. With 0.18, the "best fit" seems to take into account the 0-2000 interval, no matter for how long the scenario is running. Depending on the flag "center on signal", either the window is centered around 0 (bottom part useless) or around 1000 (small "manual fit" values, to observe tiny changes, shift the plot out of drawing area). |
| Additional Information: | I uploaded a scenario which highlights the differences between 0.17 and 0.18. |
| System Description |  |
| Attached Files: | ov_signal_display_autoscale.zip (34,391) 2014-08-05 19:49 http://openvibe.inria.fr/tracker/file_download.php?file_id=26&type=bug |

Notes ;  .     ;  .        (0001187) ;  .    jfrey    ;  .    2015-02-18 21:20    ;  .    ;       Fixed with wip-all-signal-display as for current version :) ;  .    ;  .     ;  .        (0001188) ;  .    jtlindgr    ;  .    2015-02-19 09:10    ;  .    ;       Marking as resolved due to jfrey's report. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 67 | [openvibe-designer] bug report | minor | always | 2011-02-21 15:50 | 2015-02-17 12:31 |
| Reporter: | fabien.lotte | Platform: | x86_64 |  |
| Assigned To: | gserrier | OS: | Linux |  |
| Priority: | low | OS Version: | Ubuntu |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Designer crashes when using ClassifierProcessor with a config file made for another classifier |
| Description: | The OpenViBE designer crashes ("terminate called without an active exception") when we (errouneously) use a ClassifierProcessor with a config file (.cfg) made for another classifier (e.g., a file created when training a LDA used with an SVM classifier). An error message would be more useful and convenient. |
| Steps To Reproduce: | - train a given classifier (e.g., an LDA) with a ClassifierTrainer - use the resulting config file with another classifier (e.g., an SVM) with ClassifierProcessor |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000919) ;  .    yrenard    ;  .    2011-02-25 17:07    ;  .    ;       This is being investigated, thank you for the bug report ;  .    ;  .     ;  .        (0001185) ;  .    gserrier    ;  .    2015-02-17 12:31    ;  .    ;       This issue has been fixed in the version 0.18 with the new design of the processor box. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 60 | [openvibe-plugins] bug report | minor | always | 2010-07-05 17:42 | 2015-02-16 20:36 |
| Reporter: | lbonnet | Platform: |  |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | low | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Signal Display not resized when selecting channels |
| Description: | - Watch some EEG data with a signal display, with multiple channels. - Select only one or two channels to display with the toolbar button. - The visualisation panel is still sized to the maximum channel count. It is more annoying when the data has a lot of channels. For example, with 70+ channels data, one channel selected in full screen need some scrolling :) L |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000896) ;  .    lbonnet    ;  .    2010-08-06 16:01    ;  .    ;       In case someone is really annoyed by this bug, please use a channel selector prior to the signal display.    L. ;  .    ;  .     ;  .        (0001183) ;  .    jtlindgr    ;  .    2015-02-16 20:36    ;  .    ;       git b68cf687868fe7b3b9b1fa24438338a5dc7e19e3 ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 15 | [openvibe] feature request | feature | N/A | 2009-09-07 06:30 | 2015-02-12 15:58 |
| Reporter: | ariandy | Platform: |  |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | function to request multi-view or other display parameter before scenario execution |
| Description: | as titled, setting display parameter such as label/ruler, vertical & horizontal scales, etc. maybe you can add it on box parameters. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000822) ;  .    yrenard    ;  .    2009-09-07 15:04    ;  .    ;       Some of those parameters can be fixed in the box configuration panel. What parameters would you need in the box configuration ?    Also, what do you mean by label/ruler ? If you mean the visualization window/toolbar "title", then you can already do that renaming the associated box (right click on the box > rename). ;  .    ;  .     ;  .        (0000824) ;  .    ariandy    ;  .    2009-09-07 15:23    ;  .    ;       Dear Yann,    The only parameter I can set on Signal Display box configuration is time scale. I want the signal to be displayed with vertical axis label which has numbers on it, and in a fixed scale (default is no vertical label and adaptive vertical scale). It's possible to set after executing the scenario, but after stopping the scenario and then start it again, all display settings are set back to default automatically. Especially for multi-view option, users have to enable it manually every time scenario started.    Thank you for your attention.    --  Ariandy Yoga ;  .    ;  .     ;  .        (0001012) ;  .    ntarrin    ;  .    2012-03-14 18:19    ;  .    ;       I'd also be interested in this feature.    Nicolas. ;  .    ;  .     ;  .        (0001182) ;  .    jtlindgr    ;  .    2015-02-12 15:58    ;  .    ;       Finally implemented in git a09bc9757c5351f27897470f7f28038e9fc9ae0d    The feature will be included the next release. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 160 | [openvibe] bug report | minor | always | 2014-09-04 17:02 | 2015-02-12 11:47 |
| Reporter: | lmahe | Platform: |  |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | none | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | CSV writer box listener fails to rename inputs |
| Description: | In the CSV file writer file listener, you see that if you change the type of the input to Stimulation, the input should be renamed stimulation. This does not happen. The name is stuck to the default name declared in the box prototype. |
| Steps To Reproduce: | Make scenario with CSV file writer. Change input type from Signal to stimulation. Check input name |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001181) ;  .    jtlindgr    ;  .    2015-02-12 11:47     (edited on: 2015-02-12 12:22) ;  .    ;       git 22dd41c608c543e34e3dbd6ac8d79c9f45c0308a    ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 163 | [openvibe] patch submission | major | always | 2014-11-13 16:46 | 2015-02-12 10:31 |
| Reporter: | ozan.caglayan | Platform: | x86_64 |  |
| Assigned To: | nfoy | OS: | Linux |  |
| Priority: | normal | OS Version: | Fedora |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Build is broken on Fedora x86_64 |
| Description: | Build fails while linking P300-stimulator's test codes. Attached patch fix it. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: | fix-linking-with-rt-on-fedora.patch (1,414) 2014-11-13 16:46 http://openvibe.inria.fr/tracker/file_download.php?file_id=28&type=bug 0001-contrib-Obey-OV_COMPILE_TESTS-for-CoAdapt-stimulator.patch (1,079) 2014-12-29 19:00 http://openvibe.inria.fr/tracker/file_download.php?file_id=30&type=bug |

Notes ;  .     ;  .        (0001166) ;  .    jtlindgr    ;  .    2014-12-10 13:20    ;  .    ;       Hi Ozan, thanks for the patch! However, it seems that     FindThirdPartyLibrariesForCoAdaptStimulator.cmake    adds 'rt' if the needed dependencies are in general found.   Perhaps a more correct solution would be to disable the test   if the dependencies are not met. ;  .    ;  .     ;  .        (0001168) ;  .    ozan.caglayan    ;  .    2014-12-29 19:00    ;  .    ;       I've attached another patch to make this module obey OV_COMPILE_TESTS CMake flag. At least I can now disable the building of the tests by setting OV_COMPILE_TESTS to false. ;  .    ;  .     ;  .        (0001179) ;  .    nfoy    ;  .    2015-02-12 10:31    ;  .    ;       Fixed by adding guards in the P300 source code ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 127 | [openvibe-plugins] bug report | minor | always | 2013-03-27 14:23 | 2015-01-12 17:28 |
| Reporter: | serpil | Platform: | Windows 7 |  |
| Assigned To: | jtlindgr | OS: | Windows |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | There is no consistency about channel index between "signal display" windows and channel selector |
| Description: | When we open a "Signal display" windows of signal with several channels, we can see that the first channel index is 0 (0:Channel 1). When we want to select this first channel with "Channel selector", we must to set in the dialog box: Channel list : 1 (and not 0) Action: Select Channel matching method : Index There isn't consistency. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001171) ;  .    jtlindgr    ;  .    2015-01-12 17:28    ;  .    ;       Finally addressed in git master. Please report if some boxes still use the indexing starting from 0.    b56db196ddd87cb7ce8dc330df22b43bca36df24 ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 94 | [openvibe-designer] bug report | minor | always | 2012-01-30 15:23 | 2014-12-10 13:09 |
| Reporter: | jmercier-ganady | Platform: | x86 |  |
| Assigned To: |  | OS: | Windows |  |
| Priority: | normal | OS Version: | XP |  |
| Status: | confirmed | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Window manager modifications are lost when playing a scenario without closing the window |
| Description: | Changes applied on the Window Manager are lost when playing the scenario without having closed the Window Manager. |
| Steps To Reproduce: | 1) Create a new scenario 2) Add a few display boxes 3) Open the Window Manager and change the display plugins position 4) Without closing the Window Manager, play and stop the scenario 5) Open the Window Manager again : all modifications are lost |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

There are no notes attached to this issue. ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 164 | [openvibe-designer] bug report | minor | always | 2014-11-19 15:20 | 2014-11-19 15:23 |
| Reporter: | toncho11 | Platform: | 0.18 |  |
| Assigned To: |  | OS: | Windows 7 |  |
| Priority: | normal | OS Version: |  |  |
| Status: | acknowledged | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Designer does not support windows slash "\" |
| Description: | The file data writers do not support "\". I put the path myself in the textbox. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001165) ;  .    jtlindgr    ;  .    2014-11-19 15:23    ;  .    ;       This is a well-known issue. We need to find a satisfying solution. Meanwhile, use '/', it should work ...  ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 98 | [openvibe-kernel] feature request | feature | N/A | 2012-02-17 17:25 | 2014-11-14 13:49 |
| Reporter: | Guillermo | Platform: |  |  |
| Assigned To: | lmahe | OS: |  |  |
| Priority: | low | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | and input/output number parameter in deconder/encoder initialize fontion in class OpenViBE::Kernel::IAlgorithmProxy |
| Description: | Because usage of one decoder for more that one input is irrelevant, it is unnecessary to pass input number to the function OpenViBE::Kernel::IAlgorithmProxy::decode. Instead of this, it would be better to pass input number as parameter to the function OpenViBE::Kernel::IAlgorithmProxy::initialize This is also true for the function encode and the associated output |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001003) ;  .    Guillermo    ;  .    2012-02-17 17:30    ;  .    ;       Sorry Class are OpenViBEToolkit::TXXXDecoder < class T > and OpenViBEToolkit::TXXXEncoder < class T > ;  .    ;  .     ;  .        (0001004) ;  .    yrenard    ;  .    2012-02-17 17:31    ;  .    ;       Guillermo, you probably refer to the codec toolkit that are in OpenViBEToolkit namespace, not the OpenViBE::Kernel::IAlgorithmProxy stuff (which btw does not decode / encode anything).    I totally agree :)  Regards,  Yann ;  .    ;  .     ;  .        (0001005) ;  .    yrenard    ;  .    2012-02-17 17:32    ;  .    ;       You've been faster than me :) ;  .    ;  .     ;  .        (0001164) ;  .    jtlindgr    ;  .    2014-11-14 13:49    ;  .    ;       Fixed in wip-lmahe-update-to-codec branch, will be in 1.0. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 132 | [openvibe] bug report | minor | always | 2013-05-23 17:41 | 2014-10-23 15:34 |
| Reporter: | toncho11 | Platform: | OpenVibe 0.16 |  |
| Assigned To: | jtlindgr | OS: | Windows |  |
| Priority: | normal | OS Version: | Windows |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | OpenVibe does not handle GDF 2.51 and prints a wrong message |
| Description: | Apparently OpenVibe does not handle the GDF 2.51 file format because I am able to open it with other tools: - EEGLAB - SigViewer but not with OpenVibe. At least a message must be added, so that people know. Instead we see: "no support of GDF files with different per-channel sampling rates" which is confusing and time consuming to track each time ... if (m_f32FileVersion==2.51) print "Unsupported" |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001083) ;  .    jtlindgr    ;  .    2013-06-21 15:11    ;  .    ;       Getting a file causing this issue would be nice in order to do anything non-trivial for it. ;  .    ;  .     ;  .        (0001084) ;  .    toncho11    ;  .    2013-06-21 16:04    ;  .    ;       I do not have a file 2MB, mine is 2MB and some thing and I can not upload it. ;  .    ;  .     ;  .        (0001085) ;  .    toncho11    ;  .    2013-06-21 16:12    ;  .    ;       This file can be seen by BioSig C++ sigviewer.exe and not OpenVibe. ;  .    ;  .     ;  .        (0001086) ;  .    jtlindgr    ;  .    2013-06-21 17:16    ;  .    ;       Confirmed. As OpenViBE GDF reader is not relying on a third-party provided header or a lib for GDF parsing, it's work intensive to dig in and find out how the format has changed and how the parsing has to be changed accordingly while retaining support for older gdf files. I added an explanatory incompatibility note to the SVN version for now. ;  .    ;  .     ;  .        (0001087) ;  .    toncho11    ;  .    2013-06-21 17:55    ;  .    ;       Maybe you could use this one: http://sourceforge.net/projects/libgdf/ [^] ;  .    ;  .     ;  .        (0001099) ;  .    jtlindgr    ;  .    2013-09-24 17:39    ;  .    ;       One of our engineers is currently working on new gdf boxes based on a Biosig dependency. ;  .    ;  .     ;  .        (0001163) ;  .    jtlindgr    ;  .    2014-10-23 15:34    ;  .    ;       This is fixed in v0.18.0 by improving our existing gdf reader. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 152 | [openvibe-designer] bug report | minor | always | 2014-02-27 16:22 | 2014-10-20 12:33 |
| Reporter: | toncho11 | Platform: |  |  |
| Assigned To: | gserrier | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | pen/locate script buttons |
| Description: | The open/locate script buttons in the Lua/Python boxes does not work. They can not interpret this: ${__volatile_ScenarioDir}/ |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001139) ;  .    jtlindgr    ;  .    2014-02-28 11:28    ;  .    ;       This should already be fixed in the wip-all-designer branch, but may need some testing. ;  .    ;  .     ;  .        (0001140) ;  .    toncho11    ;  .    2014-02-28 11:31    ;  .    ;       And probabaly matlab too. ;  .    ;  .     ;  .        (0001147) ;  .    ozan.caglayan    ;  .    2014-05-09 14:35    ;  .    ;       I don't know what is the purpose of wip-all-designer branch but this is still broken in the master. Affects Python scripts too. ;  .    ;  .     ;  .        (0001148) ;  .    jtlindgr    ;  .    2014-05-12 16:36    ;  .    ;       The branch will be integrated to master once we think it stable enough. Possibly for 0.18 (estimated release date in June). ;  .    ;  .     ;  .        (0001149) ;  .    toncho11    ;  .    2014-05-16 16:16    ;  .    ;       ok, that is something annoying and needs to be fixed for version 0.18 - users does not care about branches :) ;  .    ;  .     ;  .        (0001162) ;  .    gserrier    ;  .    2014-10-20 12:33    ;  .    ;       Fix in 0.18 ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 97 | [openvibe-plugins] bug report | minor | always | 2012-02-14 15:34 | 2014-09-08 16:43 |
| Reporter: | lbonnet | Platform: | windows |  |
| Assigned To: | lmahe | OS: | 7 |  |
| Priority: | normal | OS Version: | x64 |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | 2D and 3D topogra^hy don't work with wrong channel names |
| Description: | When a channel given on the input is not referenced in the Channel Localisation file (name mismatch or missing) the topo does not work, no display. --> add a warning message in the console. |
| Steps To Reproduce: | - Use the box-tutorial scenario on topographic map display. - Rename a channel to something random - play --> no display |
| Additional Information: |  |
| Attached Files: |  |

There are no notes attached to this issue. ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 64 | [openvibe] feature request | minor | N/A | 2010-09-18 18:51 | 2014-09-08 16:41 |
| Reporter: | lageorge | Platform: |  |  |
| Assigned To: | lmahe | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Allow the automatic renaming of channel selector box based on channel list |
| Description: | It would be helpfull to have an option in channel selector box to automaticly enable the renaming of the box based on the channel selected.. example : if we use Pz the box, the name becomes : channel selector Pz |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000897) ;  .    lageorge    ;  .    2010-09-18 18:54    ;  .    ;       in fact this kind of feature that allow to display the information of the box configuration in the name could be usefull for a lot of box (for example the dsp)..    This new feature should give a feedback to know if the name is synchronised with the configuration (like a color, or a lock in the box)..    this would for example remove errors like a channel box named Pz when the configuration say O2 for example :D ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 22 | [openvibe-documentation] feature request | feature | N/A | 2009-10-07 17:42 | 2014-09-08 15:21 |
| Reporter: | lbonnet | Platform: |  |  |
| Assigned To: | jlegeny | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | no change required |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Architecture documentation |
| Description: | There is not any doc about the architecture of OpenViBE. The PDF given in the forum (about the 1st openViBE formation at INRIA) has nice slides that could be added on the web site. However I think these are not enough for kernel developers. A technical description, with the mechanisms and links between the kernel modules, would be very appreciated ! |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001159) ;  .    lmahe    ;  .    2014-09-08 14:05    ;  .    ;       I think http://openvibe.inria.fr/software-architecture/ [^] provides the documentation asked. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 119 | [openvibe-designer] feature request | minor | always | 2012-10-11 15:13 | 2014-09-08 15:20 |
| Reporter: | lbonnet | Platform: |  |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | low | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Missing documentation for the SVM classifier. |
| Description: | The documentation pages of the classifier trainer and processor don't mention the SVM. The SVM needs many parameters in the trainer, they are undocumented. Maybe make a full - separated - documentation about classification with openvibe, and documentation of the existing classifiers, in the user doc. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001160) ;  .    lmahe    ;  .    2014-09-08 14:23    ;  .    ;       THe current documentation http://openvibe.inria.fr/documentation/unstable/Doc_BoxAlgorithm_ClassifierTrainer.html [^]  mentions SVM and redirect specific questions to the libSVM implementation. If needed, we can reopen the ticket. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 151 | [openvibe-designer] bug report | minor | always | 2014-02-24 15:36 | 2014-09-08 15:17 |
| Reporter: | gserrier | Platform: | x86 |  |
| Assigned To: | jtlindgr | OS: | Linux |  |
| Priority: | normal | OS Version: | Ubuntu |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Designer : Don't display the default value in classifier trainer when switch algorithm |
| Description: | When we switch from one algorithm to another, the name of settings is replaced as it should, but the value in the box remains the same as the previous parameter displays at this place. |
| Steps To Reproduce: | 1/ Drag and drop a classifier trainer box 2/ Set the SVM classification algorithm (epsillon = 0.1) 3/ Drag and drop a classifier trainer box 4/ Set the Shrinkage LDA algorithm 5/ Set the SVM algorithm => epsillon now is set to -1 (the default value of the first parameter of LDA) |
| Additional Information: | I check in the code with some std::cout, the right value is used in the listener. |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001161) ;  .    jtlindgr    ;  .    2014-09-08 15:17    ;  .    ;       Seems ok in 0.18.0 and the new trainer box. Note that you need to click 'apply' before the GUI entries change. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 87 | [openvibe-plugins] bug report | minor | always | 2011-11-29 09:03 | 2014-09-08 13:33 |
| Reporter: | lbonnet | Platform: |  |  |
| Assigned To: | jtlindgr | OS: | Win7 |  |
| Priority: | normal | OS Version: | x64 |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Driver gTec on 64bit does not provide notch and band pass filters |
| Description: | Nothing can be selected in the driver config comboboxes. tested on: - win 7 x64 - openvibe 0.12.0 (uses api gtec 32 bit) - driver gtec 64 bits |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001142) ;  .    toncho11    ;  .    2014-04-27 09:31    ;  .    ;       I had the same problem.     I did several re-installations and other tinkering(windows restart,etc) until it suddenly started to work. I can not say what was the cause exactly. ;  .    ;  .     ;  .        (0001158) ;  .    jtlindgr    ;  .    2014-09-08 13:33     (edited on: 2014-09-08 13:36) ;  .    ;       For OpenViBE Inria/Rennes team, the problem no longer exists either with gUSBAmp 2008 or 2010 model. We use    - OpenViBE v0.18  - gtec gUSBAmp Gipsa Lab driver in Acquisition Server  - Win7 64 bit  - gtec 64 bit driver v3.14  - gtec 32 bit C API v3.12     We had this issue before, but we no longer have it. One thing that changed in addition to the driver versions was that we upgraded the firmware of the 2008 model to v2.0. However, we cannot say which change made the issue disappear.    ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 120 | [openvibe-plugins] bug report | minor | always | 2012-12-04 13:39 | 2014-09-04 14:53 |
| Reporter: | aurelienvlg | Platform: | Intel Pentium Dual-Core E5500 |  |
| Assigned To: | lmahe | OS: | Windows |  |
| Priority: | normal | OS Version: | XP Pro 2002 SP3 |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Impossible to rename the input of the "Generic stream writer". |
| Description: | When you configure the "Generic stream writer" inputs, only the last input configured keeps is configured name. |
| Steps To Reproduce: | Right click on a "Generic stream writer". In "modify inputs", select an input, click on "configure..". In the "Edit Input", change the "Name:" parameter. Left click on "Appliquer". For the selected input, the name is correctly changed, but for the over inputs, there names follow the pattern "Input stream X", where X is the input index. |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001060) ;  .    jtlindgr    ;  .    2013-01-21 15:43    ;  .    ;       This would be easy to 'fix' by removing the batch rename done by check() function, but raises a question why is the rename there in the first place?     Note that this issue likely affects other boxes as well since there appears to be similar check() functions in other boxes. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 91 | [openvibe-designer] bug report | minor | always | 2012-01-27 17:24 | 2014-09-04 13:16 |
| Reporter: | jmercier-ganady | Platform: | x86 |  |
| Assigned To: | gserrier | OS: | Windows |  |
| Priority: | normal | OS Version: | XP |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Keyboard shortcuts are no more functionnal when running a scenario if focus is lost |
| Description: | When the scenario drawing area loses focus while running a scenario keyboard shortcuts are no more working. The scenario drawing area cannot re-gain the focus while the scenario is running, so even clicking on it will no solve the problem. |
| Steps To Reproduce: | 1) Start any scenario 2) Select any box from the box tree list, or click on any scenario tab header 3) Pressing any key will have no effect (such as F5, to stop the scenario) |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000978) ;  .    yrenard    ;  .    2012-01-27 17:56    ;  .    ;       The author is actually not supposed to modify the scenario when it is running. The "player" shortcuts should be active anyway. ;  .    ;  .     ;  .        (0000982) ;  .    lbonnet    ;  .    2012-01-30 15:21    ;  .    ;       I guess we could forward the gtk event-key signals to the main window.  I need to check the visualization tree, to see if the visualization windows are created as child of the main window. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 158 | [openvibe-designer] bug report | major | always | 2014-08-05 19:15 | 2014-09-03 09:30 |
| Reporter: | jfrey | Platform: | x86_64 |  |
| Assigned To: | lmahe | OS: | Ubuntu |  |
| Priority: | normal | OS Version: | 13.10 |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Memory leak with "modifiable temporal filter" |
| Description: | An important memory leak occurs with the fresh modifiable temporal filter: "top" utility reports +200ko by seconds when a scenario is running. |
| Steps To Reproduce: | Easy to reproduce on my mahine: * add sinus oscillator * add modifiable temporal filter * connect * wait...wait... RAM full, swap, computer freezes! |
| Additional Information: | No leak occurs when fast-forwarding scenario (??). |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001152) ;  .    jfrey    ;  .    2014-08-05 19:59    ;  .    ;       Maybe should be a new bug report: even when the box is muted the options appear -- and the leak occurs. ;  .    ;  .     ;  .        (0001157) ;  .    lmahe    ;  .    2014-09-03 09:29    ;  .    ;       committed fix in branch release-0.18.0-bugfixes ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 12 | [openvibe-designer] bug report | minor | always | 2009-08-21 14:26 | 2014-09-02 17:56 |
| Reporter: | yrenard | Platform: |  |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | low | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Add a vertical scrollbar to boxes with lots of settings |
| Description: | When a box has too many settings, the configuration window becomes larger than the screen so a scrollbar is necessary to configure last settings. For example, using VRPN Button box and adding 20 inputs results in the box having 41 settings. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001156) ;  .    jtlindgr    ;  .    2014-09-02 17:56    ;  .    ;       v0.18 introduces a scrollbar to the box settings. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 156 | [openvibe] bug report | minor | always | 2014-05-25 12:25 | 2014-09-02 17:55 |
| Reporter: | avilleret | Platform: | Ubuntu 14.04 64bit |  |
| Assigned To: | jtlindgr | OS: | x86_64 GNU/Linux |  |
| Priority: | normal | OS Version: | 3.13.0-24-generi |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | linux-install_dependencies fails on Ubuntu 14.04 |
| Description: | linux-install_dependencies tries to install libogre-dev wich no longer exists on Ubuntu 14.04 repository |
| Steps To Reproduce: |  |
| Additional Information: | modifying the script to change libogre-dev to libogre-1.8-dev fix it |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001150) ;  .    jtlindgr    ;  .    2014-05-26 09:21    ;  .    ;       This should be already fixed in the openvibe git version. ;  .    ;  .     ;  .        (0001155) ;  .    jtlindgr    ;  .    2014-09-02 17:55    ;  .    ;       Should work in 0.18 and git master. If not, reopen. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 157 | [openvibe] bug report | trivial | always | 2014-05-25 12:40 | 2014-09-02 17:54 |
| Reporter: | avilleret | Platform: | Ubuntu 14.04 64bit |  |
| Assigned To: | jtlindgr | OS: | x86_64 GNU/Linux |  |
| Priority: | normal | OS Version: | 3.13.0-24-generi |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | build fails because libboost is not detected by cmake |
| Description: | build failed with issue like 'undefined reference to boost::filesystem::path::parent_path() const' looking to cmake configuration reveals that libboost is not properly detected linux-install_dependencies script install libboost version 1.4 on Ubuntu 14.04 and cmake doesn't detect it well running ccmake manually and change the variable to point to the right location fix the issue |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001151) ;  .    jtlindgr    ;  .    2014-05-26 09:22    ;  .    ;       This should be already fixed in the openvibe git version. ;  .    ;  .     ;  .        (0001154) ;  .    jtlindgr    ;  .    2014-09-02 17:54    ;  .    ;       This should be ok in 0.18 and git. If not, reopen. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 40 | [openvibe-plugins] feature request | feature | always | 2010-05-19 10:38 | 2014-08-26 16:04 |
| Reporter: | matthieuG | Platform: |  |  |
| Assigned To: | acellard | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | signal display update for comfortable EEG reading |
| Description: | _Default setting : "fixed scale" with scale 100. [to have homogeneous reading] _add functionality : change global scale with the toothed wheel of the mouse _add option : dis/enable autoTranslation ("CheckTranslation") to avoid movement of curves when reading. Happen when peak appear or disappear (low frequencies are not enough...) |
| Steps To Reproduce: |  |
| Additional Information: | Best idea could be to have all signals on the same paint area, as the multi-view with a graphical offset between each signal. But probably not quick to do... |
| Attached Files: |  |

Notes ;  .     ;  .        (0001153) ;  .    acellard    ;  .    2014-08-26 16:04    ;  .    ;       In release 0.18, signal display has now two modes : eeg display and "default"  When eeg display is enabled, all settings are set for comfortable EEG reading :scale is by default at 100, autoTranslation is optional (center signal) and alls signals are in the same paint area. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 155 | [openvibe-kernel] bug report | minor | always | 2014-05-02 16:09 | 2014-05-07 14:41 |
| Reporter: | toncho11 | Platform: |  |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Brainamp sampling interval problem |
| Description: | The sampling interval in the Brainamp format is float, even if not explicitly specified in the docs. The current implementation of OpenVibe Brainamp reader is integer, which leads to incorrect calculation of the sampling frequency. For example instead of 2400 Hz I get 2403 Hz. |
| Steps To Reproduce: | To fix the problem you need to remove the variable: m_ui64SamplingInterval. You need to read the sampling interval in a "double" way: double dd=::atof(l_sOptionValue.c_str()); op_ui64SamplingRate = dd; Then you need to calculate the frequency something like that: op_ui64SamplingRate=floor(0.5 + 1000000/dd); Some rounding is required after all. After that you need to replace all usages of the sampling interval (4 of them) with for example: op_ui64CurrentStartTime=ITimeArithmetics::sampleCountToTime(op_ui64SamplingRate,m_ui64StartSampleIndex); Note that op_ui64SamplingRate must of been updated before that. |
| Additional Information: |  |
| Attached Files: | ovpCBoxAlgorithmBrainampFileWriter.cpp (13,602) 2014-05-02 17:21 http://openvibe.inria.fr/tracker/file_download.php?file_id=25&type=bug |

Notes ;  .     ;  .        (0001145) ;  .    toncho11    ;  .    2014-05-02 17:22    ;  .    ;       I have uploaded a modification of the writer produced by us to write the sampling interval in float. Please note that the attached file has different class ids so that I can execute it along with the one integrated already by you. ;  .    ;  .     ;  .        (0001146) ;  .    jtlindgr    ;  .    2014-05-07 14:41    ;  .    ;       git #1e6e820fbea1902e9c33cac49b420e6c76869cf6    Thank you for the report & suggestions. I implemented similar solutions. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 51 | [openvibe-designer] feature request | feature | always | 2010-06-11 09:15 | 2014-04-28 13:57 |
| Reporter: | jporcher | Platform: |  |  |
| Assigned To: |  | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | acknowledged | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Support most recently opened scenarios |
| Description: | We should add access to recently loaded scenarios from the "File" menu...as many applications do. This saves tones of clicks if a user works consistently with the same scenarios.... |
| Steps To Reproduce: |  |
| Additional Information: | This issue is the result of issue 0000047 splitting |
| Attached Files: |  |

Notes ;  .     ;  .        (0000923) ;  .    yrenard    ;  .    2011-02-25 17:12    ;  .    ;       The latest release reopens scenarios that were left open while closing the previous session ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 68 | [openvibe-designer] feature request | minor | N/A | 2011-02-21 16:01 | 2014-04-28 13:56 |
| Reporter: | fabien.lotte | Platform: | x86 |  |
| Assigned To: |  | OS: | Linux |  |
| Priority: | normal | OS Version: | Ubuntu |  |
| Status: | acknowledged | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Making the classifier training more user friendly |
| Description: | 3 points to potentially improve the "friendliness" of the classifier training scheme in open-vibe 1 - It would be nice the have a kind of window, in the designer (and not in the console), that displays, when we train a classifier (box ClassifierTrainer), where we are in the classification process (e.g., "reading/getting data" - "training classifier" - "estimating performances with cross-validation"). Indeed, it is not always convenient to look into the console (for instance we may want to use the designer in full-screen size) 2 - cross-validation (CV) can be very time consuming (it is computationally rather intensive) so it could be nice to make it optional in the classifier training process. Indeed, CV is by nature optional as it is only used to estimate the classifier performances but not to actually train it. It is possible to skip it by setting "1" to the number of cross validation folds to use, but this is not very intuitive/natural to do. A check box "estimating classifier performance with cross-validation (yes/no)" would be more natural/intuitive. 3 - we could also add an option to automatically stop the scenario once the classifier training is finished. it would also be useful in case of a future batch of scenarios with an automated sequence of scenarios (e.g., "data acquisition without feedback scenario" - "classifier training" - "BCI use with feedback") |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000917) ;  .    yrenard    ;  .    2011-02-21 16:27    ;  .    ;       Dear Fabien,    thank you for this bug report    1 - An integration of the console in the designer is currently being developed. It will most likely address this point. About having more informative messages, just turn to Trace level and you will have exactly what you request :)    2 - Indeed, 1 does the trick but is not so intuitive. Problem is if we add a setting to this box, it will break compatibility with previous scenarios. Solution would be to create a new box including this setting and to deprecate (even if still present) the old one. Do you believe this is necessary ?    3 - Actually, the stimulation output connector is exactly for this purpose. Combine it with a Player Controller box and there you go :)    Yann ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 102 | [openvibe-documentation] bug report | minor | random | 2012-03-08 11:29 | 2014-04-28 13:55 |
| Reporter: | lbonnet | Platform: | x86_64 |  |
| Assigned To: |  | OS: | Windows |  |
| Priority: | normal | OS Version: | XP |  |
| Status: | new | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Random crash of emotiv EPOC Driver on windows 64 bits |
| Description: | The Acquisition Server using Emotiv EPOC driver on windows7 64bits randomly bugs. The application does not respond and must killed manually (hardcore style). This problem also happened with the Emotiv TestBench software, so the problem may be coming from the Emotiv EPOC libs/driver on 64bits OS. --> FURTHER TEST NEEDED |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001013) ;  .    lbonnet    ;  .    2012-04-02 13:28    ;  .    ;       Further tests - results  -----------------------  This crash seems only to happen when the USB stick is plugged in a SS USB port on the computer.    (reported by G.Loup)    L ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 153 | [openvibe-kernel] patch submission | minor | have not tried | 2014-04-18 16:06 | 2014-04-28 13:54 |
| Reporter: | toncho11 | Platform: |  |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Update G.tec driver to support bipolar electrode configuration |
| Description: | It sets the channels to 1-2=1 ... 15-16=15 The gusbamp UI file was also changed to add a checkbox for this feature. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: | g-tec-driver_bipolar.zip (17,659) 2014-04-18 16:06 http://openvibe.inria.fr/tracker/file_download.php?file_id=24&type=bug |

Notes ;  .     ;  .        (0001141) ;  .    toncho11    ;  .    2014-04-18 17:53    ;  .    ;       Also there is a UI fix for the bandpass/notch filtering.     So it is two updates (at least) ;  .    ;  .     ;  .        (0001144) ;  .    jtlindgr    ;  .    2014-04-28 13:54    ;  .    ;       Git #3840d2d098c7edf573431c65173efe735b509d5d ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 96 | [openvibe-acquisition-server] bug report | minor | always | 2012-02-03 10:55 | 2014-04-28 11:38 |
| Reporter: | jmercier-ganady | Platform: | x86_64 |  |
| Assigned To: | jtlindgr | OS: | Windows |  |
| Priority: | normal | OS Version: | Seven |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Preferences & driver properties are not saved |
| Description: | Preferences & driver properties are not saved when exiting the acquisition server. |
| Steps To Reproduce: | 1) Start the acquisition server 2) Edit some driver properties (Emotiv EPOC for instance), set the age to 42 3) Edit some general preferences, set the drift tolerance to 10 4) Exit the acquisition server 5) Start the acquisition server again => All these settings are not restored |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001056) ;  .    lbonnet    ;  .    2012-10-10 17:19    ;  .    ;       The driver properties are not saved (excepted for the Emotiv SDK folder).  I am not adding this feature (because experiment information are rarely used), but it should be simple to do :)    The preferences of the acquisition server such as drift policy are now saved and restored by the application.    Laurent- ;  .    ;  .     ;  .        (0001143) ;  .    jtlindgr    ;  .    2014-04-28 11:37    ;  .    ;       Most drivers save their settings since 0.17.0. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 49 | [openvibe-designer] feature request | feature | always | 2010-06-11 09:08 | 2014-01-31 11:50 |
| Reporter: | jporcher | Platform: |  |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | suspended |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Scenario files should have a specific OpenViBE extension |
| Description: | To make scenario management more user friendly, here is what I would recommend: - When saving a scenario, a specific extension should be automatically appended (.ovs, for OpenViBE Scenario). - When loading a scenario, only files with this specific extension should be displayed. Those two points would make life esier for users, because folders may contain many files and he only cares about scenarios. |
| Steps To Reproduce: |  |
| Additional Information: | This issue is the result of issue 0000047 splitting |
| Attached Files: |  |

Notes ;  .     ;  .        (0000883) ;  .    yrenard    ;  .    2010-06-11 18:39    ;  .    ;       I just commited a few modifications to restore XML filters / extension completion when loading / saving scenarios... I'll think about the best way to make it clear with a specific extension later :) ;  .    ;  .     ;  .        (0001138) ;  .    jtlindgr    ;  .    2014-01-31 11:50    ;  .    ;       Changing the extension and the filters at this point would likely confuse a lot of people and their workflows. The change shouldn't be done without a strong consensus of the key parties. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 147 | [openvibe-designer] bug report | major | always | 2014-01-13 15:20 | 2014-01-31 11:40 |
| Reporter: | serpil | Platform: | x86_64 |  |
| Assigned To: |  | OS: | Windows |  |
| Priority: | urgent | OS Version: | 7 |  |
| Status: | acknowledged | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Move the user interface (like designer, signal display ...) distrube the trigger sended to an external device |
| Description: | I developed a box which send triggers to an external device. One of parameters of this box is "frequency". For my test, the frequency is 1hz and I can visualize on my external device UI that the triggers are received every second. But if I move a UI (signal display) then the triggers are disturb (visible on external UI) and frequency is not respected. It's very strange because getcurrenttime informations are correct, I send every second a trigger . Then instead of getcurrenttime function, I used clock() and I can measure the different duration beetween two triggers when I move a frame. I saw an other problem, if I click on my frame few second, I can see that the player freeze. Can you help me to solve this bug, because it's very important to send correctly triggers? |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

There are no notes attached to this issue. ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 148 | [openvibe-kernel] patch submission | minor | have not tried | 2014-01-14 15:18 | 2014-01-31 11:38 |
| Reporter: | toncho11 | Platform: |  |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Intergration of Gipsa's LSL Export box |
| Description: | The box exports both signal and stimulations from OpenVibe. It can be used to export these to Matlab in real time. Source code: https://code.google.com/p/openvibe-gipsa-extensions/source/browse/trunk/src/openvibe-plugins-gipsa/trunc/src/ovpCBoxLSLExport.cpp [^] https://code.google.com/p/openvibe-gipsa-extensions/source/browse/trunk/src/openvibe-plugins-gipsa/trunc/src/ovpCBoxLSLExport.h [^] |
| Steps To Reproduce: | There is a new dependency LSL: https://code.google.com/p/labstreaminglayer/ [^] to be added in the dependency tree. Both /release and /debug are supported. There is a different DLL for debug/release and failing to put the right one causes a crash. Preferably you can put the code of LSL which will also make the box available on Linux. You can find the /include and /lib folder for LSL in n our /lib folder: https://code.google.com/p/openvibe-gipsa-extensions/source/browse/#svn%2Ftrunk%2Fsrc%2Fopenvibe-plugins-gipsa%2Ftrunc%2Flib%2FLSL [^] The cmake commands can be used to detect LSL: #add LSL find_library(LSL_LIBRARY_PATH_DEBUG NAMES liblsl32-debug HINTS "${CMAKE_CURRENT_SOURCE_DIR}/lib/LSL/lib/debug" ) target_link_libraries(${PROJECT_NAME} debug ${LSL_LIBRARY_PATH_DEBUG}) find_library(LSL_LIBRARY_PATH_RELEASE NAMES liblsl32 HINTS "${CMAKE_CURRENT_SOURCE_DIR}/lib/LSL/lib/release" ) target_link_libraries(${PROJECT_NAME} optimized ${LSL_LIBRARY_PATH_RELEASE}) |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001136) ;  .    jtlindgr    ;  .    2014-01-24 15:06     (edited on: 2014-01-24 15:06) ;  .    ;       Currently there's a functional merge at openvibe git branch    wip-jlindgre-merge-aandreev-lsl    I'll ask for comments and if all is okay, merge to master.    ;  .    ;  .     ;  .        (0001137) ;  .    jtlindgr    ;  .    2014-01-31 11:38    ;  .    ;       Merged to master in git #b16f9a4c66bb2d2f1837d025078c35e7e4f94251 ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 149 | [openvibe-kernel] patch submission | minor | have not tried | 2014-01-14 15:22 | 2014-01-17 10:50 |
| Reporter: | toncho11 | Platform: |  |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Integerate Gipsa's Brainamp writer |
| Description: | Brainamp writer allows people to save data to the Brainamp format. https://code.google.com/p/openvibe-gipsa-extensions/source/browse/trunk/src/openvibe-plugins-gipsa/trunc/src/ovpCBoxAlgorithmBrainampFileWriter.h [^] https://code.google.com/p/openvibe-gipsa-extensions/source/browse/trunk/src/openvibe-plugins-gipsa/trunc/src/ovpCBoxAlgorithmBrainampFileWriter.cpp [^] |
| Steps To Reproduce: | No external dependency. |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001135) ;  .    jtlindgr    ;  .    2014-01-17 10:50    ;  .    ;       Accepted & added. Many thanks for the contribution. :)    git 9b0e67482fa4adb22d36d9f50f0b9a866cfa78e2 ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 150 | [openvibe-acquisition-server] patch submission | minor | have not tried | 2014-01-16 23:46 | 2014-01-17 10:49 |
| Reporter: | toncho11 | Platform: |  |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | g.tec usbamp update on filtering |
| Description: | I have changed the code so that when you open the interface only the filters bandpass and notch that are for the current frequency are shown. This way you can not make a mistake. Also I have reworked the filtering code to be a bit self-testing. Code attached. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: | gtec-gusbamp-gipsa-dsp.zip (55,840) 2014-01-16 23:46 http://openvibe.inria.fr/tracker/file_download.php?file_id=23&type=bug |

Notes ;  .     ;  .        (0001134) ;  .    jtlindgr    ;  .    2014-01-17 10:49    ;  .    ;       Patch accepted. Thank you.    git 6d52d2e7a795e5111b48b8c890b17d8d29f2c37f ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 146 | [openvibe-kernel] bug report | crash | always | 2014-01-08 10:46 | 2014-01-10 10:17 |
| Reporter: | toncho11 | Platform: | 0.17 |  |
| Assigned To: | jtlindgr | OS: | Windows |  |
| Priority: | normal | OS Version: | 7 |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | no change required |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Path_UserData can not be set |
| Description: | I am having a problem that I want to resolve by changing: "Path_UserData" in openvibe.conf But every time I set some value to this parameter in openvibe.conf I get an exception. I am unable to run OpenVibe currently. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001128) ;  .    jtlindgr    ;  .    2014-01-08 14:23    ;  .    ;       Works for me. Please post steps to reproduce from a fresh installation. Make sure $USERPROFILE and its subdirectories have no lingering openvibe items from previous installations. ;  .    ;  .     ;  .        (0001129) ;  .    toncho11    ;  .    2014-01-08 16:55    ;  .    ;       I had a problem with the r/w rights of openvibe.conf. Seems like the installer does not set them for the creator/owner or something like that.     Then I was able to change the folder in openvibe.conf and this allowed me to start OpenVibe. ;  .    ;  .     ;  .        (0001130) ;  .    toncho11    ;  .    2014-01-08 16:55    ;  .    ;       Mark this as resolved. ;  .    ;  .     ;  .        (0001131) ;  .    jtlindgr    ;  .    2014-01-08 17:05    ;  .    ;       May have to add a feature later to prefer openvibe.conf from some user writable folder instead of just trying to use the file from the installation location. ;  .    ;  .     ;  .        (0001132) ;  .    yrenard    ;  .    2014-01-10 06:59    ;  .    ;       Well, there is such user override openvibe.conf in the Doc&Settings user directory, isn't it ? ;  .    ;  .     ;  .        (0001133) ;  .    jtlindgr    ;  .    2014-01-10 10:17     (edited on: 2014-01-10 10:18) ;  .    ;       Yes, the file is read if it is there, but its not installed by default, the default log level is too low to mention openvibe is looking for it, and since its appended by a rather obscure-looking CustomConfiguration Include directive, its altogether easy to miss (i.e. you can't even find it with recursive grep for openvibe.conf in the source tree). Perhaps one option would be to add a --config command line switch to the apps so that if this switch was present, the first config file attempted would be the one pointed to by the switch argument.    ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 101 | [openvibe] feature request | minor | have not tried | 2012-03-06 17:44 | 2013-12-19 09:39 |
| Reporter: | fouadchouag | Platform: | x86 |  |
| Assigned To: | jtlindgr | OS: | Windows |  |
| Priority: | normal | OS Version: | Vista |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Help offline |
| Description: | is it possible to have an offline help in openvibe package .... it's usefull for people without internet access |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001008) ;  .    yrenard    ;  .    2012-03-06 20:40    ;  .    ;       Dear fouadchouag,    that would indeed be great to have a downloadable package for this. Meanwhile, you can build it from sources. Have you tried this already ?    Regards,  Yann ;  .    ;  .     ;  .        (0001009) ;  .    fouadchouag    ;  .    2012-03-07 07:43    ;  .    ;       No T didnt' try it, but i will do itn it appear inetrest  thank you professor ;  .    ;  .     ;  .        (0001010) ;  .    jlegeny    ;  .    2012-03-07 11:55    ;  .    ;       Compiled documentation should be included in the Windows Installer (Doxygen and Box Documentation). It is missing from the 0.13.x release though. It will be brought back in the 0.14 release. ;  .    ;  .     ;  .        (0001011) ;  .    yrenard    ;  .    2012-03-07 18:04    ;  .    ;       I think it's better to put it in a separate package. Most people will prefer having direct access to fresh and updated documentation (not to mention the tutorials that won't be included in the offline help anymore as they moved to the blog content). ;  .    ;  .     ;  .        (0001115) ;  .    jtlindgr    ;  .    2013-11-07 16:45    ;  .    ;       We'll try to get a documentation package out with 0.17.0.  ;  .    ;  .     ;  .        (0001127) ;  .    jtlindgr    ;  .    2013-12-19 09:39    ;  .    ;       Technical documentation package is now available for 0.17.0 at     http://openvibe.inria.fr/pub/doc/ [^] ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 103 | [openvibe-plugins] bug report | minor | always | 2012-03-14 14:19 | 2013-12-18 16:34 |
| Reporter: | lbonnet | Platform: | x86_64 |  |
| Assigned To: | jtlindgr | OS: | Windows |  |
| Priority: | normal | OS Version: | Vista |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Emotiv driver finding Emotiv SDK on the 2nd try |
| Description: | When starting the Emotiv Driver, you will have to specify the location of Emotiv SDK. When pressing connect for the first time, the sdk is not found, then press connect again and it's found. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001126) ;  .    jtlindgr    ;  .    2013-12-18 16:34    ;  .    ;       git 9ab60494ac93800a5ed236e3b26f05e95dea6242 ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 139 | [openvibe-plugins] bug report | minor | always | 2013-09-06 17:04 | 2013-12-12 15:23 |
| Reporter: | toncho11 | Platform: | Openvibe 0.16 |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Improvements in reading stimulations in Brainamp format |
| Description: | 1) Stimulations are converted to Labels. This should be not the default behavior. This way you read some stimulations and then you output completely different ones (converted to "Labels"). This could be an option, but not default. 2) Space character is expected at line 393 and then removed at line 401: l_sStimulationIdentifier.assign(l_sMarkerDescription, 2, l_sWhat.length()-2); This is also not a standard behavior. Sometimes there can be no space character and then the stimulation code is read without the first digit resulting in an error. |
| Steps To Reproduce: | Code used to fix these: if(l_sMarkerType=="Stimulus" && l_sMarkerDescription.length()>2) { std::string l_sStimulationIdentifier; if(l_sMarkerDescription[0]=='S' /*&& l_sMarkerDescription[1]==' '*/) //modified by Anton { if(l_sMarkerChannelIndex!="0") { getLogManager() << LogLevel_Warning << "Marker [" << CString(l_sMarkerType.c_str()) << ":" << CString(l_sMarkerDescription.c_str()) << "] is not marked on channel 0 and OpenViBE only supports global scope stimulations. Therefore it will this marker will be considered as global\n"; } l_sStimulationIdentifier.assign(l_sMarkerDescription, 1, l_sWhat.length()-1); //modified by Anton } else { l_sStimulationIdentifier = l_sMarkerDescription; } SStimulation l_oStimulation; l_oStimulation.m_ui64Identifier=::atoi(l_sStimulationIdentifier.c_str()); //modified by Anton l_oStimulation.m_ui64StartIndex=::atoi(l_sMarkerPosition.c_str()); l_oStimulation.m_ui64Duration=::atoi(l_sMarkerDuration.c_str()); l_oStimulation.m_sName=l_sMarkerDescription; m_vStimulation.push_back(l_oStimulation); getLogManager() << LogLevel_Trace << "Found stimulation " << l_oStimulation.m_ui64Identifier << " at sample index [" << l_oStimulation.m_ui64StartIndex << ":" << l_oStimulation.m_ui64Duration << "]\n"; } else { getLogManager() << LogLevel_Warning << "Marker [" << CString(l_sMarkerType.c_str()) << ":" << CString(l_sMarkerDescription.c_str()) << "] is not supported. Therefore it will be ignored\n"; } |
| Additional Information: | The attached file contains other fixes as well. |
| Attached Files: | ovpCAlgorithmBrainampFileReader.cpp (19,105) 2013-09-06 17:04 http://openvibe.inria.fr/tracker/file_download.php?file_id=20&type=bug |

Notes ;  .     ;  .        (0001096) ;  .    toncho11    ;  .    2013-09-06 17:45    ;  .    ;       All fixes from several issues are applied here:    http://code.google.com/p/openvibe-gipsa-extensions/source/browse/#svn%2Ftrunk%2Fsrc%2Fbrainamp-reader-fixes [^] ;  .    ;  .     ;  .        (0001108) ;  .    jtlindgr    ;  .    2013-11-07 14:25    ;  .    ;       I'm not personally familiar with the related code, and I have some reservations about the suggestions.    0000001) similar conversions seem to be done inside all BrainAmp drivers in OpenViBE. Making this modification would possibly 'break' designs that rely on the old behavior.    0000002) this is unclear to me if/why this is a bug.    I'd kindly ask you to contact the authors of the BrainAmp components in OpenViBE (see the .h files). I can implement the fixes if you get a green light from the original author(s).  ;  .    ;  .     ;  .        (0001125) ;  .    jtlindgr    ;  .    2013-12-12 15:23    ;  .    ;       Implemented an alternative fix.    git 241c79a22cff014127a9183590043c127ffaac7c ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 93 | [openvibe-plugins] bug report | minor | have not tried | 2012-01-30 14:53 | 2013-11-12 10:17 |
| Reporter: | lbonnet | Platform: | x86 |  |
| Assigned To: | lbonnet | OS: | Linux |  |
| Priority: | low | OS Version: | Fedora |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | unable to reproduce |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Matlab box : warning at compilation time |
| Description: | (reported by Manu Maby, INSERM) When compiling the Matlab box, some warnings are printed. Then such message appear also at runtime (but not only for the designer). |
| Steps To Reproduce: |  |
| Additional Information: | usr/bin/cmake: /matlab/Matlab76/bin/glnxa64/libz.so.1: no version information available (required by /usr/bin/cmake) /usr/bin/cmake: /matlab/Matlab76/bin/glnxa64/libz.so.1: no version information available (required by /usr/lib64/libxml2.so.2) /usr/bin/cmake: /matlab/Matlab76/bin/glnxa64/libz.so.1: no version information available (required by /usr/lib64/libxml2.so.2) kde4-config: symbol lookup error: /usr/lib64/libkdecore.so.5: undefined symbol: qt_locale_initialized kde4-config: symbol lookup error: /usr/lib64/libkdecore.so.5: undefined symbol: qt_locale_initialized kde4-config: symbol lookup error: /usr/lib64/libkdecore.so.5: undefined symbol: qt_locale_initialized kde4-config: symbol lookup error: /usr/lib64/libkdecore.so.5: undefined symbol: qt_locale_initialized |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001124) ;  .    jtlindgr    ;  .    2013-11-12 10:17    ;  .    ;       I have never seen this issue appear. Assuming its gone. If its still a problem, please provide reproduction instructions with latest openvibe, and with full details of the platform/distribution and the matlab version used. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 80 | [openvibe] bug report | minor | always | 2011-09-29 10:36 | 2013-11-12 10:15 |
| Reporter: | Amelie | Platform: | x86 |  |
| Assigned To: | lbonnet | OS: | Windows |  |
| Priority: | normal | OS Version: | XP |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | won't fix |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | NSIS script setup compilation fails with vs90 dependencies |
| Description: | If you install dependencies for visual c++ 2008 platform, you can not compile script "win32-openvibe-x.x.x-setup.nsi" because some files are missing : "ogre-1.7.1-vs100-runtime.zip", "cegui-0.7.2-vs100-runtime.zip" ... (from line 108). |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000957) ;  .    lbonnet    ;  .    2011-09-30 16:02    ;  .    ;       Thanks for feedback!  I will check that when I will be in the packaging process of the upcoming 0.12.0 release, very soon. I'll keep you posted.    Laurent ;  .    ;  .     ;  .        (0000996) ;  .    Amelie    ;  .    2012-02-14 09:38    ;  .    ;       Another similar small problem found in the same file, at line 138 :    ZipDLL::extractall "arch\libvorbis-1.3.2-vs100-runtime.zip" "libvorbis"  ZipDLL::extractall "arch\libogg-1.2.1-vs100-runtime.zip" "libogg"    These libs are not installed so not extracted when using compiler vs90, so I turned these lines into :    ZipDLL::extractall "arch\libvorbis-1.3.2-vs90-runtime.zip" "libvorbis"  ZipDLL::extractall "arch\libogg-1.2.1-vs90-runtime.zip" "libogg" ;  .    ;  .     ;  .        (0000997) ;  .    lbonnet    ;  .    2012-02-14 11:16    ;  .    ;       Indeed, we provide some dependencies in their vs90 & vs100 versions.  This NSIS script is meant to be used by us only with VS2010 to produce the Windows Installer.    I discussed it with my coworker.  Using it with VS2008 is not really in the scope... I mean, this script is not designed to do it, so in our opinion it's not a bug (we don't provide full support for VS2008).    Anyway, this is a good opportunity to use the community website to submit your version of the script as a contribution.    <http://openvibe.inria.fr/community/add-a-contribution/> [^]    This website is still work-in-progress and unreferenced, please excuse the mistakes you may find.  You can create an account and a new post for this contribution. You can either copy-paste the code or provide a link to a file hosted somewhere else.    Thanks !    Laurent ;  .    ;  .     ;  .        (0001123) ;  .    jtlindgr    ;  .    2013-11-12 10:15    ;  .    ;       Please build OpenViBE installers with VS2010. Since the express version is free, this should not be a problem. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 81 | [openvibe] bug report | minor | always | 2011-10-05 15:02 | 2013-11-08 16:47 |
| Reporter: | Amelie | Platform: | x86 |  |
| Assigned To: | lbonnet | OS: | Windows |  |
| Priority: | normal | OS Version: | XP |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Problem in acquisition server with NaN |
| Description: | If one sample returned by a driver is a NaN, it seems that the acquisition server replaces all following samples with NaN. |
| Steps To Reproduce: | m_ui64TotalSampleCount += sizeReceived; if( !m_bNaNSent && m_ui64TotalSampleCount > 5*m_oHeader.getSamplingFrequency() ) { m_pSample[0] = std::numeric_limits<float>::quiet_NaN(); m_bNaNSent = true; } m_pCallback->setSamples(m_pSample,sizeReceived); If you display the signal in the Designer, after 5 seconds all samples of channel 0 are NaN (instead of one sample). All samples of channel 0 are set to NaN in "setSamples". |
| Additional Information: |  |
| System Description |  |
| Attached Files: | acquisition-server-NaN.patch (887) 2012-02-14 19:55 http://openvibe.inria.fr/tracker/file_download.php?file_id=6&type=bug |

Notes ;  .     ;  .        (0000959) ;  .    lbonnet    ;  .    2011-10-07 10:26    ;  .    ;       Confirmed with your given code, tested in the sinus oscillator driver. ;  .    ;  .     ;  .        (0000960) ;  .    lbonnet    ;  .    2011-10-07 14:37    ;  .    ;       The problem seems to be in the setSamples function in ovasCAquisitionServer.cpp line 794.  -----------------------  for(uint32 i=0; i<ui32SampleCount; i++)  {    m_vOverSamplingSwapBuffer=m_vSwapBuffer;    for(uint32 k=0; k<m_ui64OverSamplingFactor; k++)    {      float32 alpha=float32(k+1)/m_ui64OverSamplingFactor;      for(uint32 j=0; j<m_ui32ChannelCount; j++)      {        m_vSwapBuffer[j]=alpha*pSample[j*ui32SampleCount+i]+(1-alpha)*m_vOverSamplingSwapBuffer[j];      }      m_vPendingBuffer.push_back(m_vSwapBuffer);    }  }  -----------------------    I the case alpha=1; k=j=0; I simply have:  m_vSwapBuffer[0] = pSample[0];    when pSample[0]=NAN;, I do have m_vSwapBuffer[0] = NAN after this line.    But when the next buffer is sent I have pSample[0]=1.23456, which surprinsingly gives me m_vSwapBuffer[0] = NAN after the very same line.    Still investigating that... ;  .    ;  .     ;  .        (0000961) ;  .    lbonnet    ;  .    2011-10-07 14:55    ;  .    ;       Ok I found the problem.    m_vSwapBuffer[j]=alpha*pSample[j*ui32SampleCount+i]+(1-alpha)*m_vOverSamplingSwapBuffer[j];    Naturally gives NAN results if one or more parameters in the computation is NAN. (eg. NAN * 0 = NAN; and not 0)    We could add some checking process in the acquisition server to handle NAN samples coming from a driver, but I am not sure it's the best solution.  The driver should not send such value.    Amélie,  Why do you need to send NAN values to the server ? Is it the device that gives you such values ?    Laurent ;  .    ;  .     ;  .        (0000962) ;  .    yrenard    ;  .    2011-10-07 15:05    ;  .    ;       Laurent, in Amelie's case, the driver sends NaN when the wireless connection is lost. I guess Emotiv and Neurosky drivers do the same at the manufacturer's API level, this is a convenient way of telling the rest of the pipeline that there is no value expected there.    So on one hand, the acquisition server is not ready for receiving such value, on the other hand, from a driver & wireless device perspective, that makes sense.    Amelie, if Laurent allows NaN to get into the acquisition server, the problem you'll face next is that the rest of the pipeline will not consider this NaN value correctly and will probably output crap the same way the acquisition server did so far.    Would it be an option to have a constant value instead of a NaN (this is automatic when drift correction is enabled) ?    Another option would be to have a specific stimulation id (similar to what drift correction does) that tells the rest of the pipeline that some of the signal is crap and should not be processed. Then stream switch will help in selecting valid signal vs invalid signal.    Hope this helps,  Yann ;  .    ;  .     ;  .        (0000963) ;  .    Amelie    ;  .    2011-10-07 16:05    ;  .    ;       Hello,  Yann explained perfectly the problem.   I did a plugin to replace NaN values with previous value or something else (the user can choose this in settings), and this plugin can be placed just after the acquisition client.    The drivers Fieldtrip and Robik both give NaN values when a point is lost, so now I just replace NaN values in these drivers.   But the code is duplicated, that's why I would prefer using the plugin. If this problem also exists for other drivers, maybe it would be interesting to use the "replace NaN" plugin ? Or something like drift correction, to choose the replacement algorithm at acquisition server level ?  What's your opinion ? ;  .    ;  .     ;  .        (0000966) ;  .    lbonnet    ;  .    2011-10-10 16:03    ;  .    ;       So I guess we should expect the following behavior :  - The driver can give NaN values, which is specified in the documentation  - The Acquisition server, when receiving NaN value, replaces it with a real value (e.g 0) and tags the signal with a specific stimulation, then retag it when non-NaN values are received again. Same behavior as with the drift correction.    Is this solution ok for you ? ;  .    ;  .     ;  .        (0000968) ;  .    Amelie    ;  .    2011-10-11 08:20    ;  .    ;       Yes it should be ok. ;  .    ;  .     ;  .        (0000974) ;  .    Amelie    ;  .    2012-01-24 16:27    ;  .    ;       All channels are independent, some points can be missing on one channel but not on others.   How will you indicate on which channel the data are missing ? ;  .    ;  .     ;  .        (0000981) ;  .    lbonnet    ;  .    2012-01-30 15:19    ;  .    ;       Indeed...  We obviously can't take one stimulation code per channel. Not viable on the long run.  However, we can play with the constant value that replaces NaN values.  If we use the maximum possible value on a float64, this will result in a spike visible and easily detected in a pipeline.    What do you think ? ;  .    ;  .     ;  .        (0000984) ;  .    Amelie    ;  .    2012-01-31 08:40    ;  .    ;       It's similar to NaN values directly in signal, so it seems good to me. And i find it's also easier with NaNs or a particular value than managing stimulations :) ;  .    ;  .     ;  .        (0000986) ;  .    Amelie    ;  .    2012-01-31 15:28    ;  .    ;       It seems that the biggest double "DBL_MAX" is equal to "1.#INF", so it also causes problems in acquisition server.   Please use any other "big" value. ;  .    ;  .     ;  .        (0000987) ;  .    Amelie    ;  .    2012-01-31 15:47    ;  .    ;       Sorry I did a mistake (I forgot that the data are converted into float32 in acquisition server), the biggest float "FLT_MAX" is transmitted correctly by the acquisition server. ;  .    ;  .     ;  .        (0000995) ;  .    lbonnet    ;  .    2012-02-07 10:41    ;  .    ;       Ok; I also forgot the conversion to float32...  let's go for FLT_MAX then.    I'll come back when the server is patched, so you can test it :)    Laurent ;  .    ;  .     ;  .        (0000998) ;  .    lbonnet    ;  .    2012-02-14 20:02    ;  .    ;       I uploaded a simple patch on the bugtracker (detects NaN and replace by FLT_MAX).  Tested with a Generic Oscillator that sends 1 NaN value per block.    I'm still thinking about how we can handle this.  I can add a setting in the Acquisition Server to choose between:  - replace NaN values with the previous non-NaN value  - replace NaN values with 0  - replace NaN values with FLT_MAX  - Don't replace    Plus add 2 stimulations outputed on the time range of the replacement.    This need more time to get things done; I can't do it right now.    Laurent ;  .    ;  .     ;  .        (0000999) ;  .    yrenard    ;  .    2012-02-16 16:55    ;  .    ;       Using FLT_MAX is certainly a poor strategy as it would saturate any later processing ( as for instance if you want to square the samples in the next box ) and fall back to having INF instead of NAN. This would not be any better.    I think 0 or the previous non-NaN value would be a better strategy as it would not completely break later processing and would still allow to kill the bad epochs with the stimulations if needed. Also if you absolutely need values such as FLT_MAX, a dedicated box could be created that would track the start/end stimulations and replace corresponding values with whatever you prefer. This would move that responsability out of the Acquisition Server and keep things more scalable.    Btw Laurent, I believe there is a function to tell you if a value is numerical in the std::limits scope. This would save you the individual detection of NaN, Inf, and any other weird values :)    Hope this helps,  Yann ;  .    ;  .     ;  .        (0001000) ;  .    Amelie    ;  .    2012-02-16 17:56    ;  .    ;       I already have a box that replaces FLT_MAX, infinity and NaN with :  - previous valid value  - a constant real value  - "quietNaN"  It is possible to easily add an other replacement strategy, but it does not manage stimulations.    Maybe I can send it to Laurent if this functionality does not shift to acquisition server. ;  .    ;  .     ;  .        (0001001) ;  .    lbonnet    ;  .    2012-02-17 10:28    ;  .    ;       ACK  Ok Yann I understand the problem (and thx for the std::limits stuff).    Since the beginning I have trouble seeing where and what correction should be preferred...    On the server side I still think the stimulation+replacement solution is good, but you loose the channel information. (you get a stimulation, but you don't know which channel is faulty). Is this a major problem for you Amélie ?    As a replacement value, "Previous non-NaN value" or "0" should be preferred (set by user), as non numerical value will do crap afterward; I get it.    Laurent ;  .    ;  .     ;  .        (0001002) ;  .    Amelie    ;  .    2012-02-17 10:42    ;  .    ;       Yes it is a major problem for me if we do not know which channel lost data, because in my case to many points would have to be considered as invalid.     Maybe stimulations like this could indicate the faulty channel ?  #define OVTK_StimulationId_Label(i) 0x00008100|((i)&0xff) ;  .    ;  .     ;  .        (0001006) ;  .    lbonnet    ;  .    2012-03-01 16:23    ;  .    ;       After some discussion with the dev team, we decided to move the responsability of tracking these values out of the acquisition process.    The Acquisition Server will have an option for managing out-of-limits values:  - replace by 0  - replace by last normal value  - no replacement (in this case, NaN values are sent when received - but we will ensure it's not propagated)    And the 2 stimulations will be outputed to know the time period of the replacement, as for the drift correction.    In your case Amélie, you want accurate detection of these NaN values, channel by channel. This is important for you but in our opinion it should not be the case for the majority. The development of your "Replacement box" is then totally justified and represent a good contribution for users that share the same priority.    Laurent ;  .    ;  .     ;  .        (0001019) ;  .    lbonnet    ;  .    2012-05-14 16:55    ;  .    ;       This modification has been developed and commited in the trunk.    The Acquisition server preferences now show the 3 possible behaviors.    The invalid samples are between the 2 stimulations OVTK_GDF_Incorrect and OVTK_GDF_Correct, same as the drift correction.    Laurent- ;  .    ;  .     ;  .        (0001122) ;  .    jtlindgr    ;  .    2013-11-08 16:47    ;  .    ;       Based on the discussion, I assume this issue has been settled. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 69 | [openvibe] feature request | minor | have not tried | 2011-02-24 19:30 | 2013-11-08 16:43 |
| Reporter: | na_paul | Platform: | x86 |  |
| Assigned To: | lbonnet | OS: | Windows |  |
| Priority: | high | OS Version: | XP |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | suspended |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | OpenVibe driver requested for Contec KT88 24-channel |
| Description: | For a cheap system this is surprisingly effective and I have been using clinically and for research for ~6 months now. Also having good results analysing the saved edf file in sLoreta. BUT! Would be fantastic to be able to link to OpenVibe. There is now a Yahoo Conteckt88 user group, and there would be a lot of interest in using OpenVibe. I know someone has produced a driver for the Contec 16 channel model but I don't know how effective it is. It also doesn't work with the 24 channel system. The 24 channel system samples at 200Hz whereas the 16 channel system samples at only 100Hz. I would be happy to contribute some costs if someone could produce a driver. I could supply a data sample from a COM port sniffer if that would help. na_paul |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: | openvibe3009M_conteckt88-201107031751.patch.gz (8,661) 2011-07-04 14:36 http://openvibe.inria.fr/tracker/file_download.php?file_id=3&type=bug |

Notes ;  .     ;  .        (0000918) ;  .    yrenard    ;  .    2011-02-25 17:07    ;  .    ;       Dear na_paul,    thank you for this feature request. Actually, I am member of this yahoo group myself and I already discussed w/ Alexandra on her blog about this alpha driver she published. She did not yet explicitly gave us the "go" for integration in OpenViBE. Actually, she must accept to put this code in L-GPL v2+ so we can put it in OpenViBE and she did not specify a license yet. Maybe you will have more influence than I do to convince her to turn her code L-GPL v2+.    Best regards,  Yann ;  .    ;  .     ;  .        (0000927) ;  .    na_paul    ;  .    2011-03-15 13:02    ;  .    ;       Dear Yann,     Thanks for replying to me re my request for a driver for the Contec 24 channel system.   I uploaded some files to the Yahoo group - you may have seen them - including a data sample from a com port monitor.  There are actually 26 2-byte channels, the extra 2 being P1 and P2 reference signals.  I am not sure how to upload files to the request area on the OpenVibe forum. If you think the files will be useful to post there please do so.   I hope that if anyone is trying to write a driver they can make it for the 24 channel system, which is a bit different to the Contec 16 channel system that some people are using. The 24- channel system has more potential as thesampling rate is 200/sec and has several extra ecg, eog etc channels.  I have emailed Contec to request the order of the data in the data stream.      Regards     Paul Dennison ;  .    ;  .     ;  .        (0000929) ;  .    kawk    ;  .    2011-07-03 18:00    ;  .    ;       Hi,    I've just uploaded a slightly updated version of the driver to the group's files section:        ixokawk/openvibe3009M_conteckt88-201107031751.patch.gz    It contains basically the old code from Emerson, plus menu selection of COM port, some code re-styling, and I've tested it under Linux. I hope it isn't far from being good enough to be included as unstable in OpenViBE trunc.    Also, one can select 24 or 32 channels in the configuration and it would try to read so many values from one sample. It should be able to resync on the next sample on a 2400 even if the driver was configured to read less channels. I wonder if that's all to do to support the 2400 and 3200 models. It maybe already can cope with the 200 Hz sample rate as well. At least the logs uploaded by Paul let me hope so.    The loop needs some restructuring, e.g. call read() less often. But I'd like to get some reports about the current version first; whether it's working somehow with 24 channels right now..    Kolja ;  .    ;  .     ;  .        (0000930) ;  .    kawk    ;  .    2011-07-03 18:04    ;  .    ;       A note regarding the licenses. As code was uploaded by both Alexandra and Emerson (and now me) especially crafted for OpenViBE, I believe we can assume it is the intention of all contributors to have it integrated here, and if that means it gets LGPL that is quite certainly okay for all. ;  .    ;  .     ;  .        (0000931) ;  .    yrenard    ;  .    2011-07-03 20:24    ;  .    ;       Dear Kawk,    thank you for this very good work. I haven't looked at the code yet but based on the description you gave, I guess this would be included by Laurent in the next release (he'll judge). The only thing that must be checked is if Alexandra and Emerson actually agree to put the code LGPL v2+. I do believe we can assume their intention as well, but when it comes to licenses, believing and assuming is not enough. They have to _explicitly_ agree.    Thanks again for the good work,    Yann ;  .    ;  .     ;  .        (0000932) ;  .    kawk    ;  .    2011-07-04 07:59    ;  .    ;       Here are the answers from all three as given today, posting to the Yahoo group in reply to my inquiry:    http://tech.groups.yahoo.com/group/conteckt88/message/70 [^]    Alexandra: "OK!"  Emerson: "I'm ok with it!"  Graham: "I am pleased for it to be included in OpenVibe under the afformentioned license..." ;  .    ;  .     ;  .        (0000933) ;  .    yrenard    ;  .    2011-07-04 10:46    ;  .    ;       Dear Kawk,    congratulations, you've been really efficient on this one !    I'll point Laurent to this discussion !  Regards,  Yann ;  .    ;  .     ;  .        (0000935) ;  .    kawk    ;  .    2011-07-04 14:38    ;  .    ;       For convenienve I uploaded the same patch here as well. I should've noted that I didn't actually compile it in Windows environment, but I strongly believe that at worst there might be one or two typos to fix, because I didn't change much from the previous version that was for Windows only. Setting up a compilation environment in Windows for testing is still on my to-do list. ;  .    ;  .     ;  .        (0000936) ;  .    lbonnet    ;  .    2011-07-04 15:06    ;  .    ;       Hi Kolja !    Thanks for the contribution, it's much appreciated !  I was going into the process of joining your yahoo group in order to get the files, but the profile creation somehow failed... anyway it's easier for me here.    I put this patch into the pipe for the upcoming release (this summer)  I'll let you know if any question remains at that time.    I won't be able to test it past compilation as we don't have the device, but if you do have time to run some acquisition tests in windows it would be great !    Congratulation all for this work :)  BR,    Laurent ;  .    ;  .     ;  .        (0000937) ;  .    lbonnet    ;  .    2011-07-04 15:08    ;  .    ;       The patch will be included in the upcoming release process (-->0.11.0). ;  .    ;  .     ;  .        (0000938) ;  .    kawk    ;  .    2011-07-05 12:03    ;  .    ;       In case I create more updates before, shall I produce new patches against trunk or against trunk+older patch? Kolja ;  .    ;  .     ;  .        (0000939) ;  .    lbonnet    ;  .    2011-07-26 15:46    ;  .    ;       Hi Kolja,  I took some days off, and I'm back in business now. I registered to the Yahoo group and downloaded the files.  I will be starting the integration soon. If you have any more update (windows test ?) let me know.    BR  Laurent ;  .    ;  .     ;  .        (0000940) ;  .    lbonnet    ;  .    2011-08-01 15:00    ;  .    ;       Dear Kolja,  I am currently in the integration process of your contribution.    I had no problem on Linux, few more on Windows (see below).  I don't know if you had the opportunity to do some tests on windows, please let me know if I need an update about that.    I would like to send you precompiled acquisition server binaries (windows and Linux) in order for you to test what the release version of your driver would be. Please let me know if it's possible, and what operating system you may test (windows & Linux, 32 / 64b).    Best regards    Laurent    -----------------------------------------------------------------------  Integration log:  ----------------  On Ubuntu 10.04 LTS x86_64 :  -No compilation problem.  -At runtime, the connection fails (tcgetattr() failed on the port name). I suppose it's expected.    On windows 7 64b:  - Compilation:  ovasCDriverContexKT88.cpp: line 434 '::SetCommState(*pFileDescriptor, &dcb);' ---> "dcb not found"  I replaced it with:  ::SetCommState(*pFileDescriptor, &l_oDCB);//dcb  Which seemed the most reasonable choice in this context. But I am not very sure.    - Runtime:  Without any device plugged in, I manage to "connect" and "play".  I was expecting the server to stop the driver automatically after the 5sec timeout (no sample received), but the driver keeps working (however no data received on client side as expected).  I manually stop the acquisition, and I got a huge freeze. Then the server actually stops and prints me a message about timeout reached. ;  .    ;  .     ;  .        (0000941) ;  .    kawk    ;  .    2011-08-01 15:13    ;  .    ;       I'll have a look ASAP. Still had no chance to test it on Windows. ;  .    ;  .     ;  .        (0000942) ;  .    kawk    ;  .    2011-08-01 20:42    ;  .    ;       The tcgetattr failure is expected if the port can't be opened at all. The freeze if the port can be opened but there's no data is not. It happens because return values aren't checked properly. I actually planned to leave the current implementation "unpolished" as is, because the strategy of issuing system calls for every single byte has to be replaced by better code anyway some day.. My priority was to get out code for testing for the KT88-2400 users so they could validate my assumptions about decoding that data.    I didn't realize that you do quite stringent quality assurance on svn trunk. If you prefer, I'll prioritize quality over quick prototyping and rework the code.    There are a few more issues with the current patch:    - The list of ports to select from is restricted to just a few "popular" ones. On Windows, e.g. COM20 can't be selected, and on Linux, ttyS20 is out of reach as well. I'm not sure how to handle this properly. Best would be to actually gather a list of available ports but that's quite a lot of work. The OpenEEG driver anyway does it the same way.    - Currently, the sampling frequency and the maximum number of channels don't actually depend on the actual device (KT88 may have 16 up to 32 channels). In fact, a two-step setup would be more appriopriate (port and/or device variant first, then parameters within variant-dependent limits) but I'm not sure how to implement that in this environment. Is it possible to dynamically change limits of options (sample rate, channels) dependent on one other selection (device variant)?    - When running, it shows acquisition jitter of more than 5ms. Do I have to bother yet or may this be something that can't be really improved?    Thanks for your efforts in checking my efforts 8) - Kolja ;  .    ;  .     ;  .        (0000945) ;  .    lbonnet    ;  .    2011-08-02 14:14    ;  .    ;       Hi Kolja !  And thanks again for the work.    We do have a strong contribution policy, and as openvibe is officially compatible with many operating system, the trunk must compile and execute no matter what :)    Quick prototyping is good, as long as we warn the users of the possible outcomes.  If you think the driver is stable enough for testing, but needs some more work it's fine. I can create a new dedicated branch in the svn, including a proper warnings and instructions file.  KT88 users could test your driver at will, without any risk for the trunk stability. You could continue the development, and provide me patches for the branch.  As the main developer of the branch, you would have to answer to the possible questions users may ask on the forum (bug reports, feature requests).    On the other hand, we can just wait and postpone the integration (following release scheduled around November). I don't want to rush you.    I let you decide :)  Anyway, thanks again for this contribution that will surely enlarge our community!    Laurent ;  .    ;  .     ;  .        (0001121) ;  .    jtlindgr    ;  .    2013-11-08 16:43    ;  .    ;       As there hasn't apparently been any progress in this for a few years, I mark this as suspended. If this is still relevant and you'd like to reopen the issue, we'd kindly request functional driver code that meets up the OpenViBE quality standards, has a compatible license, and builds with v0.16+. Also, as we do not have the device in question, we would not be able to support it by the OpenViBE core team. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 66 | [openvibe-plugins] bug report | minor | always | 2010-11-23 15:33 | 2013-11-08 15:44 |
| Reporter: | lbonnet | Platform: | x86 |  |
| Assigned To: | jtlindgr | OS: | Windows Seven |  |
| Priority: | normal | OS Version: | 64b |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Simple DSP freezing with a "large" equation |
| Description: | The equation tested is precisely: (3*sin(2*m_pi*x)) * (3*sin(2*m_pi*x)) A message is printed in the console: [ TRACE ] At time 0 (0x0)<Box algorithm::Simple DSP> Parsing equation [(3*sin(2*M_PI*x))*(3*sin(2*M_PI*x))]... And then it just freezes (I waited about 1 minute before hard-stop). When trying the equation (which is the same without unnecessary parenthesis): 3*sin(2*M_PI*x)*3*sin(2*M_PI*x) it works fine, I just have to wait few seconds. |
| Steps To Reproduce: | Time signal + DSP with the equation, then signal display. |
| Additional Information: | sample scenario provided |
| Attached Files: | test.xml (28,476) 2010-11-23 15:33 http://openvibe.inria.fr/tracker/file_download.php?file_id=2&type=bug |

Notes ;  .     ;  .        (0001062) ;  .    jtlindgr    ;  .    2013-01-21 16:56    ;  .    ;       Parsing the expression seems to lead to a hopelessly long recursive expansion inside boost. If we don't expect a bug in boost, I suspect there could be something fishy in the grammar specified in ovpCEquationParserGrammar.h. If rules for fun(expression) and (expression) are added to it, the example seems to work reasonably, but not being a grammar guru, I have no idea if this totally ruins the parsing for some other cases.    The modded rules,                function =                  (root_node_d[as_lower_d[unaryFunction_p]] >> no_node_d[ch_p('(')] >> expression >> no_node_d[ch_p(')')]) |                  (root_node_d[as_lower_d[unaryFunction_p]] >> no_node_d[ch_p('(')] >> ifthen >> no_node_d[ch_p(')')]) |                  (root_node_d[as_lower_d[binaryFunction_p]] >> no_node_d[ch_p('(')] >> infix_node_d[(ifthen >> ',' >> ifthen)] >> no_node_d[ch_p(')')]);                factor = (function | constant | variable | real)                  | inner_node_d['(' >> expression >> ')']                  | inner_node_d['(' >> ifthen >> ')']                  | (root_node_d[ch_p('-')] >> factor)                  | (root_node_d[ch_p('+')] >> factor); ;  .    ;  .     ;  .        (0001120) ;  .    jtlindgr    ;  .    2013-11-08 15:44    ;  .    ;       After some testing, it appeared that adding       inner_node_d['(' >> expression >> ')']    as a component of factor sufficed to address the issue. I also saw the same solution in some other parsers on the net. Preliminary tests did not indicate the mod to cause other problems, but it is challenging to test conclusively.    Fixed in git #b98c1ebdc37568e5a7cd6b032785e247b261e779 ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 144 | [openvibe-plugins] feature request | minor | always | 2013-11-06 11:29 | 2013-11-08 11:39 |
| Reporter: | toncho11 | Platform: | all |  |
| Assigned To: | jtlindgr | OS: | all |  |
| Priority: | normal | OS Version: | all |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Stream Switch does not have a default output |
| Description: | The Stream Switch box does not output anything until a stimulation is received. The more natural way is that the box outputs always on for example the first output channel, but changes to the second output when stimulation is received. If you do not consider this errors behavior ... then you can add an option(checkbox) "Use first channel as default" and then the other as the one to switch when stimulation is received. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001119) ;  .    jtlindgr    ;  .    2013-11-08 11:39    ;  .    ;       Implemented in git #0ea70e484d3a815c586b1a3dcdae282774a35b84    By default the plugin will behave as before. But now the user can choose the requested behavior by setting a boolean flag in the box config. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 136 | [openvibe-plugins] bug report | minor | always | 2013-07-31 16:04 | 2013-11-08 09:29 |
| Reporter: | toncho11 | Platform: | OpenVibe 16 |  |
| Assigned To: | jtlindgr | OS: | Windows |  |
| Priority: | normal | OS Version: | Windows |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Brainamp reader bug |
| Description: | The reader is checking for "FLOAT_32" instead of "IEEE_FLOAT_32" which is according to documentation: http://campus.uni-muenster.de/fileadmin/einrichtung/biomag/EEG-Labor/VisionRecorderManual.doc [^] |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001098) ;  .    toncho11    ;  .    2013-09-06 17:46    ;  .    ;       All fixes from several issues are applied here:    http://code.google.com/p/openvibe-gipsa-extensions/source/browse/#svn%2Ftrunk%2Fsrc%2Fbrainamp-reader-fixes [^] ;  .    ;  .     ;  .        (0001110) ;  .    jtlindgr    ;  .    2013-11-07 15:14    ;  .    ;       git # 81a1d171ef1586a9c7c6b70218f8f400ddae3f31 ;  .    ;  .     ;  .        (0001116) ;  .    yrenard    ;  .    2013-11-07 21:53    ;  .    ;       did the brainamp file reader move to the contrib folder now ? ;  .    ;  .     ;  .        (0001117) ;  .    jtlindgr    ;  .    2013-11-08 09:20     (edited on: 2013-11-08 09:21) ;  .    ;       No, I did not apply the patch or take the supplied file(s), but implemented my own fix.    ;  .    ;  .     ;  .        (0001118) ;  .    yrenard    ;  .    2013-11-08 09:29    ;  .    ;       ok, thanks for the feedback ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 4 | [openvibe-plugins] feature request | major | N/A | 2009-07-24 14:24 | 2013-11-07 16:42 |
| Reporter: | anonymous | Platform: |  |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | won't fix |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | IT++ binding to IMatrix for signal processing developpers |
| Description: | It would be great to have IT++ matrix binding to OpenViBE IMatrix. Such binding would dramatically speed up signal processing plugins development |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001114) ;  .    jtlindgr    ;  .    2013-11-07 16:42    ;  .    ;       ITPP does not seem to be very actively developed, and appears to have been dropped from some Linux distributions. Current OpenViBE recommendation is to use Eigen for matrix algebra. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 128 | [openvibe-plugins] bug report | minor | always | 2013-03-27 14:40 | 2013-11-07 16:23 |
| Reporter: | serpil | Platform: | windows 7 |  |
| Assigned To: | jtlindgr | OS: | Windows |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Channel Selector Input/Output type |
| Description: | Create a channel selector. Modify the output type. We can see a lot of type (see BugReportSignalType.png), but for channel selector there is only 2 available types (signal and spectre). We can select the other type but after notification, nothing happen and there isn't any message in the log manager. Is it possible to show only available type? |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: | BugReportSignalType.png (224,429) 2013-03-27 14:40 http://openvibe.inria.fr/tracker/file_download.php?file_id=16&type=bug |

Notes ;  .     ;  .        (0001113) ;  .    jtlindgr    ;  .    2013-11-07 16:23    ;  .    ;       Added error printing to the log. Unfortunately limiting the options in the gui would have required deeper changes. We may consider doing it in the future.    git # 58a1e5c37c02af187920f5ef7a3172626853757e ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 56 | [openvibe-windows-installer] feature request | minor | always | 2010-06-30 09:54 | 2013-11-07 15:28 |
| Reporter: | jporcher | Platform: |  |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | won't fix |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Uninstall should only remove installed files |
| Description: | - Install OpenViBE - Save some scenarios in OpenViBE installation folder (default) - Uninstall OpenViBE Saved scenarios are removed. Uninstall should only remove files installed upon installation. Any other new file should be left. See http://nsis.sourceforge.net/Uninstall_only_installed_files [^] |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001067) ;  .    jtlindgr    ;  .    2013-02-18 11:46    ;  .    ;       Writing to install folders is bad habits anyway. I suggest we fix this in a future release in a manner that all writing will happen to $HOME/.openvibe/ on Linux and $APPDATA/openvibe/ on Windows. In addition, we may move from NSIS to CPACK, we'll see. ;  .    ;  .     ;  .        (0001112) ;  .    jtlindgr    ;  .    2013-11-07 15:28    ;  .    ;       In 0.16.0+, users should make personal copies of scenario folders before using them. Shipped scenarios attempt to write to scenario folders, but other than that, OpenViBE no longer should write to its install tree. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 133 | [openvibe] feature request | minor | have not tried | 2013-05-23 17:52 | 2013-11-07 15:25 |
| Reporter: | toncho11 | Platform: |  |  |
| Assigned To: | jtlindgr | OS: | Linux |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | won't fix |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Add Emotiv Linux driver patch |
| Description: | There is a driver that can be added, so that Emotiv is Linux supported https://github.com/thibaultbronchain/openemo [^] I can borrow you my Linux libs and license for the integration of the driver. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001111) ;  .    jtlindgr    ;  .    2013-11-07 15:25    ;  .    ;       Emotiv EPOC driver is a non-contrib component of OpenViBE. We cannot unfortunately accept (or grab) patches to non-contrib components without getting a physical rights transfer document from the original author of the patch.    More information,     http://openvibe.inria.fr/contribution-rules/ [^] ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 138 | [openvibe-plugins] bug report | minor | always | 2013-08-01 17:50 | 2013-11-07 15:14 |
| Reporter: | toncho11 | Platform: | OpenVibe 16.1 |  |
| Assigned To: | jtlindgr | OS: | Windows |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Crash of Brainamp reader in IEEE_FLOAT_32 mode |
| Description: | The line: m_pBuffer=new uint8[op_pSignalMatrix->getBufferElementCount()*sizeof(int16)]; is errors because it does not consider the other 2 types uin16 and float32. For float32 it crashes because float32 is 4 bytes and not 2 (int16) |
| Steps To Reproduce: | The fix to move these lines below where the type is considered. if(this->isInputTriggerActive(OVP_Algorithm_BrainampFileReader_InputTriggerId_Next)) { float64* l_pSignalMatrixBuffer=op_pSignalMatrix->getBuffer(); #define _do_it_with_type_(T) \ { \ if(!m_pBuffer) \ { \ m_pBuffer=new uint8[op_pSignalMatrix->getBufferElementCount()*sizeof(T)]; \ } \ uint8* l_pFileBuffer=m_pBuffer; \ T l_tValue; \ m_oDataFile.read((char*)l_pFileBuffer, op_pSignalMatrix->getBufferElementCount()*sizeof(T)); \ boolean (*l_fpFileToHost)(const uint8*, T*); \ if(m_ui32Endianness==Endianness_LittleEndian) \ { \ l_fpFileToHost=System::Memory::littleEndianToHost; \ } \ else \ { \ l_fpFileToHost=System::Memory::bigEndianToHost; \ } \ for(uint32 j=0; j<m_ui64SampleCountPerBuffer; j++) \ { \ for(uint32 i=0; i<m_ui32ChannelCount; i++, l_pFileBuffer+=sizeof(T)) \ { \ (*l_fpFileToHost)(l_pFileBuffer, &l_tValue); \ l_pSignalMatrixBuffer[i*m_ui64SampleCountPerBuffer+j]=m_vChannelScale[i]*l_tValue; \ } \ } \ } if(m_ui32BinaryFormat==BinaryFormat_Integer16) |
| Additional Information: | I have attached a file that you just need to commit and the bug will be fixed. |
| Attached Files: | ovpCAlgorithmBrainampFileReader.cpp (19,081) 2013-08-01 17:50 http://openvibe.inria.fr/tracker/file_download.php?file_id=19&type=bug |

Notes ;  .     ;  .        (0001097) ;  .    toncho11    ;  .    2013-09-06 17:46    ;  .    ;       All fixes from several issues are applied here:    http://code.google.com/p/openvibe-gipsa-extensions/source/browse/#svn%2Ftrunk%2Fsrc%2Fbrainamp-reader-fixes [^] ;  .    ;  .     ;  .        (0001109) ;  .    jtlindgr    ;  .    2013-11-07 15:14    ;  .    ;       git # 81a1d171ef1586a9c7c6b70218f8f400ddae3f31 ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 137 | [openvibe-plugins] bug report | minor | have not tried | 2013-08-01 16:31 | 2013-11-05 13:49 |
| Reporter: | toncho11 | Platform: | Openvibe 16.1 |  |
| Assigned To: | jtlindgr | OS: | Windows |  |
| Priority: | normal | OS Version: | Wondows |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Missing channel names in box "Stream Synchronization" |
| Description: | Missing channel names in box "Stream Synchronization". In file ovpCOutputChannel.cpp, method SendHeader The following line must be added before outputting the header: //copy channel names for (int i = 0; i< pMatrix->getDimensionSize(0); i++) ip_pMatrixSignal->setDimensionLabel(0, i , pMatrix->getDimensionLabel(0,i)); |
| Steps To Reproduce: | The method becomes: void COutputChannel::sendHeader(OpenViBE::uint64 samplingRate, OpenViBE::CMatrix* pMatrix) { IBoxIO& l_rDynamicBoxContext=m_pTBoxAlgorithm->getDynamicBoxContext(); m_oMatrixBuffer = pMatrix; m_ui64SamplingRate = samplingRate; op_pMemoryBufferSignal = l_rDynamicBoxContext.getOutputChunk(SIGNAL_CHANNEL); ip_pMatrixSignal = m_oMatrixBuffer; ip_ui64SamplingRateSignal = m_ui64SamplingRate; //copy channel names for (int i = 0; i< pMatrix->getDimensionSize(0); i++) ip_pMatrixSignal->setDimensionLabel(0, i , pMatrix->getDimensionLabel(0,i)); m_pStreamEncoderSignal->process(OVP_GD_Algorithm_SignalStreamEncoder_InputTriggerId_EncodeHeader); l_rDynamicBoxContext.markOutputAsReadyToSend(SIGNAL_CHANNEL, 0, 0); } |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001106) ;  .    jtlindgr    ;  .    2013-11-05 13:49    ;  .    ;       git #3002468aed56f46de4be23b6cf0d7eac45f6f380 ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 143 | [openvibe] patch submission | minor | always | 2013-10-30 16:52 | 2013-10-31 14:34 |
| Reporter: | ozan.caglayan | Platform: | x86_64 |  |
| Assigned To: | jtlindgr | OS: | Linux |  |
| Priority: | normal | OS Version: | Fedora |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Make matlab plugin work correctly on Linux |
| Description: | 1. Setting LD_LIBRARY_PATH in linux-build was breaking the normal build as some libraries were found under matlab folder instead of the system-wide ones. Drop all MATLAB tricks from linux-build. 2. FindThirdPartyMatlab.cmake correctly finds matlab if "matlab" is in $PATH. The compilation and linking also works fine but CMake removes RPATH's from binaries upon installing. So currently matlab libraries can not be found even with the .sh runner scripts. Tweak CMake files for matlab plugin so that the RPATH for libmex.so is left inside the library. Built and tested on F19 x86_64. Ran plugin-inspector, designer and acquisition-server and all loads the matlab plugin correctly. Attached is the patch to fix the issue. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: | matlab.patch (1,052) 2013-10-30 16:52 http://openvibe.inria.fr/tracker/file_download.php?file_id=22&type=bug |

Notes ;  .     ;  .        (0001105) ;  .    jtlindgr    ;  .    2013-10-31 14:34    ;  .    ;       Tried to address the issue without resorting to using RPATH. In git. Please let us know if the solution works for you. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 142 | [openvibe] bug report | crash | always | 2013-10-25 14:08 | 2013-10-25 15:37 |
| Reporter: | manuel.delverme | Platform: | x86 |  |
| Assigned To: | jtlindgr | OS: | Linux |  |
| Priority: | high | OS Version: | Ubuntu |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | openvibe-designer crashes when training p300speller-xDawn |
| Description: | openvibe-designer crashes when training p300speller-xDawn |
| Steps To Reproduce: | run openvibe/dist/openvibe-designer.sh --play-fast openvibe/dist/share/openvibe/scenarios/bci-examples/p300-speller-xDAWN/p300-speller-2-train-xDAWN.xml the data used is attached here |
| Additional Information: | the dataset is likely to be corrupted but i get no hint about what's wrong with it |
| System Description |  |
| Attached Files: | p300-speller-xdawn-1-[2013.10.25-13.08.31].ov (1,893,186) 2013-10-25 14:08 http://openvibe.inria.fr/tracker/file_download.php?file_id=21&type=bug |

Notes ;  .     ;  .        (0001104) ;  .    jtlindgr    ;  .    2013-10-25 15:37    ;  .    ;       The issue was the stream not containing a valid sampling rate. Added some checks against sampling rate being 0.    Fixed in git 5203d26a62e2ce649407b481471cb51826d9ff3d ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 141 | [openvibe-plugins] bug report | minor | always | 2013-10-15 17:45 | 2013-10-17 11:48 |
| Reporter: | toncho11 | Platform: | OpenVibe git latest |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Compilation failure for #warning |
| Description: | \openvibe\common\include\ov_common_defines.h The file above uses a directive #warning that is not Microsoft compiler. See here: http://stackoverflow.com/questions/171435/portability-of-warning-preprocessor-directive [^] This fails my build. |
| Steps To Reproduce: | #warning should be replaced by #pragma message |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001100) ;  .    toncho11    ;  .    2013-10-15 17:48    ;  .    ;       not supported by Microsoft 2010 C++ compiler. ;  .    ;  .     ;  .        (0001101) ;  .    toncho11    ;  .    2013-10-15 17:50    ;  .    ;       4 times it must be changed ;  .    ;  .     ;  .        (0001103) ;  .    jtlindgr    ;  .    2013-10-17 11:48    ;  .    ;       git 851221b99f70f83b10bb910ea09c247337f444c2 ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 130 | [openvibe] bug report | minor | always | 2013-03-28 18:50 | 2013-07-31 11:06 |
| Reporter: | fcab | Platform: | x86_64 |  |
| Assigned To: | jlegeny | OS: | Linux |  |
| Priority: | normal | OS Version: | Ubuntu |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | SSVEP targets do not blink at the correct frequencies |
| Description: | In both ssvep-demo-training and ssvep-demo-shooter applications, targets do not blink at the correct frequencies on Ubuntu linux 64bits / Nvidia OpenGL. The same applications work perfectly on a windows OS with DirectX. I've added some debugging stuff in the C++ code to try locating the problem, but did not succeed. Looks like: 1) the CSSVEPFlickeringObject::processFrame hook is called 60 times per second, as it must be; 2) in this hook each target visibility is changed correctly according to the 'lit' and 'dark' durations; 3) but the display is not updated... Therefore, the targets do not blink at the correct frequency and the ssvep scenario does not work. |
| Steps To Reproduce: | 1) run the ssvep scenario ssvep-bci-1-ssvep-configuration; 2) run the ssvep scenario ssvep-bci-2-training-acquisition in order to display the "SSVEP Stimulator" window; 3) hit space to start... |
| Additional Information: | System: Dell Latitude E6510 laptop OS: Linux 3.2.0-39-generic 0000062-Ubuntu SMP Thu Feb 28 00:28:53 UTC 2013 x86_64 x86_64 x86_64 GNU/Linux Graphics card: NVIDIA NVS 3100M, vbios 70.18.53.01.07 Driver version: 304.64 Display resolution 1920x1080 at 60Hz |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001092) ;  .    jlegeny    ;  .    2013-07-30 14:35    ;  .    ;       On Linux one has to either disable the compositing desktop or run the application in fullscreen to be able to leverage the VSync feature which is crucial for the flickering to work correctly. ;  .    ;  .     ;  .        (0001094) ;  .    jlegeny    ;  .    2013-07-31 11:06    ;  .    ;       won't fix ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 116 | [openvibe] feature request | minor | have not tried | 2012-07-24 14:40 | 2013-07-31 11:04 |
| Reporter: | antona | Platform: | Trunc |  |
| Assigned To: | jlegeny | OS: |  |  |
| Priority: | normal | OS Version: | Windows |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Integration of GTEC driver from GIPSA |
| Description: | Source location: https://openvibe-gipsa-extensions.googlecode.com/svn/trunk/src/gtec-gusbamp-gipsa [^] Below is the documentation that I have put in the header file: * This driver was rewritten to match the code provided by GTEC as much as possible. There are several things * that all must work together, so that higher frequencies are supported and no hardware triggers are lost. * * This driver supports several buffers so that the more than one GT_GetData can be executed in the beginning (QUEUE_SIZE) * and then calls to GT_GetData are queued. This allows to keep QUEUE_SIZE data calls at all times. This allows for faster * data acquisition, because you do not wait for the previous data acquistion to complete. * * Thread has been added (as in the original code from Guger) to allow for async IO. The Acqusition server thread is * doing the "reading" while this does not block the thread in the GTEC driver "writing" the data from the amplifier. * Both are connected by a ring buffer provided by Guger. * * Hardware triggers on the parallel port are supported. * * This driver also sets the current process to higher priority when started and reverts to normal when stopped. * * It can also set the GTEC thread (which reading from the amplifier) to higher priority, but you should enable this according * to your needs. * * This driver always reads 17 channels: 16 + 1 (16 are EEG channels + 1 is the last channel for triggers from the parallel port of the GTEC) * Although 17 channels are read only "m_ui32AcquiredChannelCount" + 1(if m_pTriggerInputEnabled==true) are displayed. * If m_ui32AcquiredChannelCount=6 and m_pTriggerInputEnabled=true then the output in OpenVibe is 7 channels. If m_pTriggerInputEnabled=false then 6. * * Currently one limitation: only one device is supported even if most of the code for supporting more is already there * * Troubleshooting: "m_ui32TotalRingBufferOverruns" and "m_ui32TotalDriverChunksLost" are to be checked. Higher values are worst. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001074) ;  .    antona    ;  .    2013-02-20 11:17    ;  .    ;       The only thing missing is the UI for selecting the master. Currently the system selects a master device (the last in the queue) and the user must comply with this arrangement by checking the ID of the devices from the console.    A dropdown list with serial numbers can be added. Then the master device ID should be set as the one in the programming queue "m_callSequenceHandles" because we do not know if this is critical for the driver to function properly. We better keep it as the last one. ;  .    ;  .     ;  .        (0001093) ;  .    jlegeny    ;  .    2013-07-31 11:04    ;  .    ;       The driver was integrated in the 0.16.0 release ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 135 | [openvibe] bug report | minor | always | 2013-07-21 01:05 | 2013-07-30 14:32 |
| Reporter: | toncho11 | Platform: | OpenVibe 0.16.1 |  |
| Assigned To: | jlegeny | OS: | Windows |  |
| Priority: | normal | OS Version: | XP |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Software Tagging does not consider config parameters |
| Description: | Project: openvibe-plugins-acquisition The following parameters are never read from openvibe.conf AcquisitionServer_ExternalStimulations = AcquisitionServer_ExternalStimulationsQueueName = |
| Steps To Reproduce: | File is: \openvibe-016\contrib\plugins\server-extensions\external-stimulations\ovasCPluginExternalStimulations.cpp |
| Additional Information: | Fix should be something like this: m_bIsExternalStimulationsEnabled = m_rKernelContext.getConfigurationManager().expandAsBoolean("${AcquisitionServer_ExternalStimulations}", false); m_sExternalStimulationsQueueName = m_rKernelContext.getConfigurationManager().expand("${AcquisitionServer_ExternalStimulationsQueueName}"); |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001091) ;  .    jlegeny    ;  .    2013-07-30 14:32    ;  .    ;       Applied the suggested patch to fix the issue ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 131 | [openvibe] patch submission | text | have not tried | 2013-05-23 14:32 | 2013-07-23 16:04 |
| Reporter: | ozan.caglayan | Platform: | x86_64 |  |
| Assigned To: | jtlindgr | OS: | Linux |  |
| Priority: | low | OS Version: | Fedora |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Patch to fix typographical errors in the source tree |
| Description: | This patch fixes typographical errors throughout the source code without touching: - Interface files (.ui) - Code - Configuration file key,values So it shouldn't break anything at all. I also did a build test on Fedora 18 x86_64. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: | fix-typos.patch (375,355) 2013-05-23 14:32 http://openvibe.inria.fr/tracker/file_download.php?file_id=18&type=bug |

Notes ;  .     ;  .        (0001090) ;  .    jtlindgr    ;  .    2013-07-23 16:04    ;  .    ;       Git commit # 36937d0 has similar mods (reproduced for the new folder structure) and a few extra typo fixes for good measure.  ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 134 | [openvibe-acquisition-server] bug report | minor | always | 2013-06-26 20:00 | 2013-07-04 17:38 |
| Reporter: | toncho11 | Platform: | OpenVibe 0.16 |  |
| Assigned To: | jlegeny | OS: | Windows |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Fixed wrong error message in the new version of the g.tec driver |
| Description: | In ovasCDriverGTecGUSBamp.cpp Line: string targetMasterSerial = m_masterSerial; must be replaced by: string targetMasterSerial = (numDevices>1) ? m_masterSerial : ""; to avoid message: "Bad number of devices detected for this operation or invalid master selection!" |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001089) ;  .    jlegeny    ;  .    2013-07-04 17:38    ;  .    ;       Fixed in 3773 ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 123 | [openvibe-acquisition-server] bug report | major | always | 2013-02-15 01:41 | 2013-07-04 17:35 |
| Reporter: | toncho11 | Platform: | OpenVibe all |  |
| Assigned To: | jlegeny | OS: | Windows |  |
| Priority: | normal | OS Version: | XP |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Memory leak in Fieldtrip driver |
| Description: | A memory leak in the Filedtrip driver was detected while using OpenVibe in the Robik project. The memory leak crashes the AS after 15 minutes on a 2 GB machine. You can observe in the Task Scheduler how the memory increases. I have attached a fix. I have also refactored the code. The fix is to basically free pResponse on line 564. FreeResponse(l_pResponse,NULL); We will test if this really fixes the problem. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: | field-trip-protocol.zip (5,451) 2013-02-15 01:41 http://openvibe.inria.fr/tracker/file_download.php?file_id=13&type=bug field-trip-protocol_2.zip (5,596) 2013-02-15 20:46 http://openvibe.inria.fr/tracker/file_download.php?file_id=14&type=bug |

Notes ;  .     ;  .        (0001066) ;  .    toncho11    ;  .    2013-02-15 20:45    ;  .    ;       Yes, the fix is working, please update the OV source code.    I have also commented the code a bit more. Please see attached. ;  .    ;  .     ;  .        (0001088) ;  .    jlegeny    ;  .    2013-07-04 17:35    ;  .    ;       Resolved in 3772 ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 115 | [openvibe] bug report | minor | always | 2012-07-24 14:37 | 2013-04-29 14:17 |
| Reporter: | antona | Platform: | latest |  |
| Assigned To: | jtlindgr | OS: | XP |  |
| Priority: | normal | OS Version: | XP |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Small bug(s) in fieldtrip driver |
| Description: | The following line: m_pSample[j*l_ui32NbDataToSend + i] = (float32) 1000000.0f*l_f64Value; in file ovasCDriverFieldtrip.cpp on lines 632 and 657 multiplies every value by 1000000. This code line is not generic and it is specific to a device used by CEA and GIPSA (RoBIK headset to convert from volts to microvolts) |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001053) ;  .    antona    ;  .    2012-07-29 09:43    ;  .    ;       It should be:    m_pSample[j*l_ui32NbDataToSend + i] = l_f64Value; ;  .    ;  .     ;  .        (0001073) ;  .    antona    ;  .    2013-02-20 11:06    ;  .    ;       This is fixed in 0.15. You can safely close this one. ;  .    ;  .     ;  .        (0001079) ;  .    ozan.caglayan    ;  .    2013-03-27 15:45    ;  .    ;       Ping, Reporter said that this is fixed. ;  .    ;  .     ;  .        (0001082) ;  .    jtlindgr    ;  .    2013-04-29 14:17    ;  .    ;       Offending code seems to be properly commented out in current SVN. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 35 | [openvibe] feature request | feature | always | 2010-03-13 19:01 | 2013-04-29 14:08 |
| Reporter: | sundas_christophe | Platform: |  |  |
| Assigned To: | jtlindgr | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Changing Project Name Variable in CMakeLists.txt file |
| Description: | The IOT project team is creating debian packages for OpenViBE. In order to produce debian compliant packages we need to change the Project Name variable to lowercase in every CMakeLists.txt, as said in the debian maintainer's guide: http://www.debian.org/doc/maint-guide/ch-first.en.html#s-namever [^] We also need to set the project version variable to real numbers. It's currently set to x-x-x, wich is not acceptable to create a debian repository. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000915) ;  .    yarikoptic    ;  .    2010-12-24 04:51    ;  .    ;       Hi Guys,    I am a lead developer of NeuroDebian (http://neuro.debian.net [^]). If you still have interest in pursuing Debian packaging of OpenVibe, we would be glad to help out (mentor packaging, contribute, sponsor upload to Debian whenever ready, provide backport builds and distribution from our neurodebian repository).    Meanwhile,  * I have filed an RFP (request for packaging) bugreport in Debian:  http://bugs.debian.org/580247 [^]  * added openvibe to debian-med task page:  http://debian-med.alioth.debian.org/tasks/physics [^]  and to freshly initiated more specific BCI page:  http://blends.alioth.debian.org/science/tasks/bci [^]  NB the last one will be regenerated some time soon (pending some tech issues of interacting with Debian's DDE service)    Feel free to contact us: http://neuro.debian.net/#contacts [^] ;  .    ;  .     ;  .        (0000916) ;  .    yrenard    ;  .    2011-01-19 16:01    ;  .    ;       Dear yarikoptic,    sorry for late feedback about your proposition. We would indeed be very happy to see OpenViBE included in your NeuroDebian distribution. I am not sure how we should proceed to set this up but I believe we should discuss on IRC first. Could you join #openvibe on freenode ? ;  .    ;  .     ;  .        (0001068) ;  .    jtlindgr    ;  .    2013-02-18 15:21     (edited on: 2013-02-18 15:21) ;  .    ;       We're planning to get Openvibe linux packages in near future; if this issue is still relevant and/or you'd like us to integrate/modify openvibe in some particular way to work better with packaging, let us know.    ;  .    ;  .     ;  .        (0001081) ;  .    jtlindgr    ;  .    2013-04-29 14:08    ;  .    ;       Changed in r3563. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 129 | [openvibe] bug report | minor | always | 2013-03-28 11:31 | 2013-04-29 14:04 |
| Reporter: | ozan.caglayan | Platform: | x86_64 |  |
| Assigned To: | jtlindgr | OS: | Linux |  |
| Priority: | normal | OS Version: | Fedora |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Build failure with OGRE >= 1.8.x |
| Description: | A change in OGRE version 1.8.x shipped within the upcoming Fedora 19 repository breaks the build. I'm attaching a patch that I've tested with OGRE 1.7.4 and 1.8.1 on Fedora 18 and 19 respectively. The patch is to give a clue. I didn't test on Windows and seen that you're shipping deps in the windows installer the patch can be adjusted so that it only fits the UNIX case. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: | openvibe-ogre.patch (3,101) 2013-03-28 11:31 http://openvibe.inria.fr/tracker/file_download.php?file_id=17&type=bug |

Notes ;  .     ;  .        (0001080) ;  .    jtlindgr    ;  .    2013-04-29 14:04    ;  .    ;       Fixed in r3596. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 125 | [openvibe] patch submission | minor | always | 2013-03-07 10:22 | 2013-03-20 10:12 |
| Reporter: | ozan.caglayan | Platform: | x86_64 |  |
| Assigned To: | jlegeny | OS: | Linux |  |
| Priority: | low | OS Version: | Fedora |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Set default build type to Release |
| Description: | Since linux-build sets the CMAKE_BUILD_TYPE to Release if --debug is not given, same can be done in CMakeLists.txt. This way I can directly use mkdir build cd build cmake .. to build the project without using scripts/linux-build which I think should go in near future as the only thing that's left is checking for Matlab which can be done purely in Cmake too. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: | default-build-type.patch (582) 2013-03-07 10:22 http://openvibe.inria.fr/tracker/file_download.php?file_id=15&type=bug |

Notes ;  .     ;  .        (0001078) ;  .    jlegeny    ;  .    2013-03-20 10:12    ;  .    ;       Default build type is now set by default to Release. If you do not need to use matlab then cmake, make, make install chain will work.    Please note that on Linux you will probably want to specify the CMAKE_INSTALL_PREFIX to something more local than /usr ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 126 | [openvibe] bug report | minor | always | 2013-03-07 10:25 | 2013-03-19 15:20 |
| Reporter: | ozan.caglayan | Platform: | x86_64 |  |
| Assigned To: | jlegeny | OS: | Linux |  |
| Priority: | normal | OS Version: | Fedora |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Make ITPP dependency required or disable the build of modules requiring it |
| Description: | If ITPP is not available in the system, cmake does not fail and does not set TARGET_Has_ThirdPartyITPP. But there's only a few places where this macro is honored. For example, openvibe-plugins/signal-processing-gpl/trunc/src/ovpCSpectralAnalysisCospectra.cpp Either ITPP should be made REQUIRED in FindThirdPartyITPP.cmake to fail at the configuration or relevant stuff should be disabled when ITPP is not available. (p.s: I didn't check precisely but I think same problem exists for vrpn too) |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001077) ;  .    jlegeny    ;  .    2013-03-19 15:20    ;  .    ;       Fixed in rev3526.    Note that the projects SSVEP Demo and VR Demo will not work without VRPN and should be removed altogether. Later we should think about a way to remove projects from compilation based on installed dependencies. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 124 | [openvibe] bug report | block | always | 2013-02-26 19:53 | 2013-02-27 15:32 |
| Reporter: | Guillermo | Platform: | x86_64 |  |
| Assigned To: | jlegeny | OS: | Linux |  |
| Priority: | normal | OS Version: | Ubuntu 12.10 |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | linux-install_dependencies don't detect native package installation errors (dependacy conflits) |
| Description: | in file linux-install_dependencies line 389 (svn 3455) this call : sudo apt-get --assume-yes install $ov_ubuntu_packages > $ov_native_package_log_file 2>&1 There aren't test of execution. Some times there are conflicts dependencies in natives packages that this scripts that try to install. |
| Steps To Reproduce: | In my case I installed libboost1.50-all-dev that is in conflict with libboost-dev throw libboost1.49-dev |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001075) ;  .    Guillermo    ;  .    2013-02-27 15:25    ;  .    ;       Bug fixed in revision 3470 ;  .    ;  .     ;  .        (0001076) ;  .    jlegeny    ;  .    2013-02-27 15:32    ;  .    ;       Fixed ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 111 | [openvibe] bug report | minor | have not tried | 2012-06-14 19:01 | 2013-02-19 10:49 |
| Reporter: | antona | Platform: | x86_64 |  |
| Assigned To: | lbonnet | OS: | Windows |  |
| Priority: | normal | OS Version: | Vista |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | No Matlab toolbox installed for "Matlab Scripting" |
| Description: | The Matlab toolbox for "Matlab Scripting" is not available in: \openvibe\share\openvibe-plugins as specified in the docs: http://openvibe.inria.fr/tutorial-using-matlab-with-openvibe/ [^] |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001035) ;  .    lbonnet    ;  .    2012-06-15 15:54    ;  .    ;       Confirmed !    My bad... We are currently unavailable.  We're back in the lab 18/06.    We will release a 0.14.1 to resolve this critical issue.  Some problems have been detected with openvibe not finding matlab on Linux when there is some symbolic links. It also seems to need csh as a dependency to launch the matlab engine.      We'll resolve everything asap !    L ;  .    ;  .     ;  .        (0001072) ;  .    jtlindgr    ;  .    2013-02-19 10:49    ;  .    ;       Matlab scripting seems to work in 0.15.0. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 105 | [openvibe] bug report | minor | always | 2012-06-06 22:51 | 2013-02-19 10:42 |
| Reporter: | antona | Platform: | x86_64 |  |
| Assigned To: | lbonnet | OS: | Windows |  |
| Priority: | normal | OS Version: | 7 64 bit |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | unable to reproduce |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Can not start designer on Windows |
| Description: | I can not start the designer until I set: from true to false: Kernel_3DVisualisationEnabled = false I have attached a callstack screenshot which led me to the idea that something related with OpenGL is wrong. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: | designer_crash_3d_visualization.png (50,728) 2012-06-06 22:51 http://openvibe.inria.fr/tracker/file_download.php?file_id=8&type=bug |

Notes ;  .     ;  .        (0001020) ;  .    lbonnet    ;  .    2012-06-07 14:44    ;  .    ;       I just tested a brand new checkout from SVN trunk, on windows 7 64 bits.  installing dependencies, building the software -> ok  Test designer -> ok    Do you have unusual modifications of your software platform ? For example did you modify the dependencies ?    Laurent ;  .    ;  .     ;  .        (0001022) ;  .    antona    ;  .    2012-06-07 15:14    ;  .    ;       Yes I have.    So it will be hard to detect the actual reason.    You may dismiss this bug report, if no one else reported it. ;  .    ;  .     ;  .        (0001023) ;  .    lbonnet    ;  .    2012-06-07 16:56    ;  .    ;       Waiting for more feedback.  We will close this bug if nothing new comes in future.    L- ;  .    ;  .     ;  .        (0001071) ;  .    jtlindgr    ;  .    2013-02-19 10:42    ;  .    ;       Works for us, closing after approx. 8 months w/ no new information. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 88 | [openvibe-plugins] bug report | crash | always | 2011-11-30 10:46 | 2013-02-19 10:36 |
| Reporter: | ddvlamin | Platform: | Linux |  |
| Assigned To: | jlegeny | OS: | Fedora 14 |  |
| Priority: | normal | OS Version: | kernel 2.6.35.14 |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Lua crash |
| Description: | Using any scenario that comes with openvibe, lua makes it crash. |
| Steps To Reproduce: | running a scenario with lua |
| Additional Information: | I have liblua-5.1.so installed in the /usr/lib directory, but also in the /usr/lib64 directory where there is also a symbolic link liblua.so to liblua-5.1.so |
| System Description |  |
| Attached Files: | openvibe-designer_lua.log (85,866) 2011-11-30 10:46 http://openvibe.inria.fr/tracker/file_download.php?file_id=5&type=bug |

Notes ;  .     ;  .        (0000989) ;  .    jlegeny    ;  .    2012-02-02 11:16    ;  .    ;       Can you please confirm this bug on a fresh fedora 14? I have tested it in a virtual machine and it works for me. ;  .    ;  .     ;  .        (0000991) ;  .    ddvlamin    ;  .    2012-02-02 16:42    ;  .    ;       I do not have much permissions to do such a thing. I should ask a system administrator to reinstall the virtual box on my machine so that I can do a native install.     However, the problem occurs on other fedora 14 machines here, so I suspect it is due to a dependency problem that is specific to our setup, more specifically the problem occurs when starting a thread with the boost package. The debugger returns this message    #0 0x00007ffff0a5847c in boost::thread::start_thread() () from /usr/local/matlab2009b/bin/glnxa64/../../bin/glnxa64/../../bin/glnxa64/libboost_thread-gcc42-mt-1_36.so.1.36.0  0000001 0x00007fffed27508b in thread<<unnamed>::CLuaThread> (this=0x1bf6600) at /usr/include/boost/thread/detail/thread.hpp:204  0000002 OpenViBEPlugins::Stimulation::CBoxAlgorithmLuaStimulator::process (this=0x1bf6600)      at /auto/sop-nas2a/u/sop-nas2a/vol/home_athena/ddevlami/openvibe_linux/trunk/openvibe-plugins/stimulation/trunc/src/box-algorithms/stimulation/ovpCBoxAlgorithmLuaStimulator.cpp:440 ;  .    ;  .     ;  .        (0000992) ;  .    ddvlamin    ;  .    2012-02-02 19:01    ;  .    ;       I modified the FindThirdPartyBoost_Thread.cmake file to find my own compiled version of the boost library (version 1.42), but I still get an error involving the version 1.36 (pointing to matlab) when I run it in debug mode    (gdb) backtrace  #0 0x00007ffff0a6b3a7 in tls_destructor () from /usr/local/matlab2009b/bin/glnxa64/../../bin/glnxa64/../../bin/glnxa64/libboost_thread-gcc42-mt-1_36.so.1.36.0  0000001 0x00007ffff0a6b615 in thread_proxy () from /usr/local/matlab2009b/bin/glnxa64/../../bin/glnxa64/../../bin/glnxa64/libboost_thread-gcc42-mt-1_36.so.1.36.0  0000002 0x0000003885c06ccb in start_thread () from /lib64/libpthread.so.0  #3 0x00000038850e0c2d in clone () from /lib64/libc.so.6 ;  .    ;  .     ;  .        (0000994) ;  .    jlegeny    ;  .    2012-02-07 10:36    ;  .    ;       Do you have, by any chance /usr/local/matlab2009b/ in your LD_LIBRARY_PATH, PATH or some other environmental variables relative to gcc compiler? Can you uninstall matlab before reinstalling the Lua box? (i suppose not) ;  .    ;  .     ;  .        (0001015) ;  .    ddvlamin    ;  .    2012-04-27 15:44    ;  .    ;       On my computer it is now working, but we tried it again on a similar setup and it is still failing. We have not yet found why.    There is a reference to matlab2011 in my path variable which was recently installed. I also added the path to the own compiled boost library to the LD_LIBRARY_PATH variable, but to no avail. ;  .    ;  .     ;  .        (0001070) ;  .    jtlindgr    ;  .    2013-02-19 10:36    ;  .    ;       Marking this as fixed as there has not been feedback for a year. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 122 | [openvibe] patch submission | minor | always | 2013-02-02 14:11 | 2013-02-19 10:30 |
| Reporter: | ozan.caglayan | Platform: | x86_64 |  |
| Assigned To: | jlegeny | OS: | Linux |  |
| Priority: | normal | OS Version: | Fedora |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | vr-demo linking failure against boost |
| Description: | I have a linking failure on F18 x86_64 for vr-demo: [100%] Building CXX object CMakeFiles/OpenViBE-vr-demo-dynamic.dir/src/HandballBCI/ovavrdCHandballBCI.o /home/ozan/svn/openvibe/openvibe-applications/vr-demo/trunc/src/HandballBCI/ovavrdCHandballBCI.cpp: In member function ‘virtual bool OpenViBEVRDemos::CHandballBCI::process(double)’: /home/ozan/svn/openvibe/openvibe-applications/vr-demo/trunc/src/HandballBCI/ovavrdCHandballBCI.cpp:172:32: warning: comparison between signed and unsigned integer expressions [-Wsign-compare] Linking CXX executable OpenViBE-vr-demo-dynamic /usr/bin/ld: CMakeFiles/OpenViBE-vr-demo-dynamic.dir/src/ovavrdCOgreVRApplication.o: undefined reference to symbol '_ZN5boost6system15system_categoryEv' /usr/bin/ld: note: '_ZN5boost6system15system_categoryEv' is defined in DSO /lib64/libboost_system-mt.so.1.50.0 so try adding it to the linker command line /lib64/libboost_system-mt.so.1.50.0: could not read symbols: Invalid operation collect2: error: ld returned 1 exit status make[2]: *** [OpenViBE-vr-demo-dynamic] Error 1 make[1]: *** [CMakeFiles/OpenViBE-vr-demo-dynamic.dir/all] Error 2 make: *** [all] Error 2 |
| Steps To Reproduce: |  |
| Additional Information: | Attached patch fixes the problem. |
| System Description |  |
| Attached Files: | vr-demo-build-fix.patch (428) 2013-02-02 14:11 http://openvibe.inria.fr/tracker/file_download.php?file_id=12&type=bug |

Notes ;  .     ;  .        (0001069) ;  .    jtlindgr    ;  .    2013-02-19 10:30    ;  .    ;       jlegeny fixed the Fedora 18 build, see r3443 and later. Thank you for the patch. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 121 | [openvibe-applications] bug report | minor | always | 2013-02-01 15:22 | 2013-02-01 15:34 |
| Reporter: | lbonnet | Platform: | x86_64 |  |
| Assigned To: | lbonnet | OS: | Windows |  |
| Priority: | normal | OS Version: | Vista |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Generated random identifiers are identical in sk-gen |
| Description: | #define OVP_ClassId_BoxAlgorithm_@@ClassName@@ @@RandomIdentifierClass@@ #define OVP_ClassId_BoxAlgorithm_@@ClassName@@Desc @@RandomIdentifierDescriptor@@ end up #define OVP_ClassId_BoxAlgorithm_Test OpenViBE::CIdentifier(0x4357740C, 0x2BBE452C) #define OVP_ClassId_BoxAlgorithm_TestDesc OpenViBE::CIdentifier(0x4357740C, 0x2BBE452C) |
| Steps To Reproduce: | create a box skeleton.... |
| Additional Information: | in ovsgCBoxAlgorithmSkeletonGenerator.cpp line 2075: this function is called twice in a row, maybe the randomness initialization is bad and twice the same. CString CBoxAlgorithmSkeletonGenerator::getRandomIdentifierString(void) { srand((unsigned int)time(NULL)); unsigned short int l_ui16Value1=(rand()&0xffff); unsigned short int l_ui16Value2=(rand()&0xffff); unsigned short int l_ui16Value3=(rand()&0xffff); unsigned short int l_ui16Value4=(rand()&0xffff); char buffer[50]; sprintf(buffer,"OpenViBE::CIdentifier(0x%04X%04X, 0x%04X%04X)",(int)l_ui16Value1, (int)l_ui16Value2, (int)l_ui16Value3, (int)l_ui16Value4); return CString(buffer); } |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001064) ;  .    lbonnet    ;  .    2013-02-01 15:34    ;  .    ;       Resolved in R3403  Seed in now chosen at initialization only. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 118 | [openvibe-designer] bug report | minor | always | 2012-10-10 17:21 | 2013-01-30 10:28 |
| Reporter: | lbonnet | Platform: | ALL platform |  |
| Assigned To: | jlegeny | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Can't rename tabs and windows in the window manager |
| Description: | Title. |
| Steps To Reproduce: | Create a scenario Open window manager Right click on the default tab or default window in the tree view Rename The text field is not editable. |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001057) ;  .    lbonnet    ;  .    2012-11-12 18:51    ;  .    ;       Yann traced the bug:  REV 3171 (16-01-2012) is bugged   REV 3178 (26-01) fixed it (log says compatibility fix for gtk 2.20 or older)  REV 3279 (08-06) introduced this bug again (with a fix/update for the search box ;  .    ;  .     ;  .        (0001058) ;  .    lbonnet    ;  .    2012-11-12 18:52    ;  .    ;       Bug also when adding a new tab. ;  .    ;  .     ;  .        (0001059) ;  .    jtlindgr    ;  .    2013-01-21 14:25    ;  .    ;       Put in a fix as r3378, tested ok on Win. ;  .    ;  .     ;  .        (0001063) ;  .    jlegeny    ;  .    2013-01-30 10:28    ;  .    ;       The issue has been resolved ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 99 | [openvibe-plugins] bug report | minor | always | 2012-02-23 17:16 | 2012-10-10 17:14 |
| Reporter: | lbonnet | Platform: | win 7 |  |
| Assigned To: | lbonnet | OS: |  |  |
| Priority: | normal | OS Version: | 32b |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Electrode localization file incomplete |
| Description: | Some electrode positions are missing, needed for the Emotiv EPOC defaut placement. "AF3" "AF4" "FC5" "FC6" We need to calculate the coordinates of these electrodes and put it in the share/electrode_sets folder. |
| Steps To Reproduce: | Try to visualize topographic maps with emotiv data. |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001055) ;  .    lbonnet    ;  .    2012-10-10 17:14    ;  .    ;       Resolved in 0.14.0 ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 117 | [openvibe] bug report | minor | always | 2012-09-11 12:28 | 2012-09-11 14:10 |
| Reporter: | antona | Platform: | OpenVobe |  |
| Assigned To: | lbonnet | OS: | Windows |  |
| Priority: | normal | OS Version: | XP |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Small problem with documentation and OVTK_StimulationId_LabelEnd |
| Description: | On page: http://openvibe.inria.fr/stimulation-codes/ [^] #define OVTK_StimulationId_LabelEnd 0x000081ff // 33056 the decimal part "33056" is wrong the correct value is: 33279 |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001054) ;  .    lbonnet    ;  .    2012-09-11 14:10    ;  .    ;       Ok, thanks for the feedback.  Corrected right now. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 114 | [openvibe-plugins] bug report | major | always | 2012-07-04 15:48 | 2012-07-05 11:49 |
| Reporter: | jlegeny | Platform: | x86_64 |  |
| Assigned To: | jlegeny | OS: | Linux |  |
| Priority: | normal | OS Version: | Ubuntu |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Time based epoching does not work on 64bit Ubuntu linux |
| Description: | The time based epoching has issues on recent versions of 64bit Ubuntu Linux. These issues result in aliasing when used, for example, with Spectral Analysis. |
| Steps To Reproduce: | Run the Spectral Analysis box-tutorial. You will observe aliasing in the spectrum. |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001047) ;  .    jlegeny    ;  .    2012-07-05 11:09    ;  .    ;       The issue is now fixed in rev 3356.    The problem was with using of the memcpy function on overlapping source and destination memory blocks. memcpy has undefined behavior by design in this case.    Errors were produced on implementations where memcpy copied data from back to front (e.g.: ubuntu 64bit). Issue was resolved by adding a flag to System::Memory:copy which enables the usage of memmove instead of memcpy. memmove uses intermediary buffer in order to avoid issues with overlapping.    From now on, System::Memory:copy should be used with bMove flag to true wherever the buffers overlap. ;  .    ;  .     ;  .        (0001049) ;  .    jlegeny    ;  .    2012-07-05 11:49    ;  .    ;       The flag in the copy function was removed and a System::Memory::move function was created instead. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 112 | [openvibe] feature request | minor | always | 2012-06-28 10:25 | 2012-07-02 10:00 |
| Reporter: | lageorge | Platform: | x86 |  |
| Assigned To: | lbonnet | OS: | Windows |  |
| Priority: | normal | OS Version: | XP |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Install openvibe dependencies without internet.. on Windows (but I guess linux users are also concerned) |
| Description: | For now, openvibe website doesn't provide any information about installing openvibe on windows without any internet connection (I found an old thread on the forum by Yrenard but not very helpfull). I think that providing a zip that contains all the archive for dependencies.. or an openvibe zip that contains all the dependencys installed would be usefull for numerous users like users working in "hospital center" where internet is sometime not available for security reason. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001037) ;  .    yrenard    ;  .    2012-06-28 14:42    ;  .    ;       Hello Laurent,    the windows installer already includes all the dependencies except DirectX. DirectX is usually installed on most windows computer (possibly not on hospital computers though) and is twice the size of OpenViBE (meaning the the installer would be 3 times as big as it currently is if we included DirectX). All other dependencies are included and there is no need for Internet connection while installing.    Regarding Linux, as most of the dependencies are installed from the distro's package manager, that would be challenging to do it without an actual connection nowadays.    By the way, can you give us the forum post you are referring to ? An update on this issue could be posted at the end of that thread.    Hope this helps,  Yann ;  .    ;  .     ;  .        (0001038) ;  .    lageorge    ;  .    2012-06-28 14:46    ;  .    ;       Sorry, I mean "installing" from source.. for being able to use branches or creating boxes..    and the post was here.. http://openvibe.inria.fr/forum/viewtopic.php?f=5&t=159&p=627&hilit=internet#p627 [^]    but seems to talk about "windows installer.." not openvibe from sources. ;  .    ;  .     ;  .        (0001039) ;  .    yrenard    ;  .    2012-06-28 15:35    ;  .    ;       In that case, you will need to take the "dependencies/arch" folder with you. That's all you need, at least from an OpenViBE point of view (this folder may also include DirectX if it was not already present when you installed OpenViBE dependencies on your windows computer). When you'll run the win32_install-dependencies.exe installer on the hospital computer, it will use the "dependencies/arch" as a download cache and will not need any kind of Internet connection if it finds necessary files from there.    From a development environment point of view, it is most likely that Visual C++ won't be installed on the hospital computer. I'm not sure there is a redist installer of that software and I'm pretty sure you will need a connection to install it if is not already installed before you come with OpenViBE sources + dependencies.    Hope this helps,  Regards,  Yann ;  .    ;  .     ;  .        (0001040) ;  .    lageorge    ;  .    2012-06-28 15:55    ;  .    ;       When you'll run the win32_install-dependencies.exe installer on the hospital computer, it will use the "dependencies/arch" as a download cache and will not need any kind of Internet connection if it finds necessary files from there.    in fact it does not work out of the box, the installer still try to connect to internet for gtk package and fails (even if the zip is present in arch).. maybee easy to correct for the next release ? ;  .    ;  .     ;  .        (0001041) ;  .    yrenard    ;  .    2012-06-28 20:40    ;  .    ;       Indeed, the NSIS script should look after "arch\gtk-2.22.1-dev.zip" instead of "arch\gtk-2.21.1-dev.zip", that's an easy fix :) ;  .    ;  .     ;  .        (0001042) ;  .    lbonnet    ;  .    2012-07-02 10:00    ;  .    ;       resolved and committed.  thx for feedback !    L ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 107 | [openvibe] bug report | crash | always | 2012-06-07 19:14 | 2012-06-07 20:32 |
| Reporter: | antona | Platform: | OpenVibe 0.13 |  |
| Assigned To: | lbonnet | OS: | Windows XP |  |
| Priority: | normal | OS Version: | XP |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Runtime crash in skeleton-generator |
| Description: | Exception: std: out_of_range at memory .... If I add two "stimulation stream decoders" in "Codec Algorithms" then it crashes. |
| Steps To Reproduce: | Callstack shows that the following line starts the problem: m_mAlgorithmHeaderDeclaration[m_vAlgorithms[i]] = CString(l_sAlgo.c_str()); line number: 495 file: \openvibe-applications\skeleton-generator\trunc\src\ovsgCBoxAlgorithmSkeletonGenerator.cpp |
| Additional Information: |  |
| System Description |  |
| Attached Files: | file1.PNG (523,086) 2012-06-07 19:14 http://openvibe.inria.fr/tracker/file_download.php?file_id=9&type=bug openvibe-skeleton-generator.conf (3,295) 2012-06-07 19:14 http://openvibe.inria.fr/tracker/file_download.php?file_id=10&type=bug |

Notes ;  .     ;  .        (0001024) ;  .    antona    ;  .    2012-06-07 19:17    ;  .    ;       CORRECTION: not "decoders", but "encoders".     If you have two stimulation outputs then do I need two stimulation encoders for each one of them? Even if not this crash should be prevented. ;  .    ;  .     ;  .        (0001025) ;  .    lbonnet    ;  .    2012-06-07 20:32    ;  .    ;       Thanks Anton.  I corrected it (svn r3278).    Nothing prevent you from using the same codec for 2 inputs or outputs.  However as stated in the tutorials, it's highly recommended to use one codec per I/O. It prevents on input or output to corrupt the other (for example if one input fails to receive data from upstream, it may leave the internal structure of the codec in a bad state, making it unusable by the other input). ;  .    ;  .     ;  .        (0001026) ;  .    lbonnet    ;  .    2012-06-07 20:32    ;  .    ;       r3278 ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 106 | [openvibe] bug report | minor | always | 2012-06-06 23:33 | 2012-06-07 14:54 |
| Reporter: | antona | Platform: | x86 |  |
| Assigned To: | lbonnet | OS: | Windows |  |
| Priority: | normal | OS Version: | 7 64 bit |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Missing box description for Stimulation multiplexer |
| Description: | The following text is missing from the description of box "Stimulation multiplexer": The Stimulation multiplexer box algorithm merges several stimulation streams into one stimulation stream. The contained stimulations are ordered according to their start date. Thus each time all the input have chunks covering a period of time, a new output chunk is sent. This box may eventually produce output chunk reflecting a different duration depending on the inputs. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001021) ;  .    lbonnet    ;  .    2012-06-07 14:54    ;  .    ;       Done. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 82 | [openvibe-plugins] bug report | minor | always | 2011-10-25 11:50 | 2012-05-09 12:02 |
| Reporter: | lbonnet | Platform: | x86_64 |  |
| Assigned To: | lbonnet | OS: | win7 |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Stimulation Based Epoching with negative epoch = late output |
| Description: | The SBE outputs the epoch with a constant delay (the epoch duration). In the case of a negative offset, the epoch is correctly computed and timed, but is outputed with this delay, which is not acceptable under certain conditions. |
| Steps To Reproduce: | SBE,Sinus oscillator, Keyboard Stimulator offset = -2 sec duration = 2 sec |
| Additional Information: | forum post: http://openvibe.inria.fr/forum/viewtopic.php?f=3&t=523 [^] |
| Attached Files: | stim_based_epoching.patch (14,356) 2012-05-03 16:01 http://openvibe.inria.fr/tracker/file_download.php?file_id=7&type=bug |

Notes ;  .     ;  .        (0001017) ;  .    ddvlamin    ;  .    2012-05-03 16:01    ;  .    ;       the stim_based_epoching.patch should solve this issue ;  .    ;  .     ;  .        (0001018) ;  .    lbonnet    ;  .    2012-05-09 12:02    ;  .    ;       Thanks Dieter for the patch.    I corrected a small bug: when preserving some chunk history for a negative offset, you also did not mark as deprecated the first chunk which is the header. Thus the box was processing this header continuously from start, outputing a new header every time.    I added a verification so the box always deprecates the header chunk, processing it once and for all.    I tested the output timings for a negative offset, it's ok for me.    Integrated in the trunk. Rev 3238.    Laurent ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 104 | [openvibe] bug report | minor | always | 2012-04-26 13:02 | 2012-05-03 15:15 |
| Reporter: | antona | Platform: | Windows |  |
| Assigned To: | jlegeny | OS: | XP |  |
| Priority: | normal | OS Version: | XP |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Deletion of unallocated memory |
| Description: | Project: OpenViBE-plugins-file-io-dynamic File: ovpCGDFFileWriter.cpp Function: void CGDFFileWriter::setValue(const uint32 ui32ValueIdentifier, const char* sValue) If "sValue" is empty then strlen returns "0" and then the allocated memory for "l_pFormattedSubjectName" is 0, but then we delete it. |
| Steps To Reproduce: | This problem was detected by Microsoft VC++ compiler in debug mode. |
| Additional Information: | This code fixes the problem: case IBoxAlgorithmExperimentInformationInputReaderCallback::Value_SubjectName: { if (strlen(sValue)>0) { char * l_pFormattedSubjectName = new char[strlen(sValue)]; strcpy(l_pFormattedSubjectName, sValue); char * l_pSpaceInSubjectName; //replaces all spaces by underscores while( (l_pSpaceInSubjectName = strchr(l_pFormattedSubjectName , ' ')) != NULL) { *l_pSpaceInSubjectName = '_'; } sprintf(m_oFixedHeader.m_sPatientId + 31, "%s", "Anton");//changed by Anton to test problem delete[] l_pFormattedSubjectName; } } |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0001014) ;  .    antona    ;  .    2012-04-26 13:09    ;  .    ;       sprintf(m_oFixedHeader.m_sPatientId + 31, "%s", "Anton");    should be:    sprintf(m_oFixedHeader.m_sPatientId + 31, "%s", l_pFormattedSubjectName); ;  .    ;  .     ;  .        (0001016) ;  .    jlegeny    ;  .    2012-05-03 15:15    ;  .    ;       Thank you for the patch, it has been commited in r3235 ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 41 | [openvibe] feature request | major | N/A | 2010-05-25 15:53 | 2012-02-07 10:26 |
| Reporter: | lageorge | Platform: |  |  |
| Assigned To: | jlegeny | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Python Box |
| Description: | I am sure I am not alone in thinking that a python box will be useful and helpful in Openvibe. The python box will allow users (and Openvibe community) to test some specific treatment starting to implement the corresponding c++ box. A Matlab box exists, maybe the code is reusable for the Python BOX ? Thanks in advance :D -- Laurent G (please add a python Box) |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000887) ;  .    yrenard    ;  .    2010-07-05 13:25    ;  .    ;       this is being investigated ;  .    ;  .     ;  .        (0000993) ;  .    jlegeny    ;  .    2012-02-07 10:26    ;  .    ;       A beta version of the box has been implemented by Aurelien Van Langhenhove and Laurent George in the branch of openvibe-plugins/python. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 26 | [openvibe-documentation] feature request | feature | N/A | 2009-10-12 18:39 | 2012-02-02 11:19 |
| Reporter: | lbonnet | Platform: |  |  |
| Assigned To: | jlegeny | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | SVN Branches explanations |
| Description: | It would be nice to have a short explanation on the branches/trunc system in openvibe, for the developer (Specially for the modifications needed in the win32(linux)-init-env script with the branches paths). |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000990) ;  .    jlegeny    ;  .    2012-02-02 11:19    ;  .    ;       This is actually explained in the documentation here: http://openvibe.inria.fr/build-instructions/#Tuning+the+build+process [^] ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 95 | [openvibe-designer] bug report | minor | always | 2012-01-31 14:31 | 2012-01-31 14:38 |
| Reporter: | jlegeny | Platform: | Any |  |
| Assigned To: | jlegeny | OS: | Any |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Cannot stop the scenario while in fast-forward mode |
| Description: | The stop button does not work when the scenario is running in accelerated (fast-forward) mode. |
| Steps To Reproduce: | 1. Run a scenario 2. Click the fast forward button 3. Click the stop button Nothing happens, the scenario execution should stop |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000985) ;  .    jlegeny    ;  .    2012-01-31 14:38    ;  .    ;       Resolved in r3194 ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 92 | [openvibe-designer] bug report | tweak | always | 2012-01-30 12:24 | 2012-01-30 14:42 |
| Reporter: | jmercier-ganady | Platform: | x86 |  |
| Assigned To: | jlegeny | OS: | Windows |  |
| Priority: | low | OS Version: | XP |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Help pages should be opened using the default browser |
| Description: | Under Windows, pressing F1 when having selected a box in the designer should use the default browser rather than Internet Explorer. |
| Steps To Reproduce: | Open the designer, select a box and press F1. Internet Explorer opens. |
| Additional Information: | Opening the default browser to view a Web page can be done easily by calling the ShellExecute function from the Win32API. (see http://msdn.microsoft.com/en-us/library/windows/desktop/bb762153%28v=vs.85%29.aspx [^]) This is obviously not cross-platform. |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000979) ;  .    lbonnet    ;  .    2012-01-30 14:13    ;  .    ;       Just for info  Tested on Win7 32b, win764b. Opens my default browser (ff).    --> To be tested on XP like you.    L ;  .    ;  .     ;  .        (0000980) ;  .    jlegeny    ;  .    2012-01-30 14:42    ;  .    ;       Fixed.    Changed the command which runs the web-browser to "start" instead of "explorer" ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 90 | [openvibe-designer] bug report | crash | always | 2012-01-27 15:37 | 2012-01-27 15:59 |
| Reporter: | jmercier-ganady | Platform: | x86 |  |
| Assigned To: | jlegeny | OS: | Windows |  |
| Priority: | normal | OS Version: | XP |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Crash when pressing F5 while not running |
| Description: | The designer crashes when pressing the F5 (stop scenario) key while no scenario is running. The F5 key seems to have no effect while running a scenario. |
| Steps To Reproduce: | Open the designer, press F5. |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000975) ;  .    jlegeny    ;  .    2012-01-27 15:53    ;  .    ;       Resolved.    When the scenario is running the F5 button will only work if the designer window has focus. ;  .    ;  .     ;  .        (0000976) ;  .    jlegeny    ;  .    2012-01-27 15:59    ;  .    ;       Fixed. The player was released although it wasn't created. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 85 | [openvibe-designer] bug report | crash | always | 2011-11-16 14:42 | 2011-11-22 10:57 |
| Reporter: | jlegeny | Platform: |  |  |
| Assigned To: | jlegeny | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Using the increment/decrement value buttons in a "add new setting dialog" makes the designer crash |
| Description: | When adding a new numeric setting to a box using an increment or decrement value button will crash the designer. |
| Steps To Reproduce: | 1. add a new box with variable settings 2. add a new setting 3. change the setting type to integer 4. click on the button to increment the value |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000973) ;  .    yrenard    ;  .    2011-11-22 10:57    ;  .    ;       The GTK Callback functions were given a local object to work with. At the time of using the +/- buttons, this object was not valid anymore. This has been fixed moving the CSettingCollectionHelper as a member of the CSettingEditorDialog class guaranteeing that this object exists as long as the dialog exists. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 86 | [openvibe-designer] bug report | crash | always | 2011-11-18 15:53 | 2011-11-21 10:56 |
| Reporter: | Guillermo | Platform: | x86 |  |
| Assigned To: | lbonnet | OS: | Linux |  |
| Priority: | normal | OS Version: | Ubuntu |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | skeleton-generator: crash after push button generate , push cancel and push generate again |
| Description: | skeleton-generator: crash after push button generate , push cancel and push generate again |
| Steps To Reproduce: | launch ./ov-skeleton-generator.sh in scripts dir select box skeleton, fill author & company them push OK in General tab, fill box name, class, version & category fields. In Codec Algorithms tab, add signal stream decoder and add signal stream encoder Push Check button Push Generate! button and push cancel button on new file dialog box Push Generate! button again and you can see the crash |
| Additional Information: | message in console: [ INF ] Created kernel loader, trying to load kernel module [ INF ] Kernel module loaded, trying to get kernel descriptor [ INF ] Got kernel descriptor, trying to create kernel [ INF ] Adding [../lib/libOpenViBE-plugins-*.so] [ INF ] Added 2 plugin object descriptor(s) from [../lib/libOpenViBE-plugins-acquisition-dynamic.so] [ INF ] Added 6 plugin object descriptor(s) from [../lib/libOpenViBE-plugins-classification-dynamic.so] [ INF ] Added 1 plugin object descriptor(s) from [../lib/libOpenViBE-plugins-classification-gpl-dynamic.so] [ INF ] Added 1 plugin object descriptor(s) from [../lib/libOpenViBE-plugins-feature-extraction-dynamic.so] [ INF ] Added 15 plugin object descriptor(s) from [../lib/libOpenViBE-plugins-file-io-dynamic.so] [WARNING] No 'plugin object descriptor' found from [../lib/libOpenViBE-plugins-matlab-dynamic.so] even if it looked like a plugin module [ INF ] Added 9 plugin object descriptor(s) from [../lib/libOpenViBE-plugins-samples-dynamic.so] [ INF ] Added 28 plugin object descriptor(s) from [../lib/libOpenViBE-plugins-signal-processing-dynamic.so] [ INF ] Added 20 plugin object descriptor(s) from [../lib/libOpenViBE-plugins-signal-processing-gpl-dynamic.so] [ INF ] Added 17 plugin object descriptor(s) from [../lib/libOpenViBE-plugins-simple-visualisation-dynamic.so] [ INF ] Added 11 plugin object descriptor(s) from [../lib/libOpenViBE-plugins-stimulation-dynamic.so] [ INF ] Added 19 plugin object descriptor(s) from [../lib/libOpenViBE-plugins-stream-codecs-dynamic.so] [ INF ] Added 3 plugin object descriptor(s) from [../lib/libOpenViBE-plugins-streaming-dynamic.so] [ INF ] Added 4 plugin object descriptor(s) from [../lib/libOpenViBE-plugins-tools-dynamic.so] [ INF ] Added 4 plugin object descriptor(s) from [../lib/libOpenViBE-plugins-vrpn-dynamic.so] [WARNING] Common: Configuration file [/home/andradgu/.openvibe-skeleton-generatorrc] could not be loaded. [WARNING] Common: Configuration file [/home/andradgu/.openvibe-skeleton-generatorrc] could not be loaded. [WARNING] box: Configuration file [/home/andradgu/.openvibe-skeleton-generatorrc] could not be loaded. [ INF ] Extracting values... [ INF ] Checking values... [ INF ] -- box name: VALID (r) [ INF ] -- class name: VALID (c) [WARNING] -- category: INVALID () [ INF ] -- box version: VALID (0.0.1) [ INF ] -- short description: VALID () [ INF ] -- detailed description: VALID () [ INF ] No input specified. [ INF ] No output specified. [ INF ] No setting specified. [ INF ] -- checking algorithm... [ INF ] -- Algorithm 0: [Signal stream decoder] VALID. [ INF ] -- Algorithm 1: [Signal stream encoder] VALID. [ INF ] Extracting values... [ INF ] Checking values... [ INF ] -- box name: VALID (r) [ INF ] -- class name: VALID (c) [ INF ] -- category: VALID (c) [ INF ] -- box version: VALID (0.0.1) [ INF ] -- short description: VALID () [ INF ] -- detailed description: VALID () [ INF ] No input specified. [ INF ] No output specified. [ INF ] No setting specified. [ INF ] -- checking algorithm... [ INF ] -- Algorithm 0: [Signal stream decoder] VALID. [ INF ] -- Algorithm 1: [Signal stream encoder] VALID. [ INF ] Generating files... [ INF ] User cancel. Aborting generation. [ INF ] Generating files... terminate called after throwing an instance of 'std::out_of_range' what(): basic_string::replace Abandon |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000971) ;  .    lbonnet    ;  .    2011-11-21 10:46    ;  .    ;       Confirmed on latest svn. ;  .    ;  .     ;  .        (0000972) ;  .    lbonnet    ;  .    2011-11-21 10:56    ;  .    ;       The directory selection was done after some internal processing, it should have been the first thing to do when starting the generation. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 84 | [openvibe-designer] bug report | major | always | 2011-11-10 11:58 | 2011-11-10 12:07 |
| Reporter: | Guillermo | Platform: | any |  |
| Assigned To: | lbonnet | OS: | Linux |  |
| Priority: | high | OS Version: | Ubuntu |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | web site dead link or access denied links |
| Description: | with firefox 7.0.1 dead link in : http://openvibe.inria.fr/start/ [^] Dev doc : http://traindelux/openvibe/documentation/#Developer+Documentation [^] access denied links in side down navigation bar: Dev doc: http://openvibe.inria.fr/documentation/#Developer+Documentation [^] User doc: http://openvibe.inria.fr/documentation/#User+Documentation [^] |
| Steps To Reproduce: |  |
| Additional Information: |  |
| System Description |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000969) ;  .    lbonnet    ;  .    2011-11-10 12:06    ;  .    ;       Tested and confirmed on Firefox. ;  .    ;  .     ;  .        (0000970) ;  .    lbonnet    ;  .    2011-11-10 12:07    ;  .    ;       - Start page : link fixed  - footer.php : links fixed ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 78 | [openvibe-designer] bug report | minor | always | 2011-09-07 15:27 | 2011-10-10 15:53 |
| Reporter: | fabien.lotte | Platform: |  |  |
| Assigned To: | jlegeny | OS: |  |  |
| Priority: | normal | OS Version: | window 7 - 32 bi |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Angular speed setting In SSVEP Scenario: no effect |
| Description: | In the SSVEP Shooter scenario (which is very nice by the way), the angular speed setting (lua scenario) of the SSVEP shooter controller has no effect on the actual speed of the spaceship in the application. Whatever value we put in there, the actual angular speed is always the same. According to several subjects, the default speed is too fast for them, so it would be nice if we could actually reduce it. Thanks! |
| Steps To Reproduce: | change the angular speed in the SSVEP shooter scenario |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000964) ;  .    jlegeny    ;  .    2011-10-10 15:52    ;  .    ;       Bug fixed, the problem was in Lua script which didn't close the configuration file properly. ;  .    ;  .     ;  .        (0000965) ;  .    jlegeny    ;  .    2011-10-10 15:53    ;  .    ;       Closed ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 58 | [openvibe-services] feature request | feature | always | 2010-07-02 08:21 | 2011-09-30 16:09 |
| Reporter: | jporcher | Platform: |  |  |
| Assigned To: | lbonnet | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Ask user to disable his Firewall |
| Description: | Upon installation, you try to download DirectX. It did not work for me, just because Symantec Firewall was active and it did not even ask me if I wanted to let the installation software access the Internet or not: it blocked the access. When a 3rd party download fails, it would be nice if the installation program could ask the user to check his Internet connection and disable his firewall, then retry the download. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000958) ;  .    lbonnet    ;  .    2011-09-30 16:09    ;  .    ;       Thanks for feedback !    I added a warning message about possible firewall problem when downloading DirectX with the installer. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 77 | [openvibe-designer] bug report | minor | always | 2011-09-07 15:16 | 2011-09-30 15:52 |
| Reporter: | fabien.lotte | Platform: |  |  |
| Assigned To: | lbonnet | OS: |  |  |
| Priority: | low | OS Version: | Windows 7 |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Wrong channel labelling in electrode sets (for 2D/3D topography) |
| Description: | In the list of coordinates of EEG channels used by the 2D/3D topography boxes, 4 channels are badly named. Indeed, channels T3/T4 and T5/T6 are mentioned in these lists whereas these are the old names (10-20 system) for channels T7/T8 and P7/P8 (10-10 system). These last channels are not in the electrode position list whereas they are actually the current standard name for these electrode positions. As a result, the 2D/3D topography box do not work when using these channels names (which are available and listed in the acquisition server). It would be nice to update the electrode list or add the positions of T7, T8, P7, P8 (the positions of these electrodes are exactely the same as the ones of T3, T4, T5, T6, respectively). |
| Steps To Reproduce: | Use the 2D/3D topography with one channel labelled T7, T8, P7 or P8 |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000954) ;  .    lbonnet    ;  .    2011-09-30 15:42    ;  .    ;       Tested and confirmed on the following test:  - scenario box-totorials/topographic-map.xml  - Channel Rename box added after the file reader.  - Some channel renamed to T7;T8;P7;P8  > no display in the visualization windows  > no crash  > no error/warning message ;  .    ;  .     ;  .        (0000955) ;  .    lbonnet    ;  .    2011-09-30 15:52    ;  .    ;       Fixed the two coordinate files in openvibe-plugins/file-io    Fabien, please tell me if this fix is good on your side. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 46 | [openvibe-designer] bug report | major | always | 2010-06-03 10:28 | 2011-08-29 15:41 |
| Reporter: | jporcher | Platform: |  |  |
| Assigned To: | lbonnet | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Windows are not correctly parented |
| Description: | Open OpenViBE Designer Instantiate any box Double click to configure the box, dialog opens Click on OpenViBE Designer main GUI (anywhere) Now, the OpenViBE Designer GUI goes on top and the box configuration dialog is hidden. But the GUI is disabled untill you close the configuration box which is not visible anymore. User has to minimize all hixs desktop windows to find the configuration dialog and be able to close it. This is very annoying.... A better window parenting would prevent the Designer GUI to come on top of the configuration dialog box. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000872) ;  .    yrenard    ;  .    2010-06-04 19:35    ;  .    ;       Indeed, this is a long time known problem. Back in time, Vincent investigated a lot of time to fix it without success and we are thinking about a GTK bug on this. Everything we did should make the dialog box modal... But on Unix flavors, this kind of setting is dependent or your window manager instead of the application itself. For example, KDE default allows the dialog to disapear, where it does not on Gnome. I'm using openbox on Linux and there is no problem with this bug. I definitely think this a Win32 implementation issue in GTK... Maybe updating GTK will fix this. ;  .    ;  .     ;  .        (0000953) ;  .    lbonnet    ;  .    2011-08-29 15:41    ;  .    ;       The settings dilaog box does not disappear as you describe it on Win7 x64 and Win xp 32b.  Fixed by latest GTK update I guess (gtk 2.16 -> 2.20; SVN 2545; nov 2010). ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 6 | [openvibe-plugins] feature request | feature | have not tried | 2009-07-24 14:28 | 2011-08-02 08:37 |
| Reporter: | anonymous | Platform: |  |  |
| Assigned To: |  | OS: |  |  |
| Priority: | low | OS Version: |  |  |
| Status: | acknowledged | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Update level measure |
| Description: | The Level Measure box has a very limited behavior and should be updated in order to be more flexible (for example, displaying absolute levels, displaying relative levels to the sum, displaying relative levels to the maximum, allowing manual min/max selection, etc...) |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000944) ;  .    lbonnet    ;  .    2011-08-02 08:37    ;  .    ;       This feature request is not a priority so far. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 54 | [openvibe-designer] feature request | feature | have not tried | 2010-06-11 09:58 | 2010-06-11 10:09 |
| Reporter: | jporcher | Platform: |  |  |
| Assigned To: |  | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | new | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Support some settings dependency |
| Description: | It would be very user friendly if some settings could be enabled/disabled based on another setting value. For instance, when "Active" is unchecked, it would make sense to disable all settings of the box (grey out). Also, one may want an option to log the box data to a file, he would need: - One OV_TypeId_Boolean setting to say log/don't log - One OV_TypeId_Filename setting to let the user specify the log file When the OV_TypeId_Boolean is checked, the OV_TypeId_Filename should be enabled When the OV_TypeId_Boolean is unchecked, the OV_TypeId_Filename should be disabled |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000880) ;  .    yrenard    ;  .    2010-06-11 10:00    ;  .    ;       What do you mean by "log the box data" ? ;  .    ;  .     ;  .        (0000881) ;  .    jporcher    ;  .    2010-06-11 10:09    ;  .    ;       An internal log file where data processed by the box could be logged. This was just an exemple.    "Corp" Signal processing box could be another example:  - When I select "Min" corp method, specifying "Max corp value" is pointless, it could be greyed out.  - When I select "Max" corp method, specifying "Min corp value" is pointless, it could be greyed out.    It would just be a "nice" behaviour. Nothing critical. It just helps user understanding which settings are relevant and which can be ignored right now. ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 53 | [openvibe-designer] feature request | feature | always | 2010-06-11 09:55 | 2010-06-11 09:57 |
| Reporter: | jporcher | Platform: |  |  |
| Assigned To: |  | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | new | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Support parameters grouping |
| Description: | It would be very nice if box designer could group parameters. When a box has a lot of parameters, we may want to organize them by groups (gtk group box) to help the user navigating the dialog and finding the parameter he's looking for. |
| Steps To Reproduce: |  |
| Additional Information: |  |
| Attached Files: |  |

Notes ;  .     ;  .        (0000879) ;  .    yrenard    ;  .    2010-06-11 09:57    ;  .    ;       Even if I understand the need in some circumstances, I would argue that most of the time, this would reflect misconception... The box should be kept as simple as possible, and be splitted in multiple parts as much as possible ;  .    ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 34 | [openvibe-plugins] feature request | trivial | always | 2010-03-01 11:03 | 2010-03-01 11:03 |
| Reporter: | yrenard | Platform: |  |  |
| Assigned To: |  | OS: |  |  |
| Priority: | low | OS Version: |  |  |
| Status: | new | Product Version: |  |  |
| Product Build: |  | Resolution: | open |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Color scale of 2D topographic map could be confusing |
| Description: | The color scale of the 2D topographic map shows '- 0 +' to indicate how the displayed colors vary according to the associated information. The fact that a '-' and a '+' appear suggest that there are different colors for negative and positive values. But in fact, the color is computed in the [min, max] range... If all the values are positive, then the lowest possible value is displayed with the color corresponding to '-'. |
| Steps To Reproduce: |  |
| Additional Information: | Possible fix: - either fix the range computation so to be [-max, max] - or change the label of the color scale to e.g. 'low high' instead of '- 0 +' |
| Attached Files: |  |

There are no notes attached to this issue. ;  .

| View Issue Details |
| --- |
| ID: | Category: | Severity: | Reproducibility: | Date Submitted: | Last Update: |
| 17 | [openvibe-designer] bug report | minor | always | 2009-10-06 18:21 | 2010-03-01 10:36 |
| Reporter: | lbonnet | Platform: |  |  |
| Assigned To: | lbonnet | OS: |  |  |
| Priority: | normal | OS Version: |  |  |
| Status: | resolved | Product Version: |  |  |
| Product Build: |  | Resolution: | fixed |  |
| Projection: | none |  |  |  |
| ETA: | none | Fixed in Version: |  |  |
|  |  | Target Version: |  |  |
| Summary: | Losing access to the "information" window on display-boxes |
| Description: | Context: a sinus oscillator connected to a signal display. The scenario is being played, I want access to the "information" window in the signal display toolbar. if you close the "information" window with the "Close" button, everything is OK. If you close the "information" window with the red cross, you cannot access it anymore. The error printed on the console is : (OpenViBE-designer-dynamic.exe:6132): Gtk-CRITICAL **: gtk_label_set_text: assertion `GTK_IS_LABEL (label)' failed (OpenViBE-designer-dynamic.exe:6132): GLib-GObject-WARNING **: invalid (NULL) pointer instance (OpenViBE-designer-dynamic.exe:6132): GLib-GObject-CRITICAL **: g_signal_connect_data: assertion `G_TYPE_CHECK_INSTANCE (instance)' failed (OpenViBE-designer-dynamic.exe:6132): Gtk-CRITICAL **: gtk_widget_show: assertion `GTK_IS_WIDGET (widget)' failed |
| Steps To Reproduce: |  |
| Additional Information: | The "Close" button is just hiding the window while the red cross destroys the window, making it unreachable when the app wants to show it again (?) |
| Attached Files: |  |

Notes ;  .     ;  .        (0000856) ;  .    lbonnet    ;  .    2010-02-23 18:44    ;  .    ;       Bug fixed.    This entry can be deleted ;) ;  .    ;  .     ;  .        (0000857) ;  .    lbonnet    ;  .    2010-03-01 10:36    ;  .    ;       gtk callback for the 'X' closing set to "hide" ;  .    ;  .